PUC Interoffice Memorandum

To:		Kourtnee Jinks, Attorney

Legal Division

From:		Elisabeth English, Engineering Specialist

Infrastructure Division

Date:  		March 16, 2020

Subject:	Docket No. 50553, Application of County Line Special Utility District to Amend its Certificate of Convenience and Necessity (CCN) and Decertify a Portion of Polonia Water Supply Corporation CCN in Hays and Caldwell Counties

On February 14, 2020, County Line Special Utility District (County Line SUD) filed an application to amend its water Certificate of Convenience and Necessity (CCN) No. 10292 and decertify a portion of Polonia Water Supply Corporation’s (Polonia WSC) CCN 10420 in Hays and Caldwell Counties, Texas, pursuant to Texas Water Code (TWC) §§ 13.242 to 13.250 and the 16 Texas Administrative Code (TAC) §§ 24.225 to 24.237.

County Line SUD currently owns and operates a Texas Commission on Environmental Quality (TCEQ) public water system (PWS) that is registered under PWS ID 1050038. The proposed amendment includes two portions of area to be incorporated into County Line SUD’s CCN. The application also requests a portion of County Line SUD’s CCN and a portion of Polonia WSC’s CCN be decertified. The application included a request for service from the developer of a proposed subdivision named “Harmony Hills Subdivision.” According to the developer’s request, the area for Harmony Hills Subdivision is approximately 188 acres and has a proposed 620 residential lots and 1 commercial lot. However, County Line SUD’s application states that the amendment includes only 300 proposed connections. The application does not specify which portion of the requested area is applicable to the developer’s request for service. The decertification requests appear to be in an effort to align the CCNs with roadways and property lines, and to clearly delineate water service utility providers in the area.

Staff recommends that the application be found deficient and not accepted for filing. County Line SUD failed to provide the acreage specific to the requested CCN amendments and decertifications. In addition, the mapping data included overlaps with Maxwell Water Supply Corporation’s CCN No. 10293 and City of Kyle’s CCN No. 11024.  County Line SUD also failed to provide engineering documentation supporting their ability to provide water service to the requested area or a developer agreement confirming the proposed demand expected from the Harmony Hills Subdivision. Staff recommends that County Line SUD supplement its application with the information detailed below.

Mapping Deficiencies:

The digital data, general location and detailed maps are deficient.  The maps and digital data must be revised to accurately align along boundaries of neighboring CCNs, where appropriate.  For the portion to be decertified from Polonia WSC’s CCN and amended to County Line SUD’s CCN, the requested area must be revised to only include area certificated to Polonia WSC.  For the portions to be decertified from County Line SUD’s CCN, the requested area must be revised to remove overlaps with Maxwell WSC’s CCN No. 10293 and City of Kyle’s CCN No. 11024.  Also, the requested areas must be revised to abut the boundaries of the surrounding CCNs where appropriate.

County Line SUD must submit the following items to resolve the mapping deficiencies:

- A revised general location map identifying only the requested areas, in reference to the nearest county boundary, city, or town.

- A revised detailed map identifying only the requested areas, in reference to verifiable man-made and natural landmarks, such as roads, rivers, and railroads.

- Revised digital data for the requested areas each provided as a single polygon record, in a shapefile (SHP) format, georeferenced in NAD83 Texas Statewide Mapping System (Meters).

- State the approximate total acreage for the following, as reflected in the digital data:

  - Portion of the requested area to be decertified from Polonia WSC’s CCN and amended to County Line SUD’s CCN;

  - Portions of the requested areas to be decertified from County Line SUD’s CCN; and

  - Uncertificated area to be amended to County Line SUD’s CCN.

Staff recommends County Line SUD obtain additional mapping guidance from the PUC’s mapping staff, Ms. Tracy Montes at (512) 936-7187 or tracy.montes@puc.texas.gov to resolve the mapping deficiencies.

Financial and Managerial (FM) Deficiencies

For the purpose of reviewing the FM capability of County Line SUD, the answers and information provided in response to questions 30 and 31 of the application was reviewed by Commission Financial Analyst Mr. Fred Bednarski. Mr. Bednarski requests that County Line SUD supplement their application with the following information:

- A capital improvement plan, including a budget and an estimated timeline for construction of all facilities necessary to provide full service to the requested area, keyed to a map showing where such facilities and the connections will be located to provide service.

- A description of the sources of funding for all facilities that will be constructed to serve the requested area.

- Any developer agreements, as applicable.

Technical Deficiencies

Based upon the information provided in the application Staff is unable to accurately determine County Line SUD’s ability to serve the requested areas. Furthermore, clarification on the location of the developer’s request for service and the number of proposed customers is necessary for the determination of need for service in the requested areas. County Line SUD must supplement their application with the following:

- A plat map for the proposed subdivision.

- TCEQ engineering approvals for the infrastructure necessary to provide service to the requested areas.  If approval has not been received, County Line SUD must submit proof that an application for approval has been submitted to TCEQ.