PUC Interoffice Memorandum

To:		Kourtnee Jinks, Attorney

Legal Division

From:		Jolie Mathis, Engineering Specialist

Infrastructure Division

Date:  		May 15, 2020

Subject:	Docket No. 50553, Application of County Line Special Utility District to Amend its Certificate of Convenience and Necessity and to Decertify a Portion of Polonia Water Supply Corporation’s Certificate of Convenience and Necessity  in Hays and Caldwell Counties

On February 14, 2020, County Line Special Utility District (County Line SUD) filed an application to amend its water Certificate of Convenience and Necessity (CCN) No. 10292 and decertify a portion of Polonia Water Supply Corporation’s (Polonia WSC) CCN No. 10420 in Hays and Caldwell Counties, Texas, pursuant to Texas Water Code (TWC) §§ 13.242 to 13.250 and 16 Texas Administrative Code (TAC) §§ 24.225 to 24.237.

County Line SUD currently owns and operates a Texas Commission on Environmental Quality (TCEQ) public water system (PWS) that is registered under PWS ID 1050038. The proposed amendment includes two portions of area to be incorporated into County Line SUD’s CCN. The application also requests a portion of County Line SUD’s CCN and a portion of Polonia WSC’s CCN be decertified. The application included a request for service from the developer of a proposed subdivision named “Harmony Hills Subdivision.” According to the developer’s request, the area for Harmony Hills Subdivision is approximately 188 acres and has a proposed 620 residential lots and 1 commercial lot. However, County Line SUD’s application states that the amendment includes only 300 proposed connections. The application does not specify which portion of the requested area is applicable to the developer’s request for service. The decertification requests appear to be in an effort to align the CCNs with roadways and property lines, and to clearly delineate water service utility providers in the area.

Staff recommends that the application be found deficient and not accepted for filing.

Mapping Deficiencies:

Staff recommends that the digital data filed on April 17, 2020 is deficient because the portion of the requested area that is dually certificated with County Line SUD and Polonia WSC does not accurately align along boundaries of Polonia WSC’s CCN No. 10420.

Staff recommends that County Line SUD submit the following items to resolve the mapping deficiencies:

- Revised digital data for the requested areas each provided as a single polygon record, in a shapefile (SHP) format, georeferenced in NAD83 Texas Statewide Mapping System (Meters).

Staff recommends the Applicant obtain additional mapping guidance from the PUC’s mapping

staff, Ms. Tracy Montes at (512) 936-7187 or tracy.montes@puc.texas.gov to resolve the mapping

deficiencies.