TO:		Kourtnee Jinks, Attorney

Legal Division

FROM:	Patricia Garcia, Senior Engineering Specialist

Infrastructure Division

DATE:		February 16, 2022

RE:	Docket No. 50563 – Application of the City of Alton to Amend its Sewer Certificate of Convenience and Necessity in Hidalgo County

On February 18, 2020, the City of Alton (Alton) filed with the Public Utility Commission of Texas (Commission) an application to amend its sewer Certificate of Convenience and Necessity (CCN) No. 20809 in Hidalgo County, Texas under Texas Water Code §§ 13.242 to 13.250 and 16 Texas Administrative Code §§ 24.225 to 24.237.

Alton is seeking to amend a sewer CCN for the service area containing approximately 1,434 acres.  In response to Staff’s first request for information (RFI 1), Alton provided a map showing the city limit boundaries, areas where there are requests for service, current customers, facilities, and the intermediate parcels between each type of parcel.  Alton also stated there are currently 246 existing connections and 131 additional onsite sewer facilities in the areas.

On January 20, 2022, Alton submitted revised mapping and digital data.  Staff recommends Alton further reduce the requested area or explain why the areas off of Moorefield Rd. and Trosper Rd., without a color code label and not within the city limits, were included in the revised requested area.  Additionally, at the north end of the requested area off of Los Ebanos Rd there appears to be an existing neighborhood, with a mixture of mobile homes and traditional homes, that was not labeled as containing current Alton customers, requests for service, or existing facilities.  Staff recommends that Alton provide an explanation why this is included in the revised requested area or remove it from the requested area.

Based on the mapping review by Tracy Montes, Infrastructure Division, the digital mapping data (shapefile) filed by Alton on January 20, 2022 (Item 47) is deficient. Alton must submit the revised requested area in a usable shapefile format that mirrors the revised requested area shown on the map to be provided.

Afton must submit the following items to resolve the mapping deficiencies:

      - Revised digital mapping data for the requested area, as a single polygon record, in a shapefile (SHP) format, georeferenced in either NAD83 Texas Statewide Mapping System (Meters) or NAD83 Texas State Plane Coordinate System (US Feet).

      - Digital mapping data for Alton’s current city limit and ETJ boundaries as shown on the detailed map filed on January 20, 2022. Each boundary should be provided as a single polygon record, in a shapefile (SHP) format, georeferenced in either NAD83 Texas Statewide Mapping System (Meters) or NAD83 Texas State Plane Coordinate System (US Feet).