TO:		Robert Parish, Attorney

Legal Division

FROM:	Jolie Mathis, Utility Engineering Specialist

Infrastructure Division

DATE:	November 18, 2020

RE:	Docket 50614, Application of the Town of Cut and Shoot to Amend its Water Certificate of Convenience and Necessity in Montgomery County

On March 3, 2020, the Town of Cut and Shoot (Cut and Shoot), (Applicant) filed with the Public Utility Commission of Texas (Commission) an application to amend its water Certificate of Convenience and Necessity (CCN) No. 11615 in Montgomery County, Texas under Texas Water Code §§ 13.242 to 13.250 and 16 Texas Administrative Code §§ 24.225 to 24.237.

Background

Cut and Shoot is seeking to amend and decertify a water CCN for the service area containing approximately 23 acres and 0 existing customers.

Notice

The comment period ended July 4, 2020, and no protests or opt-out requests were received.

Factors Considered

TWC §§ 13.241 and 13.246, and 16 TAC § 24.227 require the Commission to consider certain factors when granting or amending a water or sewer CCN. Therefore, the following criteria were considered:

TWC § 13.246(c)(1) requires the Commission to consider the adequacy of service currently provided to the requested area.

Cut and Shoot has a Texas Commission on Environmental Quality (TCEQ) approved Public Water System (PWS) Identification No. 1700592.  Cut and Shoot does not have any violations listed in the TCEQ database.  No additional construction is necessary for Cut and Shoot to serve the requested area.

TWC § 13.246(c)(2) requires the Commission to consider the need for service in the requested area.

There is no need for service, as the area is being requested to be decertified.

TWC §§ 13.241(b) and 13.246(c)(3) requires the Commission to consider the effect of granting an amendment on the recipient of the certificate or amendment, on the landowners in the area, and on any other retail public utility of the same kind already servicing the proximate area.

Builders FirstSource ( or “landowner”) wishes to receive service from a nearby provider and requested decertification from Cut and Shoot.  Granting decertification of the requested area would release Cut and Shoot from its requirement to provide continuous and adequate service to the landowner and allow the landowner to make alternative arrangements for service.

TWC § 13.246(c)(4) requires the Commission to consider the ability of the applicant to provide adequate service.

There is no need for service, as the area is being requested to be decertified.

TWC § 13.246(c)(5) requires the Commission to consider the feasibility of obtaining service from an adjacent retail public utility.

Builders FirstSource owns a 21 acre tract on Waukegan Road and intends to develop it as a lumber yard which requires regular water service and fire protection.  The City of Cut and Shoot does not have water lines in the area and has no plans to install them. Neighboring Crystal Springs Water Co., Inc. has agreed to install the necessary equipment at its nearby Forest Trace Water Plant to provide the required fire protection to the landowner.

TWC § 13.246(c)(6) requires the Commission to consider the financial ability of the applicant to pay for facilities necessary to provide continuous and adequate service.

There is no need for service, as the area is being requested to be decertified.

TWC § 13.246(d) allows the Commission to require an applicant to provide a bond or other financial assurance in a form and amount specified by the Commission to ensure that continuous and adequate utility service is provided.

There is no need for service, as the area is being requested to be decertified.

TWC §§ 13.246(c)(7) and (9) require the Commission to consider the environmental integrity and the effect on the land to be included in the certificate.

There will be no impact to the environmental integrity of the land if decertified from Cut and Shoot.

TWC § 13.246(c)(8) requires the Commission to consider the probable improvement in service or lowering of cost to consumers.

This is not applicable because there are no homes currently receiving service in the requested service area.

Based on the mapping review by Tracy Montes, Infrastructure Division, and my technical and managerial review, I recommend that Cut and Shoot meets all of the statutory requirements of Texas Water Code Chapter 13 and the Commission's Chapter 24 rules and regulations, is capable of providing continuous and adequate service and approving this application to amend and decertify a water CCN No. 11615 is necessary for the service, accommodation, convenience and safety of the public.

The Applicant consented to the attached map and certificate on November 16, 2020.