PUC Interoffice Memorandum

To:	Robert Dakota Parish, Attorney

Legal Division

From:	Elisabeth English, Engineering Specialist

Infrastructure Division

Date:  	April 3, 2020

Subject:	Docket No. 50614, Application of the Town of Cut and Shoot to Amend its Water Certificate of Convenience and Necessity in Montgomery County

On March 3, 2020, the Town of Cut and Shoot (Cut and Shoot) filed an application to amend its water Certificate of Convenience and Necessity (CCN) in Montgomery County, Texas in accordance with Texas Water Code §§ 13.242 to 13.250 and 16 Texas Administrative Code (TAC) §§ 24.225 to 24.237.

Cut and Shoot seeks to decertify a portion, approximately 23 acres, of its water CCN No. 11615. The property owner, Builders FirstSource, has requested decertification of their 23-acre tract located within Cut and Shoot’s CCN. Cut and Shoot’s city council approved Builders FirstSource request at their October 10, 2019 meeting. Cut and Shoot does not have any water lines in the area or any intention to extend service to the area. Additionally, Builders FirstSource has found an alternate provider with the ability to provide the necessary water capacity and fire flow.

Staff recommends that the application be found deficient and not accepted for filing. The mapping documentation filed by Cut and Shoot does not meet the mapping requirements of 16 TAC § 24.257.  Specifically, the general location map is deficient.  Cut and Shoot must remove the existing CCNs from the general location map. Cut and Shoot must submit the following items to resolve the mapping deficiencies:

- A general location map identifying only the requested area, in reference to the nearest county boundary, city, or town.