PUC Interoffice Memorandum

To:	Richard Nemer, Attorney

Legal Division

From:		Roshan Pokhrel, Engineering Specialist

Infrastructure Division

Date:  	April 24, 2020

Subject:	Docket No. 50626, Application of Quadvest, L.P. to Amend its Certificates of Convenience and Necessity and to Decertify Portions of the City of Conroe’s Certificates of Convenience and Necessity in Montgomery County

On March 6, 2020, Quadvest, L.P., (Applicant) filed an application with the Public Utility Commission of Texas (Commission) to amend its water certificate of convenience and necessity (CCN) No. 11612 and sewer CCN No. 20952 in Montgomery County. The application also seeks to decertify portions of the City of Conroe's water CCN No. 10339 and sewer CCN No. 20135. The application was filed under Texas Water Code (TWC) §§ 13.242 to 13.250 and 16 Texas Administrative Code (TAC) §§ 24.225 to 24.237.

Commission Staff has reviewed the information filed in the application and recommends that the application be deemed administratively incomplete and not accepted for filing at this time due to two deficiencies.

First, the Applicant's cover letter to the present application states that a discharge permit application was filed with the Texas Commission on Environmental Quality (TCEQ) on February 10, 2020. Applicant’s cover letter further states that underground and well permits would be filed with the TCEQ within 60 days of the present application’s filing. Nonetheless, under 16 TAC                      § 24.233(a)(14), a water CCN amendment application requires proof that the applicant has submitted plans and specifications for the proposed drinking water system with the TCEQ for a determination of administrative completeness. Similarly, under 16 TAC § 24.233(a)(15), a sewer CCN amendment application requires proof that the applicant has submitted an application for a wastewater permit with the TCEQ for a determination of administrative completeness.

Second, the requested service areas overlap with the City of Conroe’s water and sewer CCNs. However, the Applicant has not filed an agreement letter from the City of Conroe to decertify a portion of its water CCN No. 10339 and sewer CCN No. 20135.

Staff recommends that the Applicant provide the following information to cure the previously identified application deficiencies:

- an agreement letter from the City of Conroe to decertify a portion of its water CCN and sewer CCN, since the requested service area overlaps each of the City of Conroe’s CCNs; and

- documents evidencing that the Applicant submitted applications to the TCEQ for approval of (a) the construction of a new water facilities to serve the requested area and (b) a new water quality discharge permit to serve the requested area.