PUC Interoffice Memorandum

To:		Rustin Tawater, Attorney

Legal Division

From:		Elisabeth English, Engineering Specialist

Infrastructure Division

Date:  		April 27, 2020

Subject:	Docket No. 50659, Application of Montgomery County Municipal Utility District No. 126 and City of Conroe for Sale, Transfer, or Merger of Facilities and Certificates Rights in Montgomery County

On March 13, 2020, City of Conroe (Conroe) and Montgomery County Municipal Utility District No. 126 (Montgomery MUD 126) (collectively “Applicants”) filed an application for Sale, Transfer, or Merger (STM) of certificate rights and facilities in Montgomery County, Texas.  The STM application is being reviewed consistent with 16 Texas Administrative Code (TAC) §§ 24.227 and 24.239 and Texas Water Code (TWC) §§ 13.241, 13.246, and 13.301.

Conroe seeks approval for the purchase of Montgomery MUD 126’s facilities and to transfer Montgomery MUD 126’s water and sewer Certificate of Convenience and Necessity (CCN) No.’s 13258 and 21104.  In addition, Conroe requests an amendment to their water and sewer CCN No.’s 10339 and 20135, respectively, for the area transferred from Montgomery MUD 126. The requested area to be transferred is the total of approximately 174 acres for both water and sewer. Montgomery MUD 126 has 568 and 549 existing water and sewer connections, respectively, to be transferred as a result of the proposed transaction.

Staff recommends that the STM application be deemed administratively incomplete and not accepted for filing at this time. Staff requests that the Applicants supplement their STM application addressing the mapping deficiencies discussed below. The Applicants general location and detailed maps do not accurately show the requested water and sewer areas subject to the proposed transaction.  The requested areas should reflect the same boundaries as the existing CCN boundaries for Montgomery MUD 126’s 13258 and 21104 to be transferred to Conroe’s CCN Nos. 10339 and 20135.

The Applicants must file the following items to resolve the mapping deficiencies:

- Revised general location maps identifying the requested water and sewer areas, in reference to the nearest county boundary, city, or town.  Provide a separate general location map for both the requested water and sewer areas.

- Detailed maps identifying the requested water and sewer areas, in reference to verifiable man-made and natural landmarks, such as roads, rivers, and railroads.  Provide a separate detailed map for both the requested water and sewer areas.

Staff recommends that the Applicants use the Commission’s Water and Sewer CCN Viewer to create the required general location and detailed maps available at: https://www.puc.texas.gov/industry/water/utilities/map.aspx. Furthermore, the Applicants may obtain further mapping guidance and assistance from Ms. Tracy Montes, via phone ((512) 936-7187) or email (tracy.montes@puc.texas.gov), regarding the mapping deficiencies.