ADDENDUM TO APPLICATION

DOCKET # 50721

CRYSTAL CLEAR WATER INC.

TO WHOM IT MAY CONCERN:

Please consider that in the application that was filed, docket # 50721,  I DID NOT address the recommendations by TCEQ.

In summary, the recommendations are as follows:

1. Replace the existing galvanized pipes. The cost of this project would be estimated as follows

A. 2.8 miles of new pipe trenched, bedded and installed @ $15.00/ foot ------ $221,760.00

B. Materials – saddles, corps, meter stops, ect. ------------------------------------ $  20,613.09

C. Labor installing the saddles, corps, meter stops ect.  -------------------------- $  15,750.00

2.  Pulling Well # 1 to replace the pipe and pump and wire $20,000 to                 $  25,000.00

3.  Pulling Well # 2 to inspect well casing and repair as necessary $20,000 to      $   ????

4.  Hiring an engineer to plan and draw up the project --------------------------       $ 10,000.00

5. Replacing Ground Water Storage -----------------------------------------------       $ 33,992.00

6. Transporting the Ground Water Storage Tanks ---------------------------------     $  2,500.00

7. Installation ( labor, Sand, Metal, Fencing, ect.) of GWS ----------------------    $  10,000.00

Numbers 5,6,7 are addressing a ground water storage tank that has been cited and placed in enforsemant.

As you can see, this would be a very expensive undertaking and financially impossible. I know I’ll have to address these things in phases but I would still need financial assistance. I did not include these projects because it would have made the rate increase calculations overwhelming. However, I do need a substancial rate increase to meet current expenses and to proceed with the TCEQ recommendations.

Attached are documents for you viewing about these matters.

Sincerely,

Robert Payne