PUC Interoffice Memorandum

To:	Daniel Moore, Attorney

Legal Division

From:		Patricia Garcia, Senior Engineering Specialist

Infrastructure Division

Date:  	May 4, 2020

Subject:	Docket No. 50736 — Application of Hammond Mound Utilities, Inc. and Rosehill Utilities, Inc. for Sale, Transfer, or Merger of Facilities and Certificate Rights in Waller County

On April 3, 2020, Rosehill Utilities, Inc. (Purchaser or Rosehill Utilities) and Hammond Mound Utilities, Inc. (Seller) (collectively, Applicants) filed an application for Sale, Transfer, or Merger (STM) of facilities and certificate rights in Waller County, Texas, pursuant to Texas Water Code (TWC) § 13.301 and 16 Texas Administrative Code (TAC) § 24.239.

Specifically, the Purchaser seeks approval to acquire facilities and to transfer water service area from Seller under water Certificate of Convenience and Necessity (CCN) No. 12965 and sewer CCN No. 20886. Purchaser will retain Seller’s sewer CCN number and cancel the water CCN. The water CCN area for the Seller will be merged into the Seller’s water CCN No. 12663. The Applicant’s indicated the requested area was approximately 157.75 acres. Staff confirmed the requested area includes approximately 162 acres, 18 water connections and 15 sewer connections.

Staff reviewed the application filed by the Applicants on April 3, 2020 and found that it is administratively incomplete.  Therefore, Staff recommends that the application should not be accepted for filing.

Upon review of the Texas Commission on Environmental Quality’s (TCEQ) databases, Staff found violations listed for Rosehill Utilities. Staff recommends that Rosehill Utilities provide the following:

- Documentation showing how Rosehill Utilities intends to address the violations shown in the TCEQ’s Central Registry database for Rosehill Utilities’ public water system, Pine Grove Estates Water System.

- An estimate of the cost to resolve all of the violations and an explanation of how Rosehill Utilities will fund the resolution of these violations.