TO:		Merritt Lander, Attorney

Legal Division

FROM:	Patricia Garcia, Senior Engineering Specialist

Infrastructure Division

DATE:	March 4, 2021

RE:	Docket No. 50789 – Application of the City of Richland for a Water Certificate of Convenience and Necessity and for Dual Certification with Corbet Water Supply Corporation and Pleasant Grove Water Supply Corporation in Navarro County

- Application

The City of Richland (Richland) filed with the Public Utility Commission of Texas (Commission) an application to obtain a water certificate of convenience and necessity (CCN) and for dual certification with Corbet Water Supply Corporation (Corbet WSC), CCN No. 12278, and Pleasant Grove Water Supply Corporation (Pleasant Grove WSC), CCN No. 10756, in Navarro County, Texas under Texas Water Code (TWC) §§ 13.242 to 13.250 and 16 Texas Administrative Code (TAC) §§ 24.225 to 24.237.

The total area being requested is approximately 8,608 acres with 279 current customers.  Richland stated that inside the city limits there are 140 connections and approximately 1,051 acres; inside the ETJ there are 60 connections and approximately 3,291 acres; and outside the city limits there are 79 connections and approximately 4,303 acres.  This is a total of 279 connections and 8,645 acres.  The acreage is not representative of what is actually being requested in the application.  Staff determined, and Richland agreed, that the correct acreage is 8,608 acres.  The slight difference in connections from the 276 connections was reported in the application is due to new connections being added during the processing of the application.  The total area being requested for single certification is approximately 8,027 acres.  The total area being requested for dual certification is approximately 581 acres.  For the requested dual certification areas, approximately 206 acres is associated with Corbet WSC and approximately 375 acres is associated with Pleasant Grove WSC.

- Notice

The deadline to intervene was November 9, 2020; there were no motions to intervene, protests, or opt-out requests received.

- Factors Considered

TWC §§ 13.241 and 13.246 and 16 TAC §§ 24.11(e) and 24.227 require the Commission to consider certain factors when granting or amending a water or sewer CCN. Therefore, the following criteria were considered.

3.1.	Consideration of the adequacy of service currently provided to the requested area and system compliance (TWC § 13.246(c)(1); 16 TAC § 24.227(a) and (e)(1)).

Richland has a Texas Commission on Environmental Quality (TCEQ) approved public water systems (PWS) registered as PWS ID No. 1750020.  Richland does not have any violations listed in the TCEQ database.  The only construction necessary for Richland to serve the requested area is the installation of distribution lines.

3.2.	Consideration of the need for additional service in the requested area (TWC § 13.246(c)(2); 16 TAC § 24.227(e)(2)).

There is a need for service as there are 279 existing connections and six requests for service in the requested area.  Richland received requests for service from six customers along the southern outer border (see starred items) of the requested area.  Richland is requesting existing parcels on their side of a highway (between their CCN and the neighboring CCN) and between current customers and areas with requests for service.  Richland stated they will have to go through the parcels where there are no requests for service currently in order to be able to serve the areas where customers are requesting service.  Richland expects there to be 329 new connections in the requested area.

3.3.	Consideration of the effect of granting an amendment on the recipient of the certificate or amendment, on the landowners in the area, and on any other retail public utility of the same kind already servicing the proximate area (TWC §§ 13.241(b) and 13.246(c)(3), 16 TAC § 24.227(e)(3)).

Richland will be the certificated entity for the requested area and be required to provide adequate and continuous service to the requested area.

The landowners in the area will have a water provider available when they need to request water service.

Corbet WSC and Pleasant Grove WSC consented to dual certification with Richland in the areas identified in the application.

There will be no effect on any other retail public utility servicing the proximate area. All retail public utilities in the proximate area were provided notice of the transaction taking place in this application and did not request to intervene.

3.4.	Consideration of the managerial and technical ability of the applicant to provide adequate service (TWC § 13.246(c)(4); 16 TAC § 24.227(a) and (e)(4)).

Richland has a TCEQ approved PWS registered as PWS ID No. 1750020.  Richland does not have any violations listed in the TCEQ database.  The only construction necessary for Richland to serve the requested area is the installation of distribution lines.

3.5	Consideration of the feasibility of obtaining service from an adjacent retail public utility (TWC § 13.246(c)(5); 16 TAC § 24.227(e)(5)).

The requested area is between the CCNs of Corbet WSC and Pleasant Grove WSC.  There are agreements for dual certification for portions of the requested area with both CCN holders.  Richland received requests for service from six customers along the south outer border of the requested area.  Richland is requesting existing parcels on their side of a highway and between current customers and areas with requests for service.  Richland stated they will have to go through the parcels where there are no requests for service currently in order to be able to serve the areas where customers are requesting service.  Richland currently serves 279 customers and has sufficient capacity to serve the requested area.  Additionally, Richland is requesting dual certification for the areas that overlap with neighboring CCN holders, Corbet WSC and Pleasant Grove WSC.  Where there is no overlap, the proposed CCN area abuts Corbet WSC’s and Pleasant Grove WSC’s CCN areas.  The neighboring CCN holders have agreed to the dual certification.  Therefore, it is not feasible to obtain service from an adjacent retail public utility.

3.6.	Consideration of the financial ability of the applicant to pay for facilities necessary to provide continuous and adequate service (TWC § 13.246(c)(6); 16 TAC §§ 24.227(a) and (e)(6), 24.11(e)).

Fred Bednarski, III, Financial Analyst in the Rate Regulation Division, provided me the following.

Richland demonstrates adequate financial and managerial capability to provide continuous and adequate service to the area subject to this application.  These conclusions are based on information provided by Richland before the date of this memorandum and may not reflect any changes in Richland’s status after this review.

An owner or operator of a retail public utility must have the financial resources to operate and manage the utility and to provide continuous and adequate service to the current and requested utility service areas, as established by 16 TAC § 24.11.  Richland must demonstrate that it meets one of the five leverage tests under 16 TAC § 24.11(e)(2) as well as an operations test.

Leverage tests

The analysis is based on the financial statements ending December 31, 2018.  These financial statements contain an unqualified auditor’s opinion from Anderson, Marx & Bohl, P.C. stating that the financial statements present fairly, in all material respects, the financial position of Richland as of December 31, 2018.

Richland’s 2018 financial statements report long-term debt of $0.00 and equity of $1,150,418.00. The debt-to-equity ratio is 0.00.  Because the ratio is less than 1.0, Richland meets the leverage test specified in 16 TAC § 24.11(e)(2)(A).

Operations test

An owner or operator must demonstrate sufficient available cash to cover projected cash shortages for operations and maintenance expense during the first five years of operations, as required by 16 TAC § 24.11(e)(3).

Richland’s 2020 budget shows that there are no projected shortages to cover.  Capital improvements required to provide water service to the requested area will be paid for by the customers per the executed nonstandard service agreements.  Sufficient cash and net operating income available to cover possible future shortages provide an indication of financial stability and financial and managerial capability.  Therefore, Richland meets the operations test specified in 16 TAC § 24.11(e)(3).

3.7.	Requirement of the applicant to provide a bond or other financial assurance in a form and amount specified by the Commission to ensure that continuous and adequate utility service is provided (TWC §§ 13.246(d); 16 TAC § 24.227(f)).

Mr. Bednarski provided the following.

Because Richland meets the financial tests, no additional financial assurance is needed.

3.8.	Consideration of the environmental integrity and the effect on the land to be included in the certificated area (TWC § 13.246(c)(7) and (9); and 16 TAC § 24.227(e)(7) and (9)).

The environmental integrity of the land will be minimally affected when the distribution lines are installed to serve the customers requesting service in the requested area.

3.9.	Consideration of the probable improvement in service or lowering of cost to consumers (TWC § 13.246(c)(8); 16 TAC § 24.227(e)(8)).

Richland will continue to provide water service to the existing customers in the area with no change to the cost to customers.  Customers requesting service in the area will be able to receive water service from Richland.

Richland consented to the attached map and certificate on January 22, 2021.

Corbet WSC consented to the attached map on March 1, 2021.

Pleasant Grove WSC consented to the attached map on February 23, 2021.

- Recommendation

Based on the above information, I recommend that Richland meets all of the statutory requirements of TWC Chapter 13 and the Commission's Chapter 24 rules and regulations and is capable of providing continuous and adequate service. I also recommend that approving this application to obtain water CCN No. 13294 is necessary for the service, accommodation, convenience, and safety of the public.

Response to Commission Staff’s First Request for Information to the City of Richland, Staff 1-3 at 1 (Aug. 17, 2020).

Response to Staff Request for Information 1-2 at 3 (Sept. 22, 2020).