## CAE-04 Utility Incentive Comp
EL PASO ELECTRIC COMPANY
Comparison of Incentive Expenditures
2019
Line No. | Utility | Incentive Expenditures | Demand Reduction (kW) | Incentive Expenditures per kW | Energy Savings (kWh) | Incentive Expenditures per kWh
1 | AEP Texas - Central Division | 12350327 | 39671 | 311.3188 | 58366316 | 0.2116
2 | AEP Texas - North Division | 2757105 | 6636 | 415.4769 | 12223046 | 0.22557
3 | Centerpoint Energy | 31769734 | 195184 | 162.7681 | 215856435 | 0.14718
4 | El Paso Electric Company | 4185790 | 19424 | 215.4958 | 24825792 | 0.16861
5 | Entergy Texas | 6368984 | 21000 | 303.285 | 44554139 | 0.14295
6 | Oncor Electric Delivery Company | 42612969 | 167473 | 254.4468 | 243316679 | 0.17513
8 | Southwestern Electric Power Company | 3241709 | 11848 | 273.6081 | 16359189 | 0.19816
9 | SPS | 3479258 | 9557 | 364.0534 | 23266133 | 0.14954
10 | Texas-New Mexico Power Company | 3996013 | 10430 | 383.1268 | 15629450 | 0.25567
11 | Average: |  |  | 298.1755 |  | 0.18605 | Exhibit CAE-04 Page 1 of 1