## Reference 6.0 EULs
2019 Residential & Commercial Estimated Useful Life Table
Sector | TRM Measure | DO NOT DELETE; FOR SEARCH Step 2 tab | Energy Efficiency Measure | EUL (years) | TRM Version
Custom | NA |  | Custom-Air Compressor | 15 | NA
Custom | NA |  | Custom-Pump VFD Controls | 15 | NA
Custom | NA | 1 | Custom-Thermal Energy Storage | 20 | NA | Custom-Thermal Energy Storage
Residential | 2.1.1 | 2 | Res Standard Compact Fluorescent Lamps (10,000 to 11,000 hour Rated Measure Life) | 11 | 6 | Res Specialty Compact Fluorescent Lamps (10,000 to 11,000 hour Rated Measure Life)
Residential | 2.1.1 | 3 | Res Standard Compact Fluorescent Lamps (11,001 to 13,500 hour Rated Measure Life) | 13 | 6 | Res Standard Compact Fluorescent Lamps (≥ 17,501 hour Rated Measure Life)
Residential | 2.1.1 | 4 | Res Standard Compact Fluorescent Lamps (13,501 to 17,500 hour Rated Measure Life) | 16 | 6 | Res Standard Compact Fluorescent Lamps (13,501 to 17,500 hour Rated Measure Life)
Residential | 2.1.1 | 5 | Res Standard Compact Fluorescent Lamps (≥ 17,501 hour Rated Measure Life) | 20 | 6 | Res Standard Compact Fluorescent Lamps (≥ 17,501 hour Rated Measure Life)
Residential | 2.1.2 | 6 | Res Specialty Compact Fluorescent Lamps (10,000 to 11,000 hour Rated Measure Life) | 11 | 6 | Res Specialty Compact Fluorescent Lamps (10,000 to 11,000 hour Rated Measure Life)
Residential | 2.1.2 | 7 | Res Specialty Compact Fluorescent Lamps (11,001 to 13,500 hour Rated Measure Life) | 13 | 6 | Res Specialty Compact Fluorescent Lamps (11,001 to 13,500 hour Rated Measure Life)
Residential | 2.1.2 | 8 | Res Specialty Compact Fluorescent Lamps (13,501 to 17,500 hour Rated Measure Life) | 16 | 6 | Res Specialty Compact Fluorescent Lamps (13,501 to 17,500 hour Rated Measure Life)
Residential | 2.1.2 | 9 | Res Specialty Compact Fluorescent Lamps (≥ 17,501 hour Rated Measure Life) | 20 | 6 | Res Specialty Compact Fluorescent Lamps (≥ 17,501 hour Rated Measure Life)
Residential | 2.1.3 | 10 | Res Energy Star Omni-Directional LED Lamps (15,000 year Rated Measure Life) | 16 | 6 | Res Energy Star Omni-Directional LED Lamps (15,000 year Rated Measure Life)
Residential | 2.1.3 | 11 | Res Energy Star Omni-Directional LED Lamps (20,000 year Rated Measure Life) | 20 | 6 | Res Energy Star Omni-Directional LED Lamps (20,000 year Rated Measure Life)
Residential | 2.1.4 | 12 | Res Energy Star Specialty and Directional LED Lamps (15,000 hour Rated Measure Life) | 16 | 6 | Res Energy Star Specialty and Directional LED Lamps (15,000 hour Rated Measure Life)
Residential | 2.1.4 | 13 | Res Energy Star Specialty and Directional LED Lamps (20,000 hour Rated Measure Life) | 20 | 6 | Res Energy Star Specialty and Directional LED Lamps (20,000 hour Rated Measure Life)
Residential | 2.2.1 | 14 | Res AC or HP Tune-Up | 5 | 6 | Res AC or HP Tune-Up
Residential | 2.2.2 | 15 | Res Duct Efficiency Improvement | 18 | 6 | Res Duct Efficiency Improvement
Residential | 2.2.3 | 16 | Res Central AC | 18 | 6 | Res Central AC
Residential | 2.2.4 | 17 | Res Ground Source Heat Pump | 20 | 6 | Res Ground Source Heat Pump
Residential | 2.2.5 | 18 | Res Central Heat Pump | 15 | 6 | Res Central Heat Pump
Residential | 2.2.6 | 19 | Large Capacity Split System and Single-Package AC | 18 | 6 | Large Capacity Split System and Single-Package AC
Residential | 2.2.6 | 20 | Large Capacity Split System and Single-Package HP | 15 | 6 | Large Capacity Split System and Single-Package HP
Residential | 2.2.7 | 21 | Res Room (Window) Air Conditioner | 8 | 6 | Res Room (Window) Air Conditioner
Residential | 2.2.8 | 22 | ENERGY STAR Connected Thermostats | 11 | 6 | ENERGY STAR Connected Thermostats
Residential | 2.2.9 | 23 | Smart Thermostat Demand Response | 1 | 6 | Smart Thermostat Demand Response
Residential | 2.3.1 | 24 | Res Air Infiltration | 11 | 6 | Res Air Infiltration
Residential | 2.3.2 | 25 | Res Ceiling Insulation | 25 | 6 | Res Ceiling Insulation
Residential | 2.3.3 | 26 | Res Attic Encapsulation | 25 | 6 | Res Attic Encapsulation
Residential | 2.3.4 | 27 | Res Wall Insulation | 25 | 6 | Res Wall Insulation
Residential | 2.3.5 | 28 | Res Floor Insulation | 25 | 6 | Res Floor Insulation
Residential | 2.3.6 | 29 | Res Energy Star Windows | 25 | 6 | Res Energy Star Windows
Residential | 2.3.7 | 30 | Res Solar Screens | 10 | 6 | Res Solar Screens
Residential | 2.3.8 | 31 | Cool Roofs | 15 | 6 | Cool Roofs
Residential | 2.4.1 | 32 | Res Faucet Aerators | 10 | 6 | Res Faucet Aerators
Residential | 2.4.2 | 33 | Res Low-Flow Showerheads | 10 | 6 | Res Low-Flow Showerheads
Residential | 2.4.3 | 34 | Res Water Heater Pipe Insulation | 13 | 6 | Res Water Heater Pipe Insulation
Residential | 2.4.4 | 35 | Res Water Heater Tank Insulation | 7 | 6 | Res Water Heater Tank Insulation
Residential | 2.4.5 | 36 | Res Water Heater Installation-Electric Tankless | 20 | 6 | Res Water Heater Installation-Electric Tankless
Residential | 2.4.5 | 37 | Res Water Heater Installation-Fuel Substitution | 11 | 6 | Res Water Heater Installation-Fuel Substitution
Residential | 2.4.6 | 38 | Res Heat Pump Water Heater | 13 | 6 | Res Heat Pump Water Heater
Residential | 2.4.7 | 39 | Res Water Heater Replacement-Solar Water Heating | 15 | 6 | Res Water Heater Replacement-Solar Water Heating
Residential | 2.4.8 | 40 | Showerhead Temperature Sensitive Restrictor Valves | 10 | 6 | Showerhead Temperature Sensitive Restrictor Valves
Residential | 2.4.9 | 41 | Tub Spout and Showerhead Temperature Sensitive Restrictor Valves | 10 | 6 | Tub Spout and Showerhead Temperature Sensitive Restrictor Valves
Residential | 2.5.1 | 42 | Res Energy Star Ceiling Fans | 10 | 6 | Res Energy Star Ceiling Fans
Residential | 2.5.2 | 43 | Res Energy Star Clothes Washer | 11 | 6 | Res Energy Star Clothes Washer
Residential | 2.5.3 | 44 | Res Energy Star Dishwashers | 15 | 6 | Res Energy Star Dishwashers
Residential | 2.5.4 | 45 | Res Energy Star Refrigerators | 16 | 6 | Res Energy Star Refrigerators
Residential | 2.5.5 | 46 | Energy Star Pool Pumps | 10 | 6 | Energy Star Pool Pumps
Residential | 2.6.1 | 47 | Res Refrigerator/Freezer Recycling | 8 | 6 | Res Refrigerator/Freezer Recycling
Commercial | 2.1.1 | 48 | Comm Lamps and Fixtures: Halogen Lamps | 1.5 | 6 | Comm Lamps and Fixtures: Halogen Lamps
Commercial | 2.1.1 | 49 | Comm Lamps and Fixtures: High Intensity Discharge Lamps | 15.5 | 6 | Comm Lamps and Fixtures: High Intensity Discharge Lamps
Commercial | 2.1.1 | 50 | Comm Lamps and Fixtures: Integrated-ballast CCFL Lamps | 4.5 | 6 | Comm Lamps and Fixtures: Integrated-ballast CCFL Lamps
Commercial | 2.1.1 | 51 | Comm Lamps and Fixtures: Integrated-ballast CFL Lamps | 2.5 | 6 | Comm Lamps and Fixtures: Integrated-ballast CFL Lamps
Commercial | 2.1.1 | 52 | Comm Lamps and Fixtures: Integral LED Lamps | 9 | 6 | Comm Lamps and Fixtures: Integral LED Lamps
Commercial | 2.1.1 | 53 | Comm Lamps and Fixtures: Light Emitting Diode | 15 | 6 | Comm Lamps and Fixtures: Light Emitting Diode
Commercial | 2.1.1 | 54 | Comm Lamps and Fixtures: Modular CFL and CCFL Fixtures | 16 | 6 | Comm Lamps and Fixtures: Modular CFL and CCFL Fixtures
Commercial | 2.1.1 | 55 | Comm Lamps and Fixtures: T8 and T5 Linear Fluorescents | 15.5 | 6 | Comm Lamps and Fixtures: T8 and T5 Linear Fluorescents
Commercial | 2.1.2 | 56 | Comm Lighting Controls: Occupancy Sensor | 10 | 6 | Comm Lighting Controls: Occupancy Sensor
Commercial | 2.1.2 | 57 | Comm Lighting Controls: Photocell (Daylighting Control) | 10 | 6 | Comm Lighting Controls: Photocell (Daylighting Control)
Commercial | 2.1.2 | 58 | Comm Lighting Controls: Timeclock | 10 | 6 | Comm Lighting Controls: Timeclock
Commercial | 2.1.2 | 59 | Comm Lighting Controls: Tuning Control | 10 | 6 | Comm Lighting Controls: Tuning Control
Commercial | 2.2.1 | 60 | Comm AC or HP Tune-Up | 5 | 6 | Comm AC or HP Tune-Up
Commercial | 2.2.2 | 61 | Comm Split System/Single Packaged Heat Pumps and Air Conditioners | 15 | 6 | Comm Split System/Single Packaged Heat Pumps and Air Conditioners
Commercial | 2.2.3 | 62 | Comm HVAC Chillers: Screw / Scroll / Reciprocating Chillers | 20 | 6 | Comm HVAC Chillers: Screw / Scroll / Reciprocating Chillers
Commercial | 2.2.3 | 63 | Comm HVAC Chillers: Centrifugal Chillers | 25 | 6 | Comm HVAC Chillers: Centrifugal Chillers
Commercial | 2.2.4 | 64 | Comm Packaged Terminal Air Conditioners, Heat Pumps | 15 | 6 | Comm Packaged Terminal Air Conditioners, Heat Pumps
Commercial | 2.2.4 | 65 | Comm Room Air Conditioners | 11 | 6 | Comm Room Air Conditioners
Commercial | 2.2.5 | 66 | Comm HVAC VFD on AHU Supply Fans | 15 | 6 | Comm HVAC VFD on AHU Supply Fans
Commercial | 2.2.6 | 67 | Condenser Air Evaporative Pre-Cooling | 15 | 6 | Condenser Air Evaporative Pre-Cooling
Commercial | 2.3.1 | 68 | Comm Energy Star Roofs | 15 | 6 | Comm Energy Star Roofs
Commercial | 2.3.2 | 69 | Comm Window Film | 10 | 6 | Comm Window Film
Commercial | 2.3.3 | 70 | Entrance and Exit Door Air Infiltration | 11 | 6 | Entrance and Exit Door Air Infiltration
Commercial | 2.4.1 | 71 | Comm High Efficiency Combination Ovens | 12 | 6 | Comm High Efficiency Combination Ovens
Commercial | 2.4.2 | 72 | Comm High Efficiency Electric Convention Ovens | 12 | 6 | Comm High Efficiency Electric Convention Ovens
Commercial | 2.4.3 | 73 | Comm Energy Star Commercial Dishwashers | 11 | 6 | Comm Energy Star Commercial Dishwashers
Commercial | 2.4.4 | 74 | Comm Hot Food Holding Cabinets | 12 | 6 | Comm Hot Food Holding Cabinets
Commercial | 2.4.5 | 75 | Comm Energy Star Electric Fryers | 12 | 6 | Comm Energy Star Electric Fryers
Commercial | 2.4.6 | 76 | Comm Pre-Rinse Spray Valves | 5 | 6 | Comm Pre-Rinse Spray Valves
Commercial | 2.4.7 | 77 | Comm Energy Star Electric Steam Cookers | 12 | 6 | Comm Energy Star Electric Steam Cookers
Commercial | 2.5.1 | 78 | Comm Door Heater Controls | 12 | 6 | Comm Door Heater Controls
Commercial | 2.5.2 | 79 | Comm ECM Evaporator Fan Motor | 15 | 6 | Comm ECM Evaporator Fan Motor
Commercial | 2.5.3 | 80 | Comm Electronic Defrost Controls | 10 | 6 | Comm Electronic Defrost Controls
Commercial | 2.5.4 | 81 | Comm Evaporator Fan Controls | 16 | 6 | Comm Evaporator Fan Controls
Commercial | 2.5.5 | 82 | Comm Night Covers for Open Refrigerated Display Cases | 5 | 6 | Comm Night Covers for Open Refrigerated Display Cases
Commercial | 2.5.6 | 83 | Comm Solid and Glass Door Reach-Ins | 12 | 6 | Comm Solid and Glass Door Reach-Ins
Commercial | 2.5.7 | 84 | Comm Strip Curtains for Walk-In Refrigerated Storage | 4 | 6 | Comm Strip Curtains for Walk-In Refrigerated Storage
Commercial | 2.5.8 | 85 | Comm Zero Energy Doors for Refrigerated Cases | 12 | 6 | Comm Zero Energy Doors for Refrigerated Cases
Commercial | 2.5.9 | 86 | Door Gaskets for Walk-in and Reach-in Coolers and Freezers | 4 | 6 | Door Gaskets for Walk-in and Reach-in Coolers and Freezers
Commercial | 2.6.1 | 87 | Comm Vending Machine Controls | 5 | 6 | Comm Vending Machine Controls
Commercial | 2.6.2 | 88 | Comm Lodging Guest Room Occupancy Sensor Controls | 10 | 6 | Comm Lodging Guest Room Occupancy Sensor Controls
Commercial | 2.6.3 | 89 | Comm Pump-Off Controller | 15 | 6 | Comm Pump-Off Controller
Commercial | 2.6.4 | 90 | Energy Star Pool Pumps | 10 | 6 | Energy Star Pool Pumps
Measurement and Verification | 2.1.1 | 91 | M&V AC Tune-Up | 5 | 6 | M&V AC Tune-Up
Measurement and Verification | 2.1.2 | 92 | M&V Ground Source HP | 15 | 6 | M&V Ground Source HP
Measurement and Verification | 2.1.3 | 93 | Variable Refrigerant Flow Systems | 15 | 6 | Variable Refrigerant Flow Systems
Measurement and Verification | 2.2.1 | 94 | New Homes | 23 | 6 | New Homes
Measurement and Verification | 2.3.1 | 95 | Nonresidential Solar PV | 30 | 6 | Nonresidential Solar PV
Measurement and Verification | 2.3.2 | 96 | Res Solar PV | 30 | 6 | Res Solar PV
Measurement and Verification | 2.3.3 | 97 | Solar Shingles | N/A | 6 | Solar Shingles
Measurement and Verification | 2.4.1 | 98 | Behavioral Measure Overview | 1 | 6 | Behavioral Measure Overview
Measurement and Verification | 2.4.2 | 99 | Air Compressors less than 75 hp | 10 | 6 | Air Compressors less than 75 hp
Measurement and Verification | 2.4.3 | 100 | Commercial Retro-Commissioning | 5 | 6 | Commercial Retro-Commissioning
Measurement and Verification | 2.5.1 | 101 | Res Load Curtailment | 1 | 6 | Res Load Curtailment
Measurement and Verification | 2.5.2 | 102 | Nonresidential Load Curtailment | 1 | 6 | Nonresidential Load Curtailment