TO:		Merritt Lander, Attorney

Legal Division

FROM:	Jolie Mathis, Utility Engineering Specialist

Infrastructure Division

DATE:	December 4, 2020

RE:	Docket 50814, Application of West Harrison Water Supply Corporation to Amend Its Water Certificate of Convenience and Necessity in Harrison County

On May 4, 2020, West Harrison Water Supply Corporation (West Harrison) filed with the Public Utility Commission of Texas (Commission) an application to amend its water Certificate of Convenience and Necessity (CCN) No. 12728 in Harrison County, Texas under Texas Water Code (TWC) §§ 13.242 to 13.250 and 16 Texas Administrative Code (TAC) §§ 24.225 to 24.237.

Background

West Harrison is seeking to amend its water CCN for the service area containing approximately 447 acres, 3 existing customers, and 15 requests for new service.

Notice

The comment period ended September 14, 2020, and no protests or opt-out requests were received.

Factors Considered

TWC §§ 13.241 and 13.246, and 16 TAC § 24.227 require the Commission to consider certain factors when granting or amending a water or sewer CCN. Therefore, the following criteria were considered:

TWC § 13.246(c)(1) requires the Commission to consider the adequacy of service currently provided to the requested area.

West Harrison has a Texas Commission on Environmental Quality (TCEQ) approved Public Water System (PWS) Identification No. 1020078.  West Harrison does not have any violations listed in the TCEQ database.  No additional construction is necessary for West Harrison to serve the requested area.

TWC § 13.246(c)(2) requires the Commission to consider the need for service in the requested area.

There is a need for service. West Harrison currently serves 3 customers in the rural area outside of its existing CCN. West Harrison desires to include these customers, meters and distribution lines within its CCN boundaries. West Harrison has also received 15 requests for service in the requested area. This requested area is uncertificated area.

TWC §§ 13.241(b) and 13.246(c)(3) require the Commission to consider the effect of granting an amendment on the recipient of the certificate or amendment, on the landowners in the area, and on any other retail public utility of the same kind already servicing the proximate area.

Construction of a physically separate water system is not required for the proposed CCN amendment. The requested area is adjacent to the existing West Harrison CCN boundary. Service to the requested area has been accomplished by waterline extensions. Certifying the requested area will not adversely affect any landowners who will be able to obtain water service from West Harrison rather than drilling a well.

TWC § 13.246(c)(4) requires the Commission to consider the ability of the applicant to provide adequate service.

West Harrison has a Texas Commission on Environmental Quality (TCEQ) approved Public Water System (PWS) Identification No. 1020078.  West Harrison does not have any violations listed in the TCEQ database.  West Harrison’s PWS has adequate capacity to meet the current and projected demands in the requested area.

TWC § 13.246(c)(5) requires the Commission to consider the feasibility of obtaining service from an adjacent retail public utility.

Currently, there are no other water providers in the area.

TWC § 13.246(c)(6) requires the Commission to consider the financial ability of the applicant to pay for facilities necessary to provide continuous and adequate service.

Fred Bednarski, Rate Regulation Division, prepared the analysis and recommendation for this section.

The provisions of 16 TAC § 24.11 establish the criteria to demonstrate that an owner or operator of a retail public utility has the financial resources to operate and manage the utility and to provide continuous and adequate service to the current and requested utility service area.  The financial tests include a leverage test and an operations test.  The Commission rules identify five leverage tests.  West Harrison must demonstrate that it meets one of the five tests.

West Harrison meets one out of five leverage tests.  My analysis is based on financial statements ending December 31, 2018 (Financial Statements).  The Financial Statements contain an unqualified auditor’s opinion from Knuckols, Duvall, Hallum & Co. stating that the financial statements present fairly, in all material respects, the financial position of West Harrison as of December 31, 2018.  The audit and the related opinion indicate the transparency of West Harrison and indicate sound management capabilities.

West Harrison meets the second test under 16 TAC § 24.11(e)(2)(B). The 2018 financial statements indicate a debt service coverage ratio of 1.72.  I calculated the debt service coverage ratio as follows: change in net assets of $8,459, plus interest expense of $77,896, plus depreciation expense of $136,033, equals $222,388 divided by annual long term debt payments $129,000.  A debt service coverage ratio of greater than 1.25 is an indicator of financial stability and financial and managerial capability.

The provisions of 16 TAC § 24.11(e)(3) refer to the operations test requiring the owner or operator to demonstrate that sufficient cash is available to cover any projected operations and maintenance shortages during the first five years of operations.  West Harrison did not submit projected financial statements in its application; however, audited financial statements were provided for 2016 through 2018.  These financial statements report a positive change in net assets of $8,459 in 2018, and a positive Net Cash Provided by Operating Activities of $76,675 and $93,422 in 2016 and 2017, respectively. Furthermore, the financial statements indicate a cash and cash equivalent balance of $396,287.  Based on historical experience, I expect no operating shortages in the future.  Southwestern Electric Power Company committed to providing capital for infrastructure required to provide continuous and adequate service to the requested area.  Sufficient cash, capital commitment, and ability to leverage debt due to a healthy debt service coverage ratio provide assurance that West Harrison can cover possible future shortages.  Therefore, West Harrison meets the operations test.

TWC § 13.246(d) allows the Commission to require an applicant to provide a bond or other financial assurance in a form and amount specified by the Commission to ensure that continuous and adequate utility service is provided.

Based on the financial and managerial review of the application and the recommendation of Fred Bednarski, West Harrison meets the financial tests.  Therefore, no additional financial assurance is needed.

TWC §§ 13.246(c)(7) and (9) require the Commission to consider the environmental integrity and the effect on the land to be included in the certificate.

The environmental integrity of the land will not be affected as no additional construction is needed to provide service to the requested area.

TWC § 13.246(c)(8) requires the Commission to consider the probable improvement in service or lowering of cost to consumers.

West Harrison will continue to provide water service to the existing customers in the area with no change to the cost to customers.

Based on the mapping review by Tracy Montes, Infrastructure Division, the financial and managerial review by Fred Bednarski, Rate Regulation Division, and my technical and managerial review, I recommend that West Harrison meets all of the statutory requirements of Texas Water Code Chapter 13 and the Commission’s Chapter 24 rules and regulations, that West Harrison is capable of providing continuous and adequate service, and that approving this application to amend water CCN No. 12728 is necessary for the service, accommodation, convenience and safety of the public.

West Harrison consented to the attached map and certificate on November 16, 2020.

Based on the above information, I recommend approval of the application, and the provision of the attached map and certificate to West Harrison.

See 16 TAC § 24.11(e)(2).

Id.

Application at 85 (May 4, 2020).

Id. at 86.

Id.

Id. at 92.

Id. at 85.

Id. at 52.

Id. at 69.

Id. at 84.

West Harrison Water Supply Corporation’s Response to Staff’s First Set of Requests for Information, Staff 2-3 at 3 (Nov. 3, 2020).