TO:		Daniel Moore, Attorney

Legal Division

FROM:	Jolie Mathis, Utility Engineering Specialist

Infrastructure Division

DATE:	July 23, 2021

RE:	Docket No. 50861, Application of Manville Water Supply Corporation to Amend its Certificate of Convenience and Necessity in Lee County and Williamson Counties

- Application

Manville Water Supply Corporation (Manville WSC) filed with the Public Utility Commission of Texas (Commission) an application to amend its water Certificate of Convenience and Necessity (CCN) No. 11144 in Lee and Williamson Counties, Texas under Texas Water Code (TWC) §§ 13.242 to 13.250 and 16 Texas Administrative Code (TAC) §§ 24.225 to 24.237.

Manville WSC’s original application requested approximately 9,322 acres. Manville WSC submitted revised mapping to reduce the size of the requested service area to approximately 3,414.5 acres and 54 current customers. The revision to the requested area eliminated the areas where Manville WSC could not show a need for service.

Manville indicated that the total acreage for the reduced requested area is approximately 3,414.44 acres.  Based on the mapping review by Ms. Montes, it was determined the reduced requested area is approximately 3,414.5 acres.  Therefore, the application proposes the addition of approximately 3,414.5 uncertificated acres to CCN No. 11144.

- Notice

The deadline to intervene was January 29, 2021; there were no motions to intervene, protests, or opt-out requests received.

- Factors Considered

Under TWC §§ 13.241 and 13.246, and 16 TAC §§ 24.11(e) and 24.227, the Commission must consider certain factors when granting or amending a water or sewer CCN. Therefore, the following factors were considered.

3.1.	Consideration of the adequacy of service currently provided to the requested area and system compliance (TWC § 13.246(c)(1); 16 TAC § 24.227(a) and (e)(1)).

Manville WSC has a Texas Commission on Environmental Quality (TCEQ) approved public water systems (PWS) registered as Manville WSC, PWS ID No. 2270033.  Manville WSC does not have any violations listed in the TCEQ database. The Commission’s complaint records, which go back to 2018, show 4 complaints against Manville WSC involving outages and disconnection of service.

No additional construction is necessary for Manville WSC to serve the requested area.

3.2.	Consideration of the need for additional service in the requested area (TWC § 13.246(c)(2); 16 TAC § 24.227(e)(2)).

There is a need for service as there are 54 existing customers and potential new customers in the requested area.  The requested area includes existing customers, existing facilities, and parcels in between existing customers and facilities.

3.3.	Consideration of the effect of granting an amendment on the recipient of the certificate or amendment, on the landowners in the area, and on any other retail public utility of the same kind already servicing the proximate area (TWC §§ 13.241(b) and 13.246(c)(3), 16 TAC § 24.227(e)(3)).

Manville WSC will be the certificated entity for the requested area and will be required to provide adequate and continuous service to the requested area.

The landowners in the area will have a water provider available when they need to request water service.

There will be no effect on any retail public utility servicing the proximate area.  All retail public utilities in the proximate area were provided notice of the CCN amendment requested in this proceeding and none requested to intervene.

3.4.	Consideration of the managerial and technical ability of the applicant to provide adequate service (TWC § 13.246(c)(4); 16 TAC § 24.227(a) and (e)(4)).

Manville WSC has a TCEQ approved PWS registered as Manville WSC, PWS ID No. 2270033.  Manville WSC does not have any violations listed in the TCEQ database.  No additional construction is necessary for Manville WSC to serve the requested area.  In addition, the Commission’s complaint records, which go back to 2018, show 4 complaints against Manville WSC involving outages and disconnection of service.

3.5.	The applicant’s demonstration that regionalization or consolidation with another retail public utility is not economically feasible when construction of a physically separate water or sewer system is required to provide service to the requested area. (TWC § 13.241(d); 16 TAC § 24.227(b)).

Construction of a physically separate water or sewer system is not required to provide service to the requested area.  Therefore, concerns of regionalization or consolidation do not apply.

3.6.	Consideration of the feasibility of obtaining service from an adjacent retail public utility (TWC § 13.246(c)(5); 16 TAC § 24.227(e)(5)).

Manville WSC is currently serving customers in the requested area, has facilities in the requested area to serve any future customers, and has sufficient capacity. Therefore, it is not feasible to obtain service from an adjacent retail public utility.

3.7.	Consideration of the financial ability of the applicant to pay for facilities necessary to provide continuous and adequate service (TWC § 13.246(c)(6); 16 TAC §§ 24.227(a) and (e)(6), 24.11(e)).

Fred Bednarski, Financial Analyst in the Rate Regulation Division, provided the following:

An owner or operator of a retail public utility must have the financial resources to operate and manage the utility and to provide continuous and adequate service to the current and requested utility service areas, as established by 16 TAC § 24.11.  Manville WSC must demonstrate that it meets one of the five leverage tests under 16 TAC § 24.11(e)(2) and the operations test under 16 TAC § 24.11(e)(3).

Leverage test

My analysis is based on financial statements ending December 31, 2019.  These financial statements contain an unqualified auditor’s opinion from Alton D. Thiele, P.C. stating that the financial statements present fairly, in all material respects, the financial position of Manville WSC as of December 31, 2019 and 2018.

Manville WSC’s 2019 financial statements report long-term debt of $2,016,226 and equity of $82,663,091.  The debt-to-equity ratio is 0.02.  Because the ratio is less than 1.0, Manville WSC meets the leverage test specified in 16 TAC § 24.11(e)(2)(A).

Operations test

An owner or operator must demonstrate sufficient available cash to cover projected cash shortages for operations and maintenance expense during the first five years of operations, as required by 16 TAC § 24.11(e)(3).

Manville WSC’s financial statements include operating income of $2,834,295 excluding depreciation expense and a cash in banks and on hand balance of $2,187,069.  No capital improvements are needed to provide continuous and adequate service to the requested area.  Sufficient cash and net operating income available to cover possible future shortages provide an indication of financial stability and financial and managerial capability.  Therefore, Manville WSC meets the operations test specified in 16 TAC § 24.11(e)(3).

3.8.	Requirement of the applicant to provide a bond or other financial assurance in a form and amount specified by the Commission to ensure that continuous and adequate utility service is provided (TWC §§ 13.246(d); 16 TAC § 24.227(f)).

Based on the financial and managerial review of the application and the recommendation of Mr. Bednarski, Manville WSC meets the financial tests. Therefore, no additional financial assurance is needed.

3.9.	Consideration of the environmental integrity and the effect on the land to be included in the certificated area (TWC § 13.246(c)(7) and (9); and 16 TAC § 24.227(e)(7) and (9)).

The environmental integrity of the land will not be affected as no additional construction is needed to provide service to the requested area.

3.10.	Consideration of the probable improvement in service or lowering of cost to consumers (TWC § 13.246(c)(8); 16 TAC § 24.227(e)(8)).

Manville WSC will continue to provide water service to the existing customers in the area with no change to the cost to customers.

- Recommendation

Based on the mapping review by Tracy Montes, Infrastructure Division, the financial and managerial review by Fred Bednarski, Rate Regulation Division, and my technical and managerial review, I recommend that Manville WSC meets all of the statutory requirements of Texas Water Code Chapter 13 and the Commission's Chapter 24 rules and regulations, and is capable of providing continuous and adequate service.  I further recommend that approving this application to amend water CCN No. 11144 is necessary for the service, accommodation, convenience, and safety of the public.

Manville WSC consented to the attached map and certificate on July 12, 2021.

See Item No 29, Docket No. 50861