PUC Interoffice Memorandum

To:	Daniel Moore, Attorney

Legal Division

From:		Jolie Mathis, Utility Engineering Specialist

Infrastructure Division

Date:  	June 8, 2020

Subject:	Docket No. 50861, Application of Manville Water Supply Corporation to Amend its Certificate of Convenience and Necessity in Lee County

On May 18, 2020, Manville Water Supply Corporation (Applicant) filed with the Public Utility Commission of Texas (Commission) an application to amend its water Certificate of Convenience and Necessity (CCN) No. 11144 in Lee County, Texas pursuant to Texas Water Code (TWC) §§ 13.241 –13.250 and 16 Texas Administrative Code (TAC) §§ 24.225 –24.237.

Staff has reviewed the information provided by the Applicant and recommends that the application be deemed administratively incomplete and not accepted for filing due to the deficiencies detailed below:

Mapping Content:

The Applicant’s digital mapping data filed on May 18, 2020, in a shapefile format did not include all the required files (.dbf, .shp, .shx, .sbx, .sbn, .prj) that make up a shapefile.  The requested area provided in a shapefile format must be provided in the same location as shown on the general location and detailed maps filed with the application.

Staff recommends that Applicant submit the following item to resolve the mapping deficiencies:

- Digital mapping data for the requested area, as a single polygon record, in a shapefile (SHP) format, georeferenced in either NAD83 Texas Statewide Mapping System (Meters) or NAD83 Texas State Plane Coordinate System (US Feet).

Application Content:

The response to Part B – Question No. 9 indicates that the Applicant has received requests for service, but copies of the requests for service and a map showing the locations of the requests was not provided. Staff recommends that the Applicant submit copies of the requests for service and the accompanying map showing the locations of the requests.

The response to Part B – Question No. 10 indicates that there is existing or anticipated growth in the requested area, but copies or any market studies or reports supporting the growth were not included with the application. Staff recommends that the Application submit copies of any market studies or reports.