PUC Interoffice Memorandum

To:	Justin Adkins, Attorney

Legal Division

From:		Patricia Garcia, Senior Engineering Specialist

Infrastructure Division

Date:  	July 1, 2020

Subject:	Docket No. 50895, Application of Champs Water Company and Midway Water Utilities, Inc. for Sale, Transfer, or Merger of Facilities and Certificate Rights in Harris and Montgomery Counties

On June 1, 2020, Midway Water Utilities, Inc. (Midway or Purchaser) and Champs Water Company (Champs or Seller) (collectively, Applicants) filed an application for Sale, Transfer, or Merger (STM) of facilities and certificate rights in Harris and Montgomery Counties, Texas, pursuant to Texas Water Code (TWC) § 13.301 and 16 Texas Administrative Code (TAC)  § 24.239.

Specifically, Midway seeks approval to acquire facilities and to transfer all of Champs’ water and sewer certificates of convenience and necessity (CCN), Nos. 10972 and 20385, respectively.

Staff has reviewed the information provided by the Applicants and recommends the application be deemed administratively incomplete and not accepted for filing. Staff further recommends that the Applicants address the deficiencies detailed below:

Application Content:

- Completed application question number 14: The sum of debits and credits should equal zero, but does not, and the plant in service and accumulated depreciation amounts should equal the sum of the amounts on the asset schedules.

Mapping Content:

- The general location (small scale) maps are deficient.  The general location maps must be revised by zooming in closer to the outer boundaries of each requested area and clearly labeling major highways.

Staff recommends that the Applicants submit the following items to resolve the mapping deficiencies:

Revised general location maps identifying only the requested areas for both water and sewer, in reference to the nearest county boundary, city, or town and labeling major highways.

Additional Information:

Staff notes that another STM application in which Midway is the purchaser is currently under review in Docket No. 50059. In that application, Midway has received approval to proceed with a transaction to acquire water CCN No. 12087 and sewer CCN No. 20705. It is recommended that a utility not obtain more than one water and sewer CCN number; therefore, Staff recommends that the service area being acquired in this docket be transferred into the CCNs Midway will acquire in Docket No. 50059, as it is expected to be completed prior to this docket.  If Midway does not agree to this change, then Staff recommends that Midway provide an explanation as to why multiple water and sewer CCN numbers are necessary.

Application of Double Diamond Utilities Company, Inc., Double Diamond Properties Construction Company, and Midway Water Utilities, Inc. for Sale, Transfer, or Merger of Facilities and Certificate Rights in Hill, Palo Pinto, Johnson, and Grayson Counties, Docket No. 50059, Order No. 9 Approving Sale and Transfer to Proceed (May 11, 2020).