PUC Interoffice Memorandum

To:		Justin Adkins, Attorney

Legal Division

From:		Jolie Mathis, Utility Engineering Specialist

Infrastructure Division

Date:  		July 15, 2020

Subject:	Docket No. 50927: Petition of City of Mesquite and Talty Special Utility District for Approval of a Service Area Contract Under Texas Water Code § 13.248 and to Amend Certificates of Convenience and Necessity in Kaufman County

On June 15, 2020, the City of Mesquite (Mesquite) and Talty Special Utility District (Talty SUD) (collectively, Petitioners) filed a petition for approval of a contract designating Certificate Convenience and Necessity (CCN) service areas under Texas Water Code (TWC) § 13.248, to amend the City of Mesquite’s water certificate of convenience and necessity (CCN) No. 10060 and Talty SUD’s CCN No. 10850 in Kaufman County, Texas. The Petitioners’ service area contract is being reviewed in accordance with 16 Texas Administrative Code (TAC) § 24.253.

The Petitioners filed an agreement requesting Talty SUD be permitted to transfer a portion of its water service area under CCN No. 10850 to Mesquite under water CCN No. 10060. Specifically,  Mesquite and Talty SUD entered into a contractual agreement, which permits the  Mesquite to provide water services within the agreed upon water service area. Petitioners will transfer assets and facilities under the terms of the agreement. Because the agreement includes a transfer of facilities, Staff recommends that the petition be deemed administratively incomplete.

The agreement states that Talty SUD shall transfer, and Mesquite shall acquire, “approximately 2,700 feet of a six (6) inch water line located along FM741, 670 feet of six (6) water line located along Dozier Circle, and 2,810 feet of a six (6) inch water line located along High Country Lane in Kaufman County, Texas, with all the taps. meters. and valves and other appurtenances along and on the water line ("Facilities").”  This qualifies as a transfer of assets and facilities between retail public utilities.

TWC § 13.248 is for a transfer of service area and customers only.  If facilities are involved, then the transaction must be processed as a sale, transfer, or merger (STM).

Staff recommends that the petition be deemed administratively incomplete due to incorrect filing. Staff further recommends that the Petitioners file an amended application for approval of a STM.