TO:		Justin Adkins, Attorney

Legal Division

FROM:	Patricia Garcia, Senior Engineering Specialist

Infrastructure Division

DATE:	April 15, 2021

RE:	Docket No. 50943 – Application of Quadvest, L.P. to Amend its Certificates of Convenience and Necessity in Harris County

- Application

On June 16, 2020, Quadvest, L.P. (Quadvest) filed with the Public Utility Commission of Texas (Commission) an application to amend its water certificate of convenience and necessity (CCN) No. 11612 and sewer CCN No. 20952 in Harris County, Texas under Texas Water Code (TWC) §§ 13.242 to 13.250 and 16 Texas Administrative Code (TAC) §§ 24.225 to 24.237.

Quadvest is seeking to amend its water and sewer CCNs for the service area containing approximately 98 acres and 0 current customers.

- Notice

The deadline to intervene was December 10, 2020; there were no motions to intervene, protests, or opt-out requests received.

- Factors Considered

TWC §§ 13.241 and 13.246, and 16 TAC §§ 24.11(e) and 24.227 require the Commission to consider certain factors when granting or amending a water or sewer CCN. Therefore, the following factors were considered.

3.1.	Consideration of the adequacy of service currently provided to the requested area and system compliance (TWC § 13.246(c)(1); 16 TAC § 24.227(a) and (e)(1)).

Quadvest has several Texas Commission on Environmental Quality (TCEQ) approved Public Water Systems (PWS) and Wastewater systems. The PWS that will be providing service to the requested area is Flagstone Water Plant, PWS Identification No. 1013708.  The wastewater system that will be providing service to the area is the Lone Oak Wastewater Treatment Plant, wastewater permit ID: WQ0015746001. Service is not currently being provided to this area as there are no customers currently in the requested area.

3.2.	Consideration of the need for additional service in the requested area (TWC                       § 13.246(c)(2); 16 TAC § 24.227(e)(2)).

There is a need for service as the landowner has requested water and wastewater service for their development to serve future customers.

3.3.	Consideration of the effect of granting an amendment on the recipient of the certificate or amendment, on the landowners in the area, and on any other retail public utility of the same kind already servicing the proximate area (TWC                       §§ 13.241(b) and 13.246(c)(3), 16 TAC § 24.227(e)(3)).

Quadvest will be the certificated entity for the requested area and be required to provide adequate and continuous service to the requested area.

The landowners in the areas will have a water and sewer provider available when they need to request water and sewer service.

There will be no effect on any retail public utility servicing the proximate area. All retail public utilities in the proximate area were provided notice of the transaction taking place in this application and did not request to intervene.

3.4.	Consideration of the managerial and technical ability of the applicant to provide adequate service (TWC § 13.246(c)(4); 16 TAC § 24.227(a) and (e)(4)).

Quadvest has several TCEQ approved public water systems and wastewater systems.  Quadvest has approved TCEQ plans to build facilities and install the distribution system in the requested area to serve future customers and will have sufficient capacity to serve the area.

3.5	Consideration of the feasibility of obtaining service from an adjacent retail public utility (TWC § 13.246(c)(5); 16 TAC § 24.227(e)(5)).

Quadvest provided a list of entities, including utilities, municipalities, districts, and the county judge, within two miles of the requested area and a copy of a letter requesting service along with their CCN amendment application.  In response to Staff’s Request for Information 2-1, Quadvest confirmed the letter requesting service was provided to each of the providers on the two-mile notice list.  Only two of the utilities on the list provided a response to the letter, Oak Hill Estates Water Co. and Cypress Forest Public Utility District.  Each utility stated they were unable to provide service to the requested area.

Quadvest received a request for service for the requested area from Humble Joint Venture 1, LLC.  Quadvest has approved TCEQ plans to build facilities in the requested area to serve future customers and will have sufficient capacity to serve the area.  Therefore, it is not feasible to obtain service from an adjacent retail public utility.

3.6.	Consideration of the financial ability of the applicant to pay for facilities necessary to provide continuous and adequate service (TWC § 13.246(c)(6); 16 TAC 
§§ 24.227(a) and (e)(6), 24.11(e)).

Fred Bednarski, III, Financial Analyst in the Rate Regulation Division, provided the following:

Quadvest demonstrates the financial and managerial capability needed to provide continuous and adequate service to the area subject to this application.  These conclusions are based on information provided by Quadvest before the date of this memorandum and may not reflect any changes in Quadvest’s status after this review.

An owner or operator of a retail public utility must have the financial resources to operate and manage the utility and to provide continuous and adequate service to the current and requested utility service areas, as established by 16 TAC § 24.11.  Quadvest must demonstrate that it meets one of the five leverage tests under 16 TAC § 24.11(e)(2), as well as the operations test under 16 TAC § 24.11(e)(3).

Leverage test

This analysis is based on financial statements ending December 31, 2019.  These financial statements contain an auditor’s unqualified opinion from Calvetti Ferguson stating that the financial statements present fairly, in all material respects, the financial position of Quadvest as of December 31, 2019.

Based upon the review of Quadvest’s financial statements, the debt service is equal to 1.85 as provided in confidential attachment FB-1.  Because the ratio is greater than 1.25, Quadvest meets the leverage test specified in 16 TAC § 24.11(e)(2)(B).

Operations test

An owner or operator must demonstrate sufficient available cash to cover projected cash shortages for operations and maintenance expense during the first five years of operations, as required by 16 TAC § 24.11(e)(3).

Quadvest’s confidential financial projections for providing water and sewer service to the requested area, submitted in confidential attachment FB-1, indicate cash flow shortages.  Although Quadvest projects cash flow shortages to serve the requested area, Quadvest generates sufficient annual net income and maintains a sufficient cash balance to cover the projected annual shortages, as also indicated in confidential attachment FB-1.  Sufficient cash and net operating income available to cover possible future shortages provide an indication of financial stability and financial and managerial capability. Therefore, Quadvest meets the operations test specified in 16 TAC § 24.11(e)(3).

3.7.	Requirement of the applicant to provide a bond or other financial assurance in a form and amount specified by the Commission to ensure that continuous and adequate utility service is provided (TWC §§ 13.246(d); 16 TAC § 24.227(f)).

Mr. Bednarski provided the following.

Quadvest meets the financial tests.  Therefore, no additional financial assurance is needed.

3.8.	Consideration of the environmental integrity and the effect on the land to be included in the certificated area (TWC § 13.246(c)(7) and (9); and 16 TAC                       § 24.227(e)(7) and (9)).

The environmental integrity of the land will be minimally affected, as the water system is constructed, and the distribution and collection lines are installed, to provide service to the requested area.

3.9.	Consideration of the probable improvement in service or lowering of cost to consumers (TWC § 13.246(c)(8); 16 TAC § 24.227(e)(8)).

This factor is not applicable because there are no homes currently receiving service in the requested service area.  The subdivision will be added to Quadvest’s tariff and be charged Quadvest’s current rates.  Future customers in the area will have access to water and sewer service through Quadvest.

- Recommendation

Based on the mapping review by Tracy Montes, Infrastructure Division, the financial and managerial review by Fred Bednarski, Rate Regulation Division, and my technical and managerial review, I recommend that Quadvest meets all of the statutory requirements of Texas Water Code Chapter 13 and the Commission’s Chapter 24 rules and regulations, is capable of providing continuous and adequate service and approving this application to amend  water CCN No. 11612 and sewer CCN No. 20952 is necessary for the service, accommodation, convenience and safety of the public.

Quadvest consented to the attached maps, tariffs, and certificates on March 4, 2021.

Quadvest’s RFI Responses to Commission Staff’s Second Request for Information to Quadvest, L.P. (Mar. 5, 2021).

Id. at 1.

Id. at 1, 5-6.