SOAH DOCKET NO. 473-20-4709.WS

PUC DOCKET NO. 50944

| APPLICATION OF MONARCH UTILITIES I, L.P. FOR AUTHORITY TO CHANGE RATES | § § § | BEFORE THE STATE OFFICE OF ADMINISTRATIVE HEARINGS |
| --- | --- | --- |

ERRATA TO THE DIRECT TESTIMONY OF HEIDI GRAHAM

INFRASTRUCTURE DIVISION

PUBLIC UTILITY COMMISSION OF TEXAS

DECEMBER 1, 2020

TABLE OF CONTENTS

I.	 PROFESSIONAL QUALIFICATIONS	3

II.	 PURPOSE AND SCOPE OF TESTIMONY	4

III.	SUMMARY OF MONARCH’S REQUEST	6

IV.	DEPRECIATION STUDY AND ASSET SERVICE LIVES	7

V.	PLANT IN SERVICE	9

VI.	TOTAL UTILITY PLANT AND RATE BASE	11

VII.	RECOMMENDATION	14

IIX.	CONCLUSION	14

ATTACHMENTS

Attachment HG-1	List of Previous Testimonies

Attachment HG-2	Resume

Attachment HG-3	Worksheet – Staff’s Depreciation Schedule

Attachment HG-4	Selected TCEQ Correspondence

# I.		PROFESSIONAL QUALIFICATIONS

Q.		Please state your name and business address.

A. 	Heidi Graham, Public Utility Commission of Texas, 1701 N. Congress Avenue, Austin, Texas 78711-3326.

Q.		By whom are you currently employed and in what capacity?

A.	I have been employed by the Public Utility Commission of Texas (Commission) since September 1, 2014. I am a Lead Engineering Specialist in the Engineering Section of the Infrastructure Division.

Q.		What are your principal responsibilities at the Commission?

A.	My responsibilities include reviewing applications to obtain or amend certificates of convenience and necessity (CCN); reviewing applications to obtain or amend rates; providing testimony and participating in settlement negotiations for contested cases; and participating in rulemakings and form development.

Q.		Please state your educational background and professional experience.

A.	I have provided a summary of my educational background and professional regulatory experience in Attachment HG-2 to my direct testimony.

Q.		Are you a registered professional engineer?

A.		No.

Q.	Have you testified as an expert before the Commission or the State Office of Administrative Hearings (SOAH)?

A.	Yes. Attachment HG-1 provides a summary of the dockets in which I have filed direct testimony or memoranda in lieu of testimony.

Q.		On whose behalf are you testifying?

A.		I am testifying on behalf of the Staff of the Public Utility Commission of Texas (Staff).

# II.		PURPOSE AND SCOPE OF TESTIMONY

Q. 		What is the purpose of your testimony in this proceeding?

A. 	The purpose of my testimony is to present recommendations for the invested capital and depreciation associated with the provision of water and sewer service by Monarch Utilities I, L.P. (Monarch).

Q.		What is the scope of your review?

A.	I reviewed the rate application filed by Monarch, as well as the pre-filed direct testimonies and discovery responses.

Q.	Which issues contained in the Preliminary Order issued by the Commission does your testimony generally address?

A. 	In my testimony, I will address the following issues identified in the Preliminary Order filed September 24, 2020:

- Issue No. 3. What is the proper legal name of the utility that currently holds certificate of convenience and necessity (CCN) number 12983? In answering this issue, please identify who owns the equipment and facilities used to provide water service under CCN number 12983. Who operates such equipment and facilities?

- Issue No. 5. What is the proper legal name of the utility that currently holds CCN number 20899? In answering this issue, please identify who owns the equipment and facilities used to provide sewer service under CCN number 20899. Who operates such equipment and facilities?

- Issue No. 19. What is the reasonable and necessary depreciation expense?

- For each class of property, what are the proper and adequate depreciation rates and methods of depreciation, including service lives and salvage values?

- Issue No. 32. What are the reasonable and necessary components of the utility's rate base in accordance with 16 TAC § 24.41(c)?

- Issue No. 34. What is the original cost of the property used and useful in providing service to the public at the time the property was dedicated to public use under TWC § 13.185(b) and 16 TAC § 24.41(c)(2)(A) and (B)?

- Issue No. 35. What is the amount, if any, of accumulated depreciation on such property and the resulting net cost?

- Issue No. 37. Is the utility seeking inclusion of construction work in progress? If so, what is the amount sought and for what facilities? Additionally, has the utility proven that the inclusion is necessary to the financial integrity of the utility and that major projects under construction have been efficiently and prudently planned and managed as required by 16 TAC § 24.41(c)(4)?

Q.  	If you do not address an issue or position in your testimony, should that be interpreted as Staff supporting Monarch’s position on that issue?

A. 	No.

Q. 	Have you prepared any attachments to your testimony?

A. 	I have prepared Attachment HG-1, a summary of dockets in which I have previously provided direct testimony or memoranda in lieu of testimony; Attachment HG-2, a summary of my educational background and professional regulatory experience; Attachment HG-3, Staff’s Depreciation Schedule; and HG-4, a collection of correspondence from the Texas Commission on Environmental Quality (TCEQ) regarding construction on several of Monarch’s public water systems (PWS).

Q. 	Were these attachments prepared by you or under your supervision?

A. 	Yes.

# III.	SUMMARY OF MONARCH’S REQUEST

Q.	What is the proper legal name of the utility that currently holds CCN number 12983? Who owns the equipment and facilities used to provide water service under CCN number 12983? Who operates such equipment and facilities?

A.	According to the Secretary of the State of Texas’ website, SOS Direct, Monarch Utilities I LP is the legal name of the utility that currently holds water CCN number 12983. Monarch owns and operates the equipment and facilities used to provide water service under this CCN.

Q.	What is the proper legal name of the utility that currently holds CCN number 20899? Who owns the equipment and facilities used to provide sewer service under CCN number 20899? Who operates such equipment and facilities?

A.	According to the Secretary of the State of Texas’ website, SOS Direct, Monarch Utilities I LP is the legal name of the utility that currently holds sewer CCN number 20899. Monarch owns and operates the equipment and facilities used to provide service under this CCN.

Q.		What test year did you consider when preparing your testimony?

A.		January 1, 2019 through December 31, 2019.

Q. 		What is Monarch requesting through this application?

A. 	Monarch requested the following in terms of its proposed rate base.

| Table 3 - Rate Base Summary |  |
| --- | --- |
| Component | Amount |
| Gross Plant in Service | $180,936,554 |
| Accumulated Depreciation | ($69,359,714) |
| CWIP | $1,486,395 |
| Parent Company Rate Base | $1,575,128 |
| ADFIT (including excess ADFIT) | ($1,239,342) |
| Materials & Supplies | $383,585 |
| Prepayments | $236,422 |
| Working Cash | $1,441,199 |
| Other Rate Base Items | ($10,277,901) |
| Total Rate Base | $105,182,326 |

# IV.	DEPRECIATION STUDY AND ASSET SERVICE LIVES

Q.	What materials have you relied upon in evaluating and making recommendations related to Monarch’s proposed depreciation?

A.	I relied primarily on my Attachment HG-3, which contains Staff’s Depreciation Schedule that I built based on the Detailed Computation of Annual Current and Proposed Computation of Annual Depreciation Expense prepared by Monarch witness Dane Watson and included in the application as a PDF file at Attachment DAW-2. I converted the PDF file to Microsoft Excel spreadsheet and used it as a basis to build an itemized straight-line depreciation schedule that includes each asset’s original cost (plant), current service life, current annual depreciation expense, accumulated depreciation, and net plant.

Q.		What observations do you have about Mr. Watson’s Appendix B?

A.	Appendix B included the computation of the annual depreciation expense for each asset, using both the current and proposed service lives based upon Mr. Watson’s Monarch Depreciation Rate Study, included with the application at Attachment DAW-2. While the current age and remaining life of each asset was included in his spreadsheets, Mr. Watson did not consider the current age or remaining life of each asset when calculating his current and proposed depreciation expenses. Instead, it appears that Mr. Watson proposes to calculate depreciation using the whole life method of depreciation—as opposed to the remaining life method—as he used the original cost of each asset at the time it was placed into service when calculating both the current depreciation expenses and proposed depreciation expenses based on the newly-proposed service lives.

Q.	In creating the Staff Depreciation Schedule at Attachment HG-3, what adjustments did you make to Mr. Watson’s Appendix B and why?

A.	I disagree with the use of the whole life method that Mr. Watson employed. In my opinion, the correct method to calculate the annual depreciation expense is the remaining life method, which calculates the annual depreciation expense using the net plant balance of each asset at the time the service life is changed. In building Staff’s Depreciation Schedule, I calculated the accumulated depreciation for each asset using its age and the current annual depreciation expense. I then used the original cost (plant) and accumulated depreciation for each asset to calculate the net plant.

Q.	What is the result of not using the remaining life method you have described when changing the service life of an aged asset, as Mr. Watson’s proposed in Appendix B?

A.	The result of Mr. Watson’s method may be the over-recovery of an amount that has already been paid through the customers’ rates. For example, in Appendix B, Mr. Watson proposed to change the service life of a booster pump for Well #1/PS #1 with a vintage of 2005 from 10 years to 30 years. However, because the current age of the plant was 14.5 years, Mr. Watson’s proposed 30-year service life would result in an over-accrual of depreciation. Accordingly, it appears that Mr. Watson’s calculations would allow Monarch to recover depreciation that the customers have already paid for through their rates.

Q. 	What is the reasonable and necessary depreciation expense? For each class of property, what are the proper and adequate depreciation rates and methods of depreciation, including service lives and salvage values?

A.	My recommended annual depreciation expense is shown in the table below. See Attachment HG-3 for Staff’s depreciation schedule and calculations.

The service lives I recommend are the current lives included in Mr. Watson’s Appendix B.

# V.	PLANT IN SERVICE

Q.	What amount does Monarch claim as the original cost of the property that is used or useful in providing service to the public at the time the property was dedicated to public use under Texas Water Code (TWC) § 13.185(b) and 16 Texas Administrative Code (TAC) § 24.41(c)(2)(A) and (B)?

A.	Monarch claims a gross plant in service amount of $180,936,554. Monarch witness Brian Bahr sponsors a summary of the gross plant in service in his Table 2—Gross Plant in Service Support, which has been replicated in part below.

Mr. Bahr claims that these amounts are supported by prior Commission rate base determinations; invoices, contracts, and work orders for projects with investment greater than $50,000; and a trended Replacement Cost New Less Depreciation (RCNLD) study. However, there was no trending study provided with the application to support the $369,269 amount claimed for “Trended RCNLD Studies”. Further, the itemized trended amounts for each asset cannot be identified in Mr. Watson’s Attachment DAW-2. Therefore, this amount is not justified.

Additionally, Mr. Bahr sponsors the Schedule II-A-3 Balance Sheet, which also provides amounts related to the utility plant. Consistent with Table 2—Gross Plant in Service Support, shown above, the Schedule II-A-3 Balance Sheet claims $180,936,554 as the adjusted book value for gross utility plant in service as of December 31, 2019.

The Schedule II-A-3 Balance Sheet also contains a breakdown of amounts considered in calculating the total utility plant. Specifically, it shows that Monarch proposes to claim amounts of $1,575,128 for net parent company assets, $6,908,718 for Construction Work In Progress (CWIP), and $871,841 for completed construction not classified, resulting in a total proposed utility plant amount of $ 190,292,243.

Q.	What adjustments do you recommend be made to Monarch’s proposed original cost of its gross plant in service under TWC § 13.185(b) and 16 TAC § 24.41(c)(2)(A) and (B)?

A.	I recommend that the proposed amount of $369,269 attributed to the Trended RCNLD Studies be disallowed as it has not been supported in the application.

Q.	What amounts do you recommend for original cost for the shared, sewer and water categories of plant in service, and how will these be used by Staff?

A.	The following table includes my recommendation for original cost of plant in service for each category. Staff witness Maxine Gilford will use these numbers in the calculation of rate base.

|  | Plant |
| --- | --- |
| Shared | $7,963,825.46 |
| Sewer | $23,087,863.83 |
| Water | $149,900,389.36 |
| All | $180,952,078.65 |

Q. 	What is the amount, if any, of accumulated depreciation on such property and the resulting net cost?

A.	The following table includes my recommendation for accumulated depreciation for each category. See Attachment HG-3 for Staff’s depreciation schedule and calculations.

|  | Accumulated Depreciation |
| --- | --- |
| Shared | $2,242,693.39 $3,544,489.09 |
| Sewer | $7,862,528.72 $9,033,575.73 |
| Water | $49,353,400.84 $59,464,845.59 |
| All | $59,458,622.95 $72,042,910.41 |

# VI.	TOTAL UTILITY PLANT AND RATE BASE

Q. 	You mentioned that Monarch included CWIP expenses in calculating its proposed total utility plant amount. What amount of CWIP expenses seek to include in its rate base and for which facilities?

A.	Though Monarch claims a total CWIP balance of $6,908,718 for utility plant assets, Monarch requests the inclusion of only $1,486,395 of CWIP expenses in its proposed rate base. The $1,486,395 of CWIP expenses included in the proposed rate base match the CWIP balance at the end of the test year of December 31, 2019. In Brian Bahr’s testimony, he claims that the CWIP balance included in Monarch’s requested rate base relates to major projects that have already been completed by the utility and are in use and providing service to customers. However, neither Mr. Bahr nor any other Monarch witness has identified the particular assets that were included in the CWIP balance as of December 31, 2019.

Q. 		Do you agree with the inclusion of the proposed CWIP?

A.	No. The inclusion of CWIP balances in a rate base is addressed under 16 Texas Administrative Code (TAC) § 24.41(c)(4), which states:

The inclusion of CWIP is an exceptional form of relief. Under ordinary circumstances, the rate base consists only of those items that are used and useful in providing service to the public. Under exceptional circumstances, the commission may include CWIP in rate base to the extent that the utility has proven that:

(A)	the inclusion is necessary to the financial integrity of the utility; and

(B)	major projects under construction have been efficiently and prudently planned and managed.

Monarch has not provided adequate support to show that the inclusion of CWIP is necessary to the financial integrity of the utility and that the major projects under construction have been efficiently and prudently planned and managed. Specifically, there was no testimony to demonstrate any exceptional circumstance that would make the inclusion of CWIP necessary.

Additionally, though Brian Bahr references the testimonies of Monarch witnesses Terry Benton and Tim Williford, who provide a description of projects in which Monarch has made investments greater than $50,000 since 2015, it is not clear which particular assets are included in the proposed CWIP expenses or whether those assets are in service. I reviewed the Texas Commission on Environmental Quality’s (TCEQ) online records for the public water systems listed as subject to the major capital investments included in Monarch’s proposed CWIP expenses. My review of TCEQ records revealed that, among the identified public water systems (PWS), certain public water supply wells that TCEQ approved for construction in 2018 and 2019, have not yet been approved for use to date in  2020. Specifically, there is new construction not yet approved for use at Monarch’s Comanche Harbor & Port O’Call (PWS ID No. 1110022) and Silver Saddle Acres (PWS ID No. 2200299) systems.

Therefore, these wells cannot be considered to be used or useful in providing service at this time. My review of TCEQ records also revealed other types of TCEQ-approved construction on projects that have not been verified to be in use or useful at this time, including construction on a ground storage tank in the Holiday Villages of Fork, PWS ID No. 2500058, that received TCEQ approval in 2019 but that I have not been able to verify was actually constructed.

Monarch has not identified in their testimony which specific assets are proposed as CWIP expenses or whether those assets are completed. Therefore, Monarch has not shown how major projects under construction have been efficiently and prudently planned and managed as required under 16 TAC § 24.41(c)(4) and has not met the requirements necessary to include CWIP expenses in the rate base. Monarch’s request to include the $1,486,395 CWIP balance at the end of the test year of December 31, 2019 in its rate base should be denied.

Q. 	What thoughts do you have on Monarch’s proposal to include amounts for “net parent company assets” and “completed construction not classified” in its total utility plant?

A. 			The proposed amounts were not supported by Monarch and should be disallowed.

Q.	What adjustments do you recommend be made to Monarch’s proposed total utility plant and rate base?

A.	I recommend that the proposed amounts of $1,575,128 in net parent company assets, $6,908,718 of CWIP expenses, and $871,841 of costs attributed to completed construction not classified be disallowed from inclusion in Monarch’s total utility plant rate base as they it have has not been supported by testimony. I also recommend that the amount of $1,486,395 in CWIP expenses be disallowed from the proposed rate base as they are unsupported.

# VII.	RECOMMENDATION

Q. 	What are the reasonable and necessary components of the utility's rate base in accordance with 16 TAC § 24.41(c)? Please summarize your recommendations regarding plant in service, depreciation, and net plant.

A. 	In the tables below, I have summarized my recommended amounts for specific components of rate base. See Attachment HG-3 for Staff’s Depreciation Schedule.

|  | Plant | Current Annual Depr. Expense | Accumulated Depreciation | Net Plant |
| --- | --- | --- | --- | --- |
| Shared | $7,963,825.46 | $731,890.60 | $2,242,693.39 $3,544,489.09 | $5,721,132.07 $4,419,336.37 |
| Sewer | $23,087,863.83 | $613,341.82 | $7,862,528.72 $9,033,575.73 | $15,225,335.11 $14,054,288.10 |
| Water | $149,900,389.36 | $3,958,281.21 | $49,353,400.84 $59,464,845.59 | $100,546,988.52 $90,435,543.76 |
| All | $180,952,078.65 | $5,303,513.63 | $59,458,622.95 $72,042,910.41 | $121,493,455.70 $108,909,168.24 |

Q.		Do you have any other recommendations?

A.	Yes. I recommend that the Commission order Monarch to calculate depreciation in their next base rate case using the straight-line remaining life method instead of the whole life method, based on my testimony in Section IV about these methods.

# IIX.	CONCLUSION

Q. 		Does this conclude your direct testimony?

A. 		Yes.

Heidi Graham

Public Utility Commission of Texas (PUCT)

List of Previous Testimonies

Testimonies for TCEQ Staff

| Docket | Company | Application Type |
| --- | --- | --- |
| SOAH 582-08-4354 | James Maib dba H2O Systems Plus | Rate application - Water |
| SOAH 582-08-2863 | Lower Colorado River Authority | Rate Appeal - Water |
| SOAH 582-08-4353 | Interim-La Ventana | Sale, Transfer, Merger - Water |
| SOAH 582-09-0660 | North San Saba WSC | Rate Appeal - Water |
| SOAH 582-09-0592 | City of Nixon | CCN Amendment - Water |
| SOAH 582-10-3422 | Denton Co. WCID No. 1 | Rate Appeal - Water |
| SOAH 582-10-5999 | City of Kerrville | CCN Amendment - Water |
| SOAH 582-13-4616 | HHJ dba Decker Utilities | Rate Application - Water and Sewer |
| SOAH 582-13-4616 | M.E.N. WSC | Cost of Service Appeal - Water |

Testimonies for PUCT Staff

| PUC Docket | SOAH Docket | Company | Application Type |
| --- | --- | --- | --- |
| 42858 | 473-14-0366 | SJWTX, Inc. | Rate Application - Water |
| 42857 | 473-14-5138 | City of Austin | Wholesale Appeal |
| 42866 | 473-14-5144.WS | West Travis County PUA | Wholesale Appeal |
| 42862 | 473-14-5139 | Town of Woodloch | Rate Appeal – Water and Sewer |
| 42860 | 473-14-5140 | Douglas Utility Company | Rate Settlement – Water and Sewer |
| 42864 | 473-14-5146 | Enchanted Harbor | Rate Application - Water |
| 42919 | 473-15-0372 | Double Diamond | Rate Application - Water |
| 42924 | 473-15-0371 | Crystal Springs Water Co. Inc. | CCN Amendment - Water |
| 42942 | 473-15-0623.WS | Castle Water, Inc. | Rate Application - Water |
| 43554 | 473-15-1230.WS | Mansions of Turkey Creek | Rate Appeal – Water and Sewer |
| 44046 | 473-15-4390.WS | Laguna Vista/Laguna Tres | Sale Transfer Merger |
| 44657 | 473-16-0927.WS | Interim-La Ventana | Sale Transfer Merger |
| 43076 | 473-16-2094.WS | Consumers Water, Inc. | Rate Application - Water |
| 45570 | 473-16-2873.WS | Monarch Utilities I, LP | Rate Application – Water and Sewer |
| 46256 | 473-17-1641.WS | Liberty Utilities | Rate Application –Sewer |
| 46662 | 473-17-4964.WS | North Texas MWD | Wholesale Appeal |
| 47814 | 473-18-1344.WS | City of Forney | Wholesale Appeal |

| Heidi Graham 1701 N. Congress Ave. PO Box 13326 Austin, Texas 78711-3326 512-936-7139 heidi.graham@puc.texas.gov | Work Experience |
| --- | --- |
|  | Program Specialist VII, Lead Engineering Specialist 4/2020 – Present, Public Utility Commission of Texas, Austin, Texas Review applications to obtain or amend certificates of convenience and necessity (CCN); review applications to increase rates; provide testimony for contested cases, participating in negotiating settlements for those cases; and participate in rulemakings and application and form development. Program Specialist VII, Director of the Water Utility Engineering Section 5/2016 – 4/2020, Public Utility Commission of Texas, Austin, Texas Lead a team of experts who review applications to obtain or amend certificates of convenience and necessity (CCN); review applications to increase rates; provide testimony for contested cases and participating in negotiating settlements for those cases; and participate in rulemakings and application and form development. Engineering Specialist V 9/2014 – 5/2016, Public Utility Commission, Austin, Texas Process Convenience and Necessity (CCN) applications. Perform depreciation studies, quality of service evaluations, design rates for rate applications and testify in hearings. Engineering Specialist V 12/2006 – 8/2014, Texas Commission on Environmental Quality, Austin, Texas Review plans, specifications and engineering reports for new or modified public water systems to ensure compliance with Federal and State standards. Process Convenience and Necessity (CCN) applications. Perform depreciation studies, quality of service evaluations, design rates for rate applications and testify in hearings. |
|  | Education |
|  | 8/1983 - 5/1988, University of Missouri, Rolla, Missouri Bachelor's Degree in Mechanical Engineering |

Application at 000082, Direct Testimony of Brian D. Bahr at 14 (July 15, 2020) (Bahr Direct).

Application at 000721, Direct Testimony of Dane Watson, Attachment DAW-2 at Appendix B (July 15, 2020) (Appendix B).

Application at 000689 – 000721, Direct Testimony of Dane Watson, Attachment DAW-2 (July 15, 2020) (Monarch Depreciation Rate Study).

Application at 000721, Direct Testimony of Dane Watson, Attachment DAW-2 at Appendix B, Line 6440 (July 15, 2020) (Appendix B).

Application at 00083, Bahr Direct at 15.

Direct Testimony of George Freitag at 7-8 (Freitag Direct).

Application at 000848, Bahr Direct, Schedule II-A-3 Balance Sheet (Balance Sheet).

Id.

Id.

Id.; Application at 000082, Bahr Direct at 14.

See Application at 001233, WP/II-B-2.

Application at 000084, Bahr Direct at 16.

See Application at 000083, Bahr Direct at 15; Application at 000475 – 000477, Direct Testimony of Terry Benton at 8-10 (July 15, 2020) (Benton Direct); Application at 000501-000509, Direct Testimony of Timothy J. Williford at 11-19 (July 15, 2020) (Williford Direct).

See Application at 000475 – 000477, Benton Direct at 8-10.

See, e.g., Attachment HG-4.

Id.

Id.

Application at 000083, Bahr Direct at 15.