PUC Interoffice Memorandum

To:	Kourtnee Jinks, Attorney

Legal Division

From:		Patricia Garcia, Senior Engineering Specialist

Infrastructure Division

Date:  	July 20, 2020

Subject:	Docket No. 50960, Application of Nerro Supply, LLC and Undine Texas, LLC for Sale, Transfer of Facilities and Certificate Rights in Chambers, Harris and Liberty Counties

On June 19, 2020, Undine Texas, LLC (Undine or Purchaser) and Nerro Supply, LLC  (Nerro or Seller) (collectively, Applicants) filed an application for Sale, Transfer, or Merger (STM) of facilities and certificate rights in Chambers, Harris, and Liberty Counties, Texas, under Texas Water Code  (TWC) § 13.301 and 16 Texas Administrative Code (TAC) § 24.239. Additionally, Undine is seeking to add additional area and decertify a portion of H C M U D, Inc. (H C M U D) water Certificate of Convenience and Necessity (CCN) No. 11952 in Chambers, Harris, and Liberty Counties, Texas pursuant to TWC §§ 13.242 to 13.250 and the 16 TAC §§ 24.225 to 24.237.

Specifically, Undine, CCN No. 13260, seeks approval to acquire facilities and to transfer a portion of Nerro’s water CCN No. 12252. Undine is also requesting adjustments to the CCN area to decertify a portion of the area currently certificated to Nerro’s water CCN No. 12252 that is served by another entity and adjust borders to properly cover the customers served in the areas. The area to be transferred from Nerro is approximately 384 acres; 32 of these acres are incorrectly reflected on Nerro’s current CCN map and need to be moved to the correct location. An additional 9 acres currently certificated to Nerro will be decertified. The area to be amended/added to Undine’s CCN is approximately 328 acres. This includes the 32 acres to be transferred from Nerro and moved to the correct location and approximately 5 acres currently certificated to H C M U D that will be decertified.

Staff has reviewed the information provided by the Applicants and recommends the application be deemed administratively incomplete and not accepted for filing due to the deficiencies detailed below:

Application Content:

- Staff recommends that the Applicants provide the following:

  - Pages 2 and 3 of the application, revise to indicate that only a portion of Nerro’s CCN is being transferred in this application.

  - Page 4, identify the number of customers in the area to be transferred with deposits held by Nerro

  - Pages 9 and 10 of the application, answer questions 22 to 28 for each of the water systems being transferred in this application with responses for each of the questions asked.

  - A detailed listing of each inventory asset for each system to be transferred including:

- Date in service,

- Original in-service amount, and

- Accumulated depreciation.

  - Proof that Nerro’s Annual Report has been filed with the Commission.

  - Legal Status:

    - A copy of Undine’s Certification of Account Status from the Texas Comptroller.

    - Undine’s Corporation’s Charter number for Texas.

  - Active Violations – Proof that all violations for Undine’s public water systems in the Texas Commission on Environmental Quality’s databases have been returned to compliance or how they are being addressed by the Applicants.

- Based on the mapping documentation submitted, Undine is seeking to decertify a portion of H CM U D’s water CCN No. 11952. Staff recommends that Undine provide an agreement or other proof that H C M U D has consented to the decertification of this area. If Undine has not obtained H C M U D’s consent, please provide information per 16 TAC § 24.245(d to demonstrate why the area should be decertified from the current CCN holder.

- The requested area overlaps with a portion of the City of Old Win-free. Staff recommends that Undine provide an agreement or other proof that the City has consented to this overlap or adjust the mapping to remove this overlap.