PUC Interoffice Memorandum

To:	Merritt Lander, Attorney

Legal Division

From:		Patricia Garcia, Senior Engineering Specialist

Infrastructure Division

Date: 	July 20, 2020

Subject:	Docket No. 50961, Application of Nerro Supply, LLC and Undine Texas Environmental, LLC for Sale, Transfer or Merger of Facilities and Certificate Rights in Chambers and Harris Counties

On June 19, 2020, Undine Texas Environmental, LLC (Undine or Purchaser) and Nerro Supply, LLC (Nerro or Seller) (collectively, Applicants) filed an application for Sale, Transfer, or Merger (STM) of facilities and certificate rights in Chambers and Harris Counties, Texas, under Texas Water Code (TWC) § 13.301 and 16 Texas Administrative Code (TAC) § 24.239. Additionally, Undine is seeking to add additional area and decertify a portion of Gulf Coast Waste Disposal Authority’s sewer certificate of convenience and necessity (CCN) No. 20465 in Chambers and Harris Counties, Texas pursuant to TWC §§ 13.242 to 13.250 and the 16 TAC §§ 24.225 to 24.237.

Specifically, Undine, sewer CCN No. 20816, seeks approval to acquire facilities and to transfer all of Nerro’s sewer CCN No. 20366, cancel CCN No. 20366, and decertify a portion of Gulf Coast Waste Disposal Authority’s (Gulf Coast) sewer CCN No. 20465. Undine is also requesting adjustments to the CCN area to adjust borders to properly cover the customers served in the areas. The total area to be transferred from Nerro is approximately 111 acres; 32 of these acres are incorrectly reflected on Nerro’s current sewer CCN map and need to be moved to the correct location. The total area to be amended/added to Undine’s CCN is approximately 265 acres. This includes the 32 acres to be transferred from Nerro and moved to the correct location and approximately 198 acres currently certificated to Gulf Coast that will be decertified.

Staff has reviewed the information provided by the Applicants and recommends the application be deemed administratively incomplete and not accepted for filing due to the deficiencies detailed below:

Application Content:

- Staff recommends that the Applicants provide the following:

  - Pages 9 and 10 of the application for each of the wastewater facilities being transferred in this application with responses for each of the questions asked. Additional pages were provided; however, those pages appear to only include information about one of the systems, and not all of the questions were answered on these pages.

  - From Nerro Supply, LLC’s records, a detailed inventory listing each of the assets for each system to be transferred including the following:

- Date placed in service,

- Original cost each asset, and

- Accumulated depreciation associated with each asset.

  - Proof that Nerro’s Annual Report has been filed with the Commission.

- Based on the mapping documentation submitted, Undine is seeking to decertify a portion of Gulf Coast’s sewer CCN No. 20465.  Staff recommends that Undine provide an agreement or other proof that Gulf Coast has consented to the decertification of this area. If Undine has not obtained Gulf Coast’s consent, please provide information per 16 TAC § 24.245(d) to demonstrate why the area should be decertified from the current CCN holder.

- A portion of the requested area overlaps a portion of the City of Old Win-free. Staff recommends that Undine provide an agreement or other proof that the City has consented to this overlap or adjust the mapping to remove this overlap.