PUC Interoffice Memorandum

To:	Daniel Moore, Attorney

Legal Division

From:		Alicia Maloy, Senior Infrastructure Analyst

Infrastructure Division

Date:  	July 20, 2020

Subject:	Docket No. 50962, Application of Nerro Supply Investors, LLC and Undine Texas, LLC for Sale, Transfer or Merger of Facilities and Certificate Rights in Montgomery County

On June 19, 2020, Undine Texas, LLC (Undine or Purchaser) and Nerro Supply Investors, LLC  (Nerro or Seller) (collectively, Applicants) filed an application for a Sale, Transfer, or Merger (STM) of facilities and certificate rights in Montgomery County, Texas, under Texas Water Code Ann. (TWC) § 13.301 and 16 Texas Administrative Code (TAC) § 24.239.

Specifically, Undine, Certificate of Convenience and Necessity (CCN) No. 13260, seeks approval to acquire facilities and to transfer all of Nerro’s water CCN No. 10336. The requested area includes approximately 282 acres and 240 connections.

Staff has reviewed the information provided by the Applicants and recommends the application be deemed administratively incomplete and not accepted for filing due to the deficiencies detailed below:

Application Content:

Staff recommends that Nerro provide the following:

- Proof that Nerro’s Annual Report has been filed with the Commission.

- From Nerro Supply, LLC’s records, a detailed inventory listing each asset for each system to be transferred including the following:

- Date placed in service,

- Original cost of each asset, and

- Accumulated depreciation associated with each asset.

- Legal Status:

  - A copy of Undine’s Certification of Account Status from the Texas Comptroller.

  - Undine’s Corporation Charter number for Texas.

- Active Violations – Proof all violations listed in the Texas Commission on Environmental Quality’s databases have been returned to compliance or how they are being addressed by the Applicants.

  - Groundwater rule for Nerro.

  - All violations for Undine’s public water systems.

Note: Any confidential items should be submitted as confidential filings with the PUCT.  The instructions for filing confidential documents can be found on our website at: (http://www.puc.texas.gov/industry/filings/FilingProceed.aspx).