PUC Interoffice Memorandum

To:	Rashmin Asher, Attorney

Legal Division

From:		Jolie Mathis, Utility Engineering Specialist

Infrastructure Division

Date:  	July 21, 2020

Subject:	Docket No. 50963, Application of the City of McGregor to Amend its Certificates of Convenience and Necessity and for the Dual Certification with the City of Waco in McClennan County

On June 22, 2020, City of McGregor filed with the Public Utility Commission of Texas (Commission) an application to amend its water Certificate of Convenience and Necessity (CCN) Nos. 10033 and 20009 and Obtain Dual Certification with the City of Waco CCN Nos. 10039 and 20010 in McClennan County, Texas pursuant to Texas Water Code (TWC) §§ 13.242 to 13.250 and the 16 Texas Administrative Code (TAC) §§ 24.225 to 24.237.

Staff has reviewed the information provided by the Applicant and recommends the application be deemed administratively incomplete and not accepted for filing due to the deficiencies detailed below:

Mapping Content:

Maps and digital mapping data submitted with Item 3 on 7/10/2020 are deficient.

According to the digital mapping data filed the requested water area includes approximately 18 acres, whereas the requested sewer area includes approximately 22 acres, not 23 acres for both their requested water and sewer areas.   According to the application, it appears the City of McGregor does not intend on overlapping Central Bosque WSC’s CCN No. 10032.  However, the maps and digital mapping data provides evidence that the requested water area overlaps a portion of Central Bosque WSC’s CCN.  The digital mapping data, general location and detailed maps for the requested water area must be revised to remove the overlap with Central Bosque WSC’s CCN.  Please contact PUC’s Mapping Staff, Tracy Montes, at tracy.montes@puc.texas.gov for further mapping guidance on how to resolve the mapping deficiencies.

Applicant must submit the following items to resolve the mapping deficiencies:

- Revised general location maps identifying only the requested area, in reference to the nearest county boundary, city, or town.

- Revised detailed maps identifying only the requested area, in reference to verifiable man-made and natural landmarks, such as roads, rivers, and railroads.

- Revised digital mapping data for the requested areas, provided as a single polygon record, in shapefile (SHP) format, georeferenced in either NAD83 Texas Statewide Mapping System (Meters) or NAD83 Texas State Plane Coordinate System (US Feet).

- State the approximate total acreage for the revised requested water area as provided in the revised digital mapping data.

- Confirm the approximate total acreage is 22 acres for the requested sewer area, in which they are requesting dual certification with the City of Waco’s CCN.

Note: Any confidential items should be submitted as confidential filings with the PUC.  The instructions for filing confidential documents can be found on our website at: (http://www.puc.texas.gov/industry/filings/FilingProceed.aspx).