PUC Interoffice Memorandum

To:	Creighton McMurray, Attorney

Legal Division

From:		Jolie Mathis, Utility Engineering Specialist

Infrastructure Division

Date:  	July 29, 2020

Subject:	Docket No. 50969 Application of James Nelson dba WATERCO to Obtain a Water Certificate of Convenience and Necessity in Montague County

On June 23, 2020, James Nelson dba Waterco (Applicant) filed with the Public Utility Commission of Texas (Commission) an application to obtain a water Certificate of Convenience and Necessity (CCN) in Montague County, Texas pursuant to Texas Water Code (TWC) §§ 13.242 to 13.250 and 16 Texas Administrative Code (TAC) §§ 24.225 to 24.237.

Staff has reviewed the information provided by the Applicant and recommends the application be deemed administratively incomplete and not accepted for filing due to the deficiencies detailed below:

Application Content:

TCEQ Public Water System (PWS) Information

Please submit evidence of compliance with TCEQ for PWS ID No. 1690028, including compliance correspondence such as TCEQ compliance investigation letters and TCEQ letter(s) regarding the resolution of any violations or compliance issues.

Mapping Information:

The maps filed in this docket are not sufficient to meet the mapping requirements.   A printed map using Google Maps or similar software is not adequate to meet the mapping requirements.  All maps must be filed in color, at full size and scale and cannot be hand drawn. To meet the mapping requirements, the Applicant must file digital mapping data, general location and detailed maps accurately marking the outer boundary of the requested area. Staff further recommends that the Applicant obtain additional mapping guidance from the Commission’s mapping staff, Ms. Tracy Montes, by emailing tracy.montes@puc.texas.gov to resolve the mapping deficiencies.

Staff recommends that the Applicant submit the following items to resolve the mapping deficiencies:

- A general location map identifying only the requested area, in reference to the nearest county boundary, city, or town.

- A detailed map identifying only the requested area, in reference to verifiable man-made and natural landmarks, such as roads, rivers, and railroads.

- Digital mapping data for the requested area, as a single polygon record, in shapefile (SHP) format, georeferenced in either NAD83 Texas Statewide Mapping System (Meters) or NAD83 Texas State Plane Coordinate System (US Feet).

Note: Any confidential items should be submitted as confidential filings with the Commission.  The instructions for filing confidential documents can be found on our website at: (http://www.puc.texas.gov/industry/filings/FilingProceed.aspx).