PUC Interoffice Memorandum

To:	Daniel Moore, Attorney

Legal Division

From:		Jolie Mathis, Utility Engineering Specialist

Infrastructure Division

Date:  	October 21, 2020

Subject:	Docket No. 51009, Application of Quadvest, L.P. to Amend its Certificates of Convenience and Necessity in Harris County

On May 20, 2020, Quadvest, L.P. (Quadvest) filed with the Public Utility Commission of Texas (Commission) an application to amend its water Certificate of Convenience and Necessity (CCN) No. 11612 and sewer CCN No. 20952 in Harris County, Texas pursuant to Texas Water Code (TWC) §§ 13.242 to 13.250 and 16 Texas Administrative Code (TAC) §§ 24.225 to 24.237.

Staff has reviewed the application and the supplemental information filed on September 15, 2020 and recommends that the application be deemed administratively incomplete and not accepted for filing due to the deficiencies detailed below:

Application Content

TWC § 13.246(c)(4) and 16 TAC § 24.227(e)(4) requires the Commission to consider an applicant’s ability to provide service to the requested area.  Specifically, Quadvest must provide:

- Proof that an application for a new Water Quality permit or amendment has been submitted to TCEQ; and

- A letter or other proof that the City of Houston has consented to certification of area within its extraterritorial jurisdiction.

Note: Any confidential items should be submitted as confidential filings with the PUC.  The instructions for filing confidential documents can be found on our website at: (http://www.puc.texas.gov/industry/filings/FilingProceed.aspx).