TO:		Rustin Tawater, Legal Division

FROM:		David Bautista, Infrastructure Division

DATE:		August 20, 2020

RE:		Docket No. 51023, Application of The City of San Antonio to Amend Its Certificate of Convenience and Necessity (CCN) for the Scenic Loop  138-kV Transmission line in Bexar County.

On July 22, 2020, the City of San Antonio, acting by and through The City Public Service Board (CPS Energy) filed an application to amend its certificate of convenience and necessity (CCN) for the proposed Scenic Loop 138-kV transmission line in Bexar County.  CPS Energy is proposing to design and construct a new substation (the Scenic Loop Substation) and a double-circuit 138-kV transmission line connecting the new Scenic Loop Substation to the electric grid from CPS Energy's existing Ranchtown to Menger Creek 138-kV transmission line. I reviewed the Application for deficiencies and the affidavits of notice for compliance with the notice requirements.

- Application Sufficiency

- I have reviewed the Application including all attachments filed by CPS Energy on July 22, 2020 in this docket for deficiencies.  After reviewing the Application and additional filed information, no material deficiencies were found.  Therefore, I recommend that the Application be deemed sufficient.

II.        Compliance of Notice

- I have reviewed the notices provided to county authorities, neighboring utilities,       municipal authorities, and landowners (Application Attachments 7, 8, and 9) that were filed on July 22, 2020, as well as the affidavit of proof of notice, filed on August 11, 2020.  No material deficiencies were identified.  Therefore, I recommend that such notice be found to comply with the requirements of 16 Texas Administrative Code (TAC) 22.52(a)(2)&(3).

- I have reviewed the notices provided to Texas Parks and Wildlife Department (Application Attachment 12), the Office of Public Utility Council and the Department of Defense (Application Attachment 10) and the affidavit of proof of notice that was filed on August 11, 2020.  No material deficiencies were identified.  Therefore, I recommend that such notice be found to comply with the requirements of 16 TAC 22.52 (a)(1)(E) & (2).

- I have reviewed the published notices included as well as the affidavit of proof of notice by publication, filed on August 11, 2020.  No material deficiencies were identified.  Therefore, I recommend that such notice be found to comply with the requirements of 16 TAC 22.52(a)(1).