## Slide 1: Aqua water status
Rio Ancho ranch

## Slide 3
145
gpm
33,600g
42,000g
8,400g
33,600g
42,000g
8,400g
575
gpm
+/- 57 homes irrigating
3 hours 20 minutes
145
gpm
33,600g
42,000g
8,400g
33,600g
42,000g
8,400g
Aquifer
Aquifer
Pumps @ full
Pumps off
Restricted watering
Full pressure
No pressure
Pumps shut off at ~20%
Numbers are approximate

## Slide 4
145
gpm
33,600g
42,000g
8,400g
33,600g
42,000g
8,400g
575
gpm
>57 homes irrigating
Aquifer
Pumps @ full
Unrestricted watering
Pressure loss
# homes above 57 irrigating
Water pressure (flow rate)
WASTE
Numbers are approximate