TO:		Daniel Moore, Attorney

Legal Division

FROM:	Patricia Garcia, Senior Engineering Specialist

Infrastructure Division

DATE:	April 15, 2021

RE:	Docket No. 51161 – Application of Possum Kingdom Water Supply Corporation to Amend a Certificate of Convenience and Necessity in Palo Pinto County

- Application

Possum Kingdom Water Supply Corporation (PKWSC) filed with the Public Utility Commission of Texas (Commission) an application to amend its water certificate of convenience and necessity (CCN) No. 12890 in Palo Pinto County, Texas under Texas Water Code (TWC) §§ 13.242 to 13.250 and 16 Texas Administrative Code (TAC) §§ 24.225 to 24.237.

PKWSC’s original application requested a total acreage of approximately 1,099 acres with 168 current customers.  PKWSC submitted a revised application page indicating there were no customers in the requested area.  Possum Kingdom provided revised mapping to reduce the size of the requested area to approximately 169 acres and 0 current customers.  The revision to the requested area eliminated areas where PKWSC could not show a need for service.

- Notice

The deadline to intervene was October 26, 2020; there were no motions to intervene, protests, or opt-out requests received.

- Factors Considered

TWC §§ 13.241 and 13.246, and 16 TAC §§ 24.11(e) and 24.227 require the Commission to consider certain factors when granting or amending a water or sewer CCN. Therefore, the following factors were considered.

3.1.	Consideration of the adequacy of service currently provided to the requested area and system compliance (TWC § 13.246(c)(1); 16 TAC § 24.227(a) and (e)(1)).

PKWSC has a Texas Commission on Environmental Quality (TCEQ) approved public water system (PWS) registered as PKWSC, PWS ID No. 1820076.  PKWSC does not have any active violations listed in the TCEQ database.  PKWSC received approval from the TCEQ on September 22, 2020 for the construction of a proposed booster pump station, which is needed to provide service to the requested area.  In addition, the Commission’s complaint records, which go back to 2014, show no complaints against PKWSC.

There are currently no customers in the requested area.

3.2.	Consideration of the need for additional service in the requested area (TWC                       § 13.246(c)(2); 16 TAC § 24.227(e)(2)).

There is a need for service as there is a request for service from a developer for aa residential subdivision that will be located in the requested area.

3.3.	Consideration of the effect of granting an amendment on the recipient of the certificate or amendment, on the landowners in the area, and on any other retail public utility of the same kind already servicing the proximate area (TWC                       §§ 13.241(b) and 13.246(c)(3), 16 TAC § 24.227(e)(3)).

PKWSC will be the certificated entity for the requested area and will be required to provide adequate and continuous service to the requested area.

The landowners in the area will have a water provider available when they need to request water service.

There will be no effect on any retail public utility servicing the proximate area. All retail public utilities in the proximate area were provided notice of the CCN amendment requested in this application and did not request to intervene.

3.4.	Consideration of the managerial and technical ability of the applicant to provide adequate service (TWC § 13.246(c)(4); 16 TAC § 24.227(a) and (e)(4)).

PKWSC has a TCEQ approved PWS registered as PKWSC, PWS ID No. 1820076.  PKWSC does not have any active violations listed in the TCEQ database.  PKWSC received approval from the TCEQ on September 22, 2020 for the construction of a proposed booster pump station, which is needed to provide service to the requested area.  In addition, the Commission’s complaint records, which go back to 2014, show no complaints against PKWSC.

3.5	Consideration of the feasibility of obtaining service from an adjacent retail public utility (TWC § 13.246(c)(5); 16 TAC § 24.227(e)(5)).

There are no retail water utilities within a half mile from the outer boundary of the requested area.  PKWSC received a request for service for the requested area from a developer, received approval of plans for the construction of a proposed booster pump station to serve future customers in the requested area, and will have sufficient capacity to serve the area.  Therefore, it is not feasible to obtain service from an adjacent retail public utility.

3.6.	Consideration of the financial ability of the applicant to pay for facilities necessary to provide continuous and adequate service (TWC § 13.246(c)(6); 16 TAC §§ 24.227(a) and (e)(6), 24.11(e)).

Fred Bednarski, III, Financial Analyst in the Rate Regulation Division, provided the following.

An owner or operator of a retail public utility must have the financial resources to operate and manage the utility and to provide continuous and adequate service to the current and requested utility service areas, as established by 16 TAC § 24.11.  PKWSC must demonstrate that it meets one of the five leverage tests under 16 TAC § 24.11(e)(2) as well as the operations test under 16 TAC § 24.11(e)(3).

PKWSC has demonstrated the financial and managerial capability needed to provide continuous and adequate service to the area subject to this application.  These conclusions are based on information provided by PKWSC before the date of this memorandum and may not reflect any changes in PKWSC’s status after this review.

Leverage test

This analysis is based on financial statements ending December 31, 2019.  These financial statements contain an unqualified auditor’s opinion from Snow Garrett Williams stating that the financial statements present fairly, in all material respects, the financial position of PKWSC as of December 31, 2019 and 2018.

PKWSC’s 2019 financial statements report long-term debt of $5,860,490 and equity of $17,782,195.  The debt-to-equity ratio is 0.33.  Because the ratio is less than 1.0, PKWSC meets the leverage test specified in 16 TAC § 24.11(e)(2)(A).

Operations test

An owner or operator must demonstrate sufficient available cash to cover projected cash shortages for operations and maintenance expense during the first five years of operations, as required by 16 TAC § 24.11(e)(3).

PKWSC’s 2019 financial statements include operating income of $1,346,181 excluding depreciation and amortization expenses, cash and cash equivalents of $123,668, and investments of $4,339,575 that indicate PKWSC will have sufficient cash to cover projected shortages.

The developer will pay for facility lines needed to serve the requested area.  PKWSC generates sufficient operating income and maintains sufficient cash reserves to pay for additional required improvements. Sufficient cash and net operating income available to cover possible future shortages provide an indication of financial stability and financial and managerial capability.  Therefore, PKWSC meets the operations test specified in 16 TAC § 24.11(e)(3).

3.7.	Requirement of the applicant to provide a bond or other financial assurance in a form and amount specified by the Commission to ensure that continuous and adequate utility service is provided (TWC § 13.246(d); 16 TAC § 24.227(f)).

Mr. Bednarski provided the following.

PKWSC meets the financial tests. Therefore, no additional financial assurance is needed.

3.8.	Consideration of the environmental integrity and the effect on the land to be included in the certificated area (TWC § 13.246(c)(7) and (9); and 16 TAC                       § 24.227(e)(7) and (9)).

The environmental integrity of the land will be minimally affected as the booster pump station is constructed.

3.9.	Consideration of the probable improvement in service or lowering of cost to consumers (TWC § 13.246(c)(8); 16 TAC § 24.227(e)(8)).

This factor is not applicable because there are no homes currently receiving service in the requested service area.

3.10.	Requirement that the applicant demonstrate that regionalization or consolidation with another retail public utility is not economically feasible when construction of a physically separate water system is required to provide service to the requested area (TWC § 13.241(d)).

Construction of a physically separate water system is not required for PKWSC to serve the requested area.  Therefore, this criterion does not apply.

- Recommendation

Based on the mapping review by Gary Horton, Infrastructure Division, the financial and managerial review by Fred Bednarski, III, Rate Regulation Division, and my technical and managerial review, I recommend that PKWSC meets all of the statutory requirements of Texas Water Code Chapter 13 and the Commission’s Chapter 24 rules and regulations, and is capable of providing continuous and adequate service. I further recommend that approving this application to amend water CCN No. 12890 is necessary for the service, accommodation, convenience and safety of the public.

PKWSC consented to the attached map and certificate on March 26, 2021.

PKWSC’s Supplemented Application at 1–2 (Sept. 14, 2020).

PKWSC’s Amended Application at Attachment A (Jan. 7, 2021).

PKWSC’s Response to Staff’s Second Request for Information at RFIs 2-1 (Nov. 19, 2020).

Id.

Id.