TO:		Daniel Moore, Attorney

Legal Division

FROM:	Alicia Maloy, Senior Infrastructure Analyst

Infrastructure Division

DATE:	January 29, 2021

RE:	Docket No. 51192, Application of Whispering Oaks Water Works and MiBroMa 3 LLC for Sale, Transfer, or Merger of Facilities and Certificate Rights in Gillespie County

On August 19, 2020, MiBroMa 3 LLC (MiBroMa 3) and Whispering Oaks Water Works (Whispering Oaks) (collectively, Applicants) filed an application for the Sale, Transfer, or Merger (STM) of facilities and certificate rights in Gillespie County, Texas, under Texas Water Code (TWC) § 13.301 and 16 Texas Administrative Code (TAC) § 24.239.

Specifically, MiBroMa 3 seeks approval to acquire facilities and to transfer all of the service area under Whispering Oaks’s water Certificate of Convenience and Necessity (CCN) No. 12446 and to retain Whispering Oak’s CCN number. The requested area includes approximately 51 acres and 69 connections.

Based on the mapping review by Gary Horton, Infrastructure Division, the financial and managerial review by Fred Bednarski, Rate Regulation Division, and my technical and managerial review of the additional information filed on August 25, 2020; November 19, 2020; January 20, 2021; and January 25, 2021, I recommend that the application be deemed administratively complete. I further recommend that the Applicants be ordered to do the following:

- Provide notice of the application by first-class mail to the following:

  - Cities, districts, and neighboring retail public utilities providing the same utility service whose corporate boundaries or certificated service area are located within two miles from the outer boundary of the requested area:

- Aqua Texas Inc. (CCN No. 13254);

- Lower Colorado River Authority; and

- Gillespie County WCID 1

  - The county judge of each county that is wholly or partially included in the requested area:

- Gillespie County Judge

  - Each groundwater conservation district that is wholly or partially included in the requested area:

- Hill Country Underground Water Conservation District

  - Each affected customer, and any other affected party within the requested area.

Addresses can be obtained from the Water Utility Database, http://www.puc.texas.gov/watersearch. District information and addresses can be obtained from the Texas Commission on Environmental Quality’s (TCEQ) website, http://www14.tceq.texas.gov/iwud/.

- Provide notice and proof of notice using the attached notice and affidavit form(s).

- Provide a copy of the map(s) deemed sufficient during administrative review delineating the requested area with each individual notice to neighboring utilities, other affected parties, and customers.

- File in the docket copy of notice and the map(s) deemed sufficient during administrative review along with the signed affidavit specifying every person and entity to whom notice was provided.

Staff may determine that additional information is needed to make a final recommendation in this docket.  If additional information is needed, Staff may send requests for information (RFI) to the Applicants.  The Applicants will have 20 days from the receipt of the RFI to respond.