Public Utility Commission of Texas

Memorandum

To:		Megan Chalifoux, Legal Division

From:		David Hoard, Tariff & Rate Analysis, Rate Regulation Division

Date:		November 9, 2020

Re:	Docket No. 51345 – Application of Denton Municipal Electric Utility for Interim Update of Wholesale Transmission Rates

_____________________________________________________________________________________

On October 5, 2020, Denton Municipal Electric Utility (Denton) filed for an interim update of its wholesale transmission rate under the provisions of 16 Tex. Admin. Code (TAC) § 25.192(h). In its application, Denton requested an interim transmission cost of service (TCOS) total revenue requirement of $53,793,059, which represents a $2,062,609 increase over the TCOS approved in its last TCOS filing, which was $51,730,449.

Pursuant to 16 TAC § 25.192(h)(2), an interim update of transmission rates shall be subject to reconciliation at the next complete review of Denton’s TCOS. The Commission will make a final determination of the appropriateness of Denton’s plant additions in that proceeding.

I have reviewed Denton’s request for an interim wholesale transmission rate of $757.85289 per MW, which is derived by dividing the interim TCOS referenced above, $53,793,059, by the 2019 ERCOT Average 4-CP load of 70,980.8724 MW. Based upon the above revenue requirement and 4-CP load, and upon the recommendations of other Staff, I conclude that the requested interim annual wholesale transmission service rate and associated rates for the use of the transmission system in exporting power were correctly calculated.

In addition, I recommend that Denton be required to file a “clean” copy of its Wholesale Transmission Service Tariff consistent with the Commission's Final Order in this docket, and that this Wholesale Transmission Service Tariff be stamped “Approved” by the Commission's Central Records Division and retained for future reference.

Application at Schedule A (Oct. 5, 2020).

Application at 4 (Oct. 5, 2020).

Commission Staff’s Application to Set 2020 Wholesale Transmission Service Charges for the Electric Reliability Council of Texas, Docket No. 50333, Commission Staff`s Final Transmission Charge Matrix, Attachment A (Mar. 10, 2020).