TO:		Arnett Caviel, Attorney

Legal Division

FROM:	Jolie Mathis, Utility Engineering Specialist

Infrastructure Division

DATE:		March 19, 2021

RE:	Docket No. 51382 - Application of Dogwood Estates Water Company and Lakeshore Utility Company for Sale, Transfer, or Merger of Facilities and Certificate Rights in Henderson County

1.	Application

On October 2, 2020, Sentry Title Company, Inc. dba Lakeshore Utility Company (Lakeshore) and Rick L. Brown dba Dogwood Estates Water Company (Dogwood Estates) (collectively, Applicants) filed an application for sale, transfer, or merger (STM) of facilities and certificate rights in Henderson County, Texas, under Texas Water Code (TWC) § 13.301 and 16 Texas Administrative Code (TAC) § 24.239.

Specifically, Lakeshore, water certificate of convenience and necessity (CCN) No. 10843, seeks approval to acquire the facilities and to transfer to its CCN all of water service area from Dogwood Estates under water certificate of convenience and necessity (CCN) No. 10823.  The application indicates that the total acreage being requested is approximately 8,033 acres and 422 current customers.  Based on the mapping review by Gary Horton, Infrastructure Division, it was determined the requested area is approximately 7,238 acres and 422 current customers.

2.	Notice

Lakeshore provided notice consistent with 16 TAC § 24.239(c).  The deadline to intervene was February 13, 2021; there were no motions to intervene, protests, or opt-out requests received.

3.	Factors Considered

Under TWC §§ 13.241 and 13.246 and 16 TAC §§ 24.11(e), 24.227 and 24.239, the Commission must consider certain factors when granting or amending a water or sewer CCN. These factors are addressed below.

3.1.	Consideration of the adequacy of service currently provided to the requested area and system compliance (TWC § 13.246(c)(1), 13.301(e)(3)(A); 16 TAC §§ 24.227(a) and (e)(1), 24.239(h)(3)(A), (h)(5)(A), and (h)(5)(I))).

Dogwood Estates has a Texas Commission on Environmental Quality (TCEQ) approved public water systems (PWS) registered as Dogwood Estates Water Company, PWS ID No. 1070043.  The last TCEQ compliance investigation of the Dogwood Estates system was on September 10, 2019.  There was an alleged violation documented during the investigation, which was resolved within 14 days and resolved as an area of concern.  In addition, the Commission’s complaint records, which cover the last 5 years, show one complaint against Dogwood Estates.

No additional construction is necessary for the Lakeshore to serve the requested area.

3.2.	Consideration of the need for additional service in the requested area (TWC                       § 13.246(c)(2); 16 TAC §§ 24.227(e)(2) and 24.239(h)(5)(B)).

There are currently 442 existing customers in the requested area, therefore, there is a need for service.  No additional service is needed at this time.

3.3.	Consideration of the effect of granting an amendment on the recipient of the certificate or amendment, on the landowners in the area, and on any other retail public utility of the same kind already servicing the proximate area (TWC                       § 13.246(c)(3), 16 TAC §§ 24.227(e)(3), 24.239(h)(5)(c)).

There will be no effect on landowners as the area is currently certificated.

There will be no effect on any retail public utility servicing the proximate area.  All retail public utilities in the proximate area were provided notice of the transaction taking place in this application and did not request to intervene.

3.4.	Consideration of the managerial and technical ability of the applicant to provide adequate service (TWC §§ 13.241(a) and (b), 13.246(c)(4); and 13.301(b) and (e)(2); 16 TAC §§ 24.227(a) and (e)(4), and 24.239(f) and (h)(5)(D)).

Dogwood Estates has a TCEQ approved public water systems (PWS) registered as Dogwood Estates Water Company, PWS ID No. 1070043.  The last TCEQ compliance investigation of the Dogwood Estates system was on September 10, 2019.  There was an alleged violation documented during the investigation, which was resolved within 14 days and resolved as an Area of Concern.  In addition, the Commission’s complaint records, which cover the last 5 years, show one complaint against Dogwood Estates.  No additional construction is necessary for Lakeshore to serve the requested area.

3.5.	The applicants’ demonstration that regionalization or consolidation with another retail public utility is not economically feasible when construction of a physically separate water or sewer system is required to provide service to the requested area. (TWC § 13.241(d); 16 TAC § 24.227(b)).

The construction of a physically separate system is not necessary for Lakeshore to serve the requested area. Therefore, concerns of regionalization or consolidation do not apply.

3.6	Consideration of the feasibility of obtaining service from an adjacent retail public utility (TWC § 13.246(c)(5); 16 TAC §§ 24.227(e)(5) and 24.239(h)(5)(E)).

Dogwood Estates is currently serving customers and has sufficient capacity.  Obtaining service from an adjacent retail public utility would likely increase costs to customers because new facilities will need to be constructed.  At the minimum, an interconnect would need to be installed in order to connect to a neighboring retail public utility.  Therefore, it is not feasible to obtain service from an adjacent retail public utility.

3.7.	Consideration of the financial ability of the applicant to pay for facilities necessary to provide continuous and adequate service (TWC §§ 13.246(c)(6) and 13.301(b); 16 TAC §§ 24.227(a) and (e)(6), 24.11(e), and 24.239(f) and (h)(5)(F)).

Fred Bednarski, Financial Analyst in the Rate Regulation Division, provided the following:

An owner or operator of a retail public utility must have the financial resources to operate and manage the utility and to provide continuous and adequate service to the current and requested utility service areas, as established by 16 TAC § 24.11.  Lakeshore must demonstrate that it meets one of the five leverage tests under 16 TAC § 24.11(e)(2) as well as the operations test under 16 TAC § 24.11(e)(3).

Leverage test

My analysis is based on financial statements ending December 31, 2019.  These financial statements report long-term debt of $0.00 and equity of $4,136,204. The debt-to-equity ratio is 0.00. Because the ratio is less than 1.0, Lakeshore meets the leverage test specified in 16 TAC § 24.11(e)(2)(A).

Operations test

An owner or operator must demonstrate sufficient available cash to cover projected cash shortages for operations and maintenance expense during the first five years of operations, as required by 16 TAC § 24.11(e)(3).

Lakeshore’s 2019 financial statements and Dogwood Estates’ 2019 annual report, attachment FB-1, include operating income and cash flow information that indicate Lakeshore will have sufficient cash to cover projected shortages.

No capital improvements are needed to provide continuous and adequate service to the requested area.  Sufficient cash and net operating income available to cover possible future shortages provide an indication of financial stability and financial and managerial capability. Therefore, the Applicant meets the operations test specified in 16 TAC 
§ 24.11(e)(3).

3.8.	Requirement of the applicant to provide a bond or other financial assurance in a form and amount specified by the Commission to ensure that continuous and adequate utility service is provided (TWC §§ 13.246(d), 13.301(c); 16 TAC                         §§ 24.227(f), 24.239(f)).

Fred Bednarski provided the following:

As explained in the discussion of TWC § 13.246(c)(6) and 16 TAC §§ 24.227(a), (e)(6), and 24.11(e) the Applicants meet the financial tests.  Therefore, no additional financial assurance is needed.

3.9.	Consideration of the environmental integrity and the effect on the land to be included in the certificated area (TWC § 13.246(c)(7) and (9); and 16 TAC                       §§ 24.227(e)(7) and (9) and 24.239(h)(5)(G)).

The environmental integrity of the land will not be affected as no additional construction is needed to provide service to the requested area.

3.10.	Consideration of the probable improvement in service or lowering of cost to consumers (TWC § 13.246(c)(8); 16 TAC §§ 24.227(e)(8), 24.239(h)(5)(H)).

Lakeshore will continue to provide water service to the existing customers in the area. There will be no change in the quality or cost of service to customers.

The Applicants meet all of the statutory requirements of TWC Chapter 13 and the Commission's Chapter 24 rules and regulations. Approving this application to transfer water facilities in the requested area, and all of the water service area of the water CCN No. 10843 to Lakeshore and cancel water CCN No. 10823 of Dogwood is necessary for the service, accommodation, convenience and safety of the public.

4. 	Recommendation

Based on the above information, I recommend that the Commission find that the transaction will serve the public interest and that the Applicants be allowed to proceed with the proposed transaction. There are deposits held by Dogwood Estates for the customers being served by Dogwood Estates, Oak Manor & Wagontree. I further recommend that a public hearing is not necessary.