TO:		Courtney Dean, Attorney

Legal Division

FROM:	Patricia Garcia, Senior Engineering Specialist

Infrastructure Division

DATE:	June 14, 2021

RE:	Docket No. 51407 – Application of Dos Aguas, LLC for a Water Certificate of Convenience and Necessity in Walker and Montgomery County

- Application

Dos Aguas, LLC (Dos Aguas) filed with the Public Utility Commission of Texas (Commission) an application for a water certificate of convenience and necessity (CCN) in Montgomery, San Jacinto, and Walker Counties, Texas under Texas Water Code (TWC) §§ 13.242 to 13.250 and 16 Texas Administrative Code (TAC) §§ 24.225 to 24.237.

Dos Aguas is seeking to obtain a water CCN for the service area containing approximately 5,387 acres separated into 2,200 lots. This was previously inadvertently represented as current customers; however, there are no current customers in the requested area.

- Notice

The deadline to intervene was April 21, 2021; there were no motions to intervene, protests, or opt-out requests received.

- Factors Considered

TWC §§ 13.241 and 13.246, and 16 TAC §§ 24.11(e) and 24.227 require the Commission to consider certain factors when granting or amending a water or sewer CCN. Therefore, the following factors were considered.

3.1.	Consideration of the adequacy of service currently provided to the requested area and system compliance (TWC § 13.246(c)(1); 16 TAC § 24.227(a) and (e)(1)).

There are no customers in the requested area. There is currently no service provided to the requested area.

3.2.	Consideration of the need for additional service in the requested area (TWC § 13.246(c)(2); 16 TAC § 24.227(e)(2)).

There is a need for service as there are expected to be 2,200 customers in the requested area.

3.3.	Consideration of the effect of granting an amendment on the recipient of the certificate or amendment, on the landowners in the area, and on any other retail public utility of the same kind already servicing the proximate area (TWC §§ 13.241(b) and 13.246(c)(3), 16 TAC § 24.227(e)(3)).

Dos Aguas will be the certificated entity for the requested area and will be required to provide adequate and continuous service to the requested area.

The landowners in the area will have a water provider available when they need to request water service.

There will be no effect on any retail public utility servicing the proximate area.  All retail public utilities in the proximate area were provided notice of the CCN amendment requested in this application and did not request to intervene.

3.4.	Consideration of the managerial and technical ability of the applicant to provide adequate service (TWC § 13.246(c)(4); 16 TAC § 24.227(a) and (e)(4)).

Dos Aguas has a Texas Commission on Environmental Quality (TCEQ) non-public proposed water system (PWS) registered as Dos Aguas, PWS ID No. 1700917.

3.5.	The applicants’ demonstration that regionalization or consolidation with another retail public utility is not economically feasible when construction of a physically separate water or sewer system is required to provide service to the requested area. (TWC § 13.241(d); 16 TAC § 24.227(b)).

Service was requested from three neighboring utilities.  Two of the utilities did not provide a response to Dos Aguas.  One submitted a letter stating they would not be able to serve the area and therefore were declining the request for service.  TCEQ has approved plans for Dos Aguas to build facilities in the requested area to serve future customers and will have sufficient capacity to serve the area.  Therefore, concerns of regionalization or consolidation do not apply.

3.6.	Consideration of the feasibility of obtaining service from an adjacent retail public utility (TWC § 13.246(c)(5); 16 TAC § 24.227(e)(5)).

Dos Aguas received a request for service for the requested area from two developers.  Dos Aguas requested service from three neighboring utilities.  Two of the utilities did not provide a response to Dos Aguas.  One submitted a letter stating they would not be able to serve the area and therefore were declining the request for service.  Dos Aguas has approved TCEQ plans to build facilities in the requested area to serve future customers and will have sufficient capacity to serve the area.  Therefore, it is not feasible to obtain service from an adjacent retail public utility.

3.7.	Consideration of the financial ability of the applicant to pay for facilities necessary to provide continuous and adequate service (TWC § 13.246(c)(6); 16 TAC §§ 24.227(a) and (e)(6), 24.11(e)).

The Rate Regulation Division will be addressing this criterion in a separate memo.

3.8.	Requirement of the applicant to provide a bond or other financial assurance in a form and amount specified by the Commission to ensure that continuous and adequate utility service is provided (TWC §§ 13.246(d); 16 TAC § 24.227(f)).

The Rate Regulation Division will be addressing this criterion in a separate memo.

3.9.	Consideration of the environmental integrity and the effect on the land to be included in the certificated area (TWC § 13.246(c)(7) and (9); and 16 TAC § 24.227(e)(7) and (9)).

The environmental integrity of the land will be minimally affected as the water treatment plant is built and distribution lines are installed to provide service to the requested area.  Additionally, Dos Aguas provided this statement in their application “All plans will be reviewed by the respective counties and all flood plain and drainage requirements met.”

3.10.	Consideration of the probable improvement in service or lowering of cost to consumers (TWC § 13.246(c)(8); 16 TAC § 24.227(e)(8)).

This factor is not applicable because there are no homes currently receiving service in the requested service area.  Dos Aguas provided all the required documentation under 16 TAC § 24.25(b)(1) for the proposed tariff and rates.  In order to true-up the proposed rates, I recommend that Dos Aguas file a rate application with the Commission within 18 months from the date service begins per 16 TAC § 24.25(b)(1)(C).

- Recommendation

Based on the mapping review by Gary Horton, Infrastructure Division, the financial and managerial review by Fred Bednarski III (in his separate memo), Rate Regulation Division, and my technical and managerial review, I recommend that:

- Dos Aguas meets all of the statutory requirements of TWC Chapter 13 and the Commission's Chapter 24 rules and regulations and is capable of providing continuous and adequate service. I also recommend that approving this application to obtain water CCN No. 13295 is necessary for the service, accommodation, convenience and safety of the public; and

- Dos Aguas file a rate application with the Commission within 18 months from the date service begins pursuant to 16 TAC § 24.25(b)(1)(C).

Dos Aguas consented to the attached map and certificate on May 24, 2021.

Dos Aguas consented to the attached tariff on June 8, 2021.