TO:		Courtney Dean, Attorney

Legal Division

FROM:	Patricia Garcia, Senior Engineering Specialist

Infrastructure Division

DATE:		November 9, 2020

RE:	Docket No. 51407 – Application of Dos Aguas, LLC for a Water Certificate of Convenience and Necessity in Walker and Montgomery Counties

On October 9, 2020, Dos Aguas, LLC (Dos Aguas) filed with the Public Utility Commission of Texas (Commission) an application to obtain a water certificate of convenience and necessity (CCN) in Walker and Montgomery Counties under Texas Water Code (TWC) §§ 13.242 to 13.250 and 16 Texas Administrative Code (TAC) §§ 24.225 to 24.237.

Based on the mapping review by Gary Horton, Infrastructure Division, and my technical and managerial review of the information filed by the Dos Aguas, I recommend that the application be deemed administratively incomplete and not accepted for filing due to the deficiencies detailed below:

Mapping Review:

The eastern border of the requested area follows the current centerline of Peach Creek, which runs along and crosses back and forth over the Montgomery and San Jacinto County line. It appears that San Jacinto County may need to be added to the affected counties. If so, please submit a revised page 2 of the application to add San Jacinto county to the list of “County(ies) affected by this application.”

Technical Review:

Provide proof that plans and specifications for the requested area have been submitted to the Texas Commission on Environmental Quality (TCEQ).  For an application to be administratively complete, proof that the plans and specifications for the proposed new facilities have been submitted to the TCEQ must be provided. In order to finalize approval of the CCN amendment the TCEQ must approve construction of the water system and the distribution system and the approval letters filed in this docket per 16 TAC § 24.233(a)(14).