TO:		Taylor Denison, Attorney

Legal Division

FROM:	Patricia Garcia, Senior Engineering Specialist

Infrastructure Division

DATE:		January 11, 2021

RE:	Docket No. 51481 – Application of CSWR-Texas Utility Operating Company, LLC for Temporary Rates for a Nonfunctioning Utility

Background:

CSWR-Texas Utility Operating Company, LLC (CSWR-Texas), temporary manager for Castlecomb Water System (Castlecomb), submitted to the Public Utility Commission (Commission) an application for a temporary rate increase related to an unregistered utility in Kerr County, Texas under Texas Water Code § 13.046 and 16 Texas Administrative Code (TAC) § 24.363. Castlecomb provides water and sewer service (through an on-site sewage facility) to the customers in the Castlecomb and Kensington subdivisions. Castlecomb does not have a water certificate of convenience and necessity (CCN) or a sewer CCN.

Under 16 TAC § 24.363(a), CSWR-Texas may charge temporary rates “to recover the reasonable costs incurred for interconnection or other costs incurred in making services available and any other reasonable costs incurred to bring the nonfunctioning system into compliance with commission rules.” CSWR-Texas based the proposed temporary rate on the charges the customers were paying to the homeowner’s association for the water and wastewater systems, $125 per customer per month. This amount included water and sewer service. As a result, CSWR-Texas notified the customers that the temporary rate would be a flat rate of $62.50 for water and $62.50 for sewer. Based on the proposed temporary rates and the current customer connection count of 27 connections for each the water and sewer systems, the estimated revenues would be approximately $3,375 monthly or $40,500 yearly for the combined water and sewer systems.

On December 18, 2020, CSWR-Texas submitted invoices from the company operating the water and sewer systems for the months of November and December 2020, repairs for the month of October 2020, and an electricity bill for the month of December 2020. CSWR-Texas also submitted invoices for billing, set up of the billing system, and an answering service for the water and sewer customers of Castlecomb. These invoices will be reviewed by Spencer English, Rate Regulation Division.

The following table provides a summary of expenses that I recommend be included in the calculation of rates. CSWR-Texas provided expenses for two months of operation of the utility and one month for electricity, repairs, and customer billing. These expenses have been annualized by multiplying the equivalent of one month of operation of the utility by twelve. I allowed for laboratory fees based on the sampling schedule of Castlecomb and the costs from the Texas Commission on Environmental Quality’s (TCEQ) website at:https://www.tceq.texas.gov/assets/public/permitting/watersupply/pdw/chemicals/LabFees.pdf.

Additionally, I allowed for an amount to cover the costs of chlorine disinfection of the well. Based on previous reviews of other similar water systems, I allowed an amount equivalent to twelve gallons per month at $1.90 per gallon.

I have used the actual costs from the invoices and electricity bills submitted by CSWR-Texas along with the estimated costs for laboratory fees and chlorine disinfection of the well to recommend the expenses for the calculation of the temporary rates.

CSWR-Texas requested a total yearly expense of $40,500 for the temporary rates. This was based on the rates the customers were already paying to their homeowner’s association for the upkeep of the water and sewer systems. It was not based on estimates from CSWR-Texas for the operation of the water and sewer systems. I reviewed the invoices and electricity bills submitted by CSWR-Texas along with the estimated costs for laboratory fees and chlorine disinfection of the well. The invoices submitted for billing, set up of the billing system, and the answering service for the water and sewer customers of Castlecomb will be reviewed by Spencer English in the Rate Regulation Division. I recommend inclusion of $15,307 in expenses for the temporary rates for the water system and $19,220 in expenses for the temporary rates for the sewer system. The total costs I calculated are at a level consistent with other similar systems that I have reviewed over the years.

Water System

|  | Staff’s Recommended Yearly Costs | Description of Costs (see attached workpapers for details) |
| --- | --- | --- |
| General Operations & Maintenance | $9,000.00 | Invoices provided by CSWR-Texas. |
| Laboratory Fees | $1,074.48 | My recommended costs were calculated using the testing schedule for this water system from TCEQ’s Drinking Water Watch database and the fees from https://www.tceq.texas.gov/assets/public/permitting/watersupply/pdw/chemicals/LabFees.pdf. |
| Chlorine Expenses | $273.60 | Based on an estimate of 12 gallons per month at $1.90 per gallon. No documentation provided by CSWR-Texas. |
| Electric Utility Bills | $2,406.00 | Invoice provided by CSWR-Texas. |
| Repairs | $2,553.00 | Invoice provided by CSWR-Texas. |
| Total | $15,307.08 |  |

Sewer System

|  | Staff’s Recommended Yearly Costs | Description of Costs (see attached workpapers for details) |
| --- | --- | --- |
| General Operations & Maintenance | $9,000.00 | Invoices provided by CSWR-Texas. |
| Laboratory Fees | $0.00 | No documentation provided by CSWR-Texas. |
| Chlorine Expenses | $0.00 | No documentation provided by CSWR-Texas. |
| Electric Utility Bills | $0.00 | Assigned all costs to water based on electricity being needed for water system. |
| Repairs | $10,220.00 | Invoice provided by CSWR-Texas. |
| Total | $19,220.00 |  |

Some of the invoices submitted by CSWR-Texas were one-time only expenses. These expenses included a charge for septic overflowing, printing of CSWR-Texas signs, and packaging including freight. I recommend these charges be included in a surcharge to be collected for four months. These expenses are shown in the table below.

| Each of the following is a one-time only fee. |  |  |  |  |
| --- | --- | --- | --- | --- |
| Invoice From | Date | Description | Water | Sewer |
| Enriched Organics | 10/1/2020 | Septic Overflowing |  | 380 |
| Elite Printing & Packaging | 11/23/2020 | CSWR Signs | 24 | 24 |
| Freight | 11/23/2020 | CSWR Signs | 2 | 2 |
|  |  | Totals | $26 | $406 |

Attached is a tariff for Castlecomb that reflects the rates recommended by Staff expert Jorge Ordonez. The tariff is based on the pro forma tariff approved by the Commission for many utilities.

Recommendation:

I recommend the following:

- Include in the calculation of rates the recommended yearly costs and include a calculation for a surcharge for four months provided in Mr. Spencer English’s memo and worksheet.

- Approve the attached tariff.

- If any overages were collected from customers for the months the requested rate was billed, I recommend that no refunds be issued to the customers based on the proposed temporary rates. I recommend that the temporary manager keep separate accounting for all amounts collected in excess of the Commission approved temporary rate for the months the requested rate was billed to the customers, rather than the Commission approved rate. The excess funds collected should be used to pay for any repairs or maintenance at the water system and the liability reduced by the amount incurred for repairs and maintenance in excess of the amount included in the approved temporary rate. If this excess amount has already been used to help pay for repairs or maintenance, Staff recommends that the temporary manager submit the invoices to substantiate the costs of the repair or maintenance.

- Order CSWR-Texas to provide to the Commission the following documentation monthly, by the last day of the month following the month in question, until the temporary manager’s term is completed:

- Summary of monthly revenues and expenses with a detailed list of actual costs for operating the system, such as repairs, chlorine, billing, operator costs, electricity, laboratory fees, sampling costs, etc.;

- Copies of invoices and receipts to support the actual cost of service; and

- The actual number of connections at the beginning and at the end of the month.

- Order that the temporary rate shall remain in place until the Commission orders otherwise.

Application at 1 (Nov. 2, 2020).

Id. at 4.

CSWR’s Response to Staff’s Request for Documentation at 4-9 (Dec. 18, 2020); CSWR’s Response to Staff’s 2nd RFI at 4 (Jan. 4, 2021).

CSWR’s Response to Staff’s Request for Documentation at 10-12 (Dec. 18, 2020).

Application at 1 (Nov. 2, 2020).

CSWR’s Response to Staff’s Request for Documentation at 9 (Dec. 18, 2020); CSWR’s Response to Staff’s 2nd RFI at 4 (Jan. 4, 2021).

CSWR’s Response to Staff’s Request for Documentation at 14 (Dec. 18, 2020).

Id.