TO:	M. Justin Ackley, Attorney

Legal Division

FROM:	Reginald Tuvilla, Senior Infrastructure Analyst

Infrastructure Division

DATE:	January 4, 2021

RE:	Docket No. 51531 – Petition of JLM 717 Kaufman LP to Amend the City of Crandall’s Certificate of Convenience and Necessity in Kaufman County by Expedited Release

JLM 717 Kaufman LP (Kaufman LP) (Petitioner) filed a petition for expedited release from the City of Crandall's (Crandall) water certificate of convenience and necessity (CCN) No. 11295 in Kaufman County, under Texas Water Code (TWC) § 13.2541(b) and 16 Texas Administrative Code (TAC) § 24.245(h). Kaufman LP asserts that the land is at least 25 contiguous acres, is not receiving water service, and is located in Kaufman County, which is a qualifying county.

Kaufman LP submitted a sworn affidavit attesting that the property was not receiving water from Crandall and a warranty deed confirming Kaufman’s ownership of the tract of land.

The petition also includes a statement indicating a copy of the petition was sent via certified mail to Crandall on the date the petition was filed with the Commission.

Based on the mapping review by Tracy Montes, Infrastructure Division, and my technical and managerial review of the information provided by Kaufman LP, I recommend the petition be deemed administratively incomplete and not accepted for filing due to deficient maps and digital data.

The boundaries of the requested area require clarification. Each tract of land that makes up the entire subject property must be clearly identified in the digital mapping data, and on the general location and detailed maps. All maps must include a scale. Do not show the cross-hatched portion that overlaps CCN No. 11295 on the maps. On the detailed map, do not show existing CCNs.

The discrepancy between the acreage listed on the warranty deed and the submitted digital mapping data must be corrected. According to the warranty deed, the entire subject property should include approximately 716.7 acres. However, the digital mapping data for the entire subject property includes 706.47 acres, rather than the 716.7 acres indicated in the warranty deed. Furthermore, the general location and detailed maps identifies several tracts of land (285 acres, 430 acres, and two 1-acre tracts) that are not provided in the warranty deed. Please provide a complete warranty deed that either includes each individual tract of land reflecting the entire subject property, or, provide revised mapping documentation that only identifies the entire subject property (716.7 acres) as indicated in the warranty deed.

Please clarify whether the 5-acre parcel shown in Exhibit C should have been excluded from the entire subject property for “Reserved Minerals.” If so, please verify that the 5-acre parcel was removed from the entire subject property in the revised mapping documentation requested below. In addition, provide evidence that the 1-acre tract of land designated as belonging to Louden Flay is owned by JLM 717 Kaufman LP, or remove the 1-acre tract of land from the mapping documentation requested below.

The Petitioner must submit the following items to resolve the mapping deficiencies:

- A general location map identifying the tracts of land, in reference to the nearest county boundary, city, or town.

- A detailed map identifying the tracts of land, in reference to verifiable man-made and natural landmarks, such as roads, rivers, and railroads.

- Digital mapping data for the tracts of land each provided as a single polygon record, in a shapefile (SHP) format, georeferenced in either NAD83 Texas Statewide Mapping System (Meters) or NAD83 Texas State Plane Coordinate System (US Feet).

Staff recommends the Petitioner obtain additional mapping guidance from the PUC’s

mapping staff, Ms. Tracy Montes at (512)936-7187 or tracy.montes@puc.texas.gov to

resolve the mapping deficiencies.