TO:		Merritt Lander, Attorney

Legal Division

FROM:	Patricia Garcia, Senior Engineering Specialist

Infrastructure Division

DATE:		March 30, 2022

RE:	Docket No. 51614 – Application of East Houston Utilities to Amend its Certificate of Convenience and Necessity in Harris County

On December 11, 2020, East Houston Utilities, Inc. dba Krebs Utilities (East Houston) filed with the Public Utility Commission of Texas (Commission) an application to amend its water certificate of convenience and necessity (CCN) No. 11984 in Harris County, Texas under Texas Water Code (TWC) §§ 13.242 to 13.250 and 16 Texas Administrative Code (TAC) §§ 24.225 to 24.237.

Based on the mapping review by Gary Horton, of the Commission’s Infrastructure Division, and my technical and managerial review of the information filed by East Houston, I recommend that the application be deemed administratively incomplete and not accepted for filing due to the deficiencies detailed below:

Application Content:

- Application Summary

The application states that East Houston Utilities is requesting to amend CCN number 11984 for dual certification with East Houston Utilities under CCN number 11984.  Based on the rest of the information provided in the application, Staff believes that the request for dual certification is in error, and that this is an application for a CCN amendment for uncertificated area that will be the site of a new subdivision.  However, CCN number 11984 is assigned to Stephen P. Krebs dba Krebs Utilities, Inc. and East Houston dba Krebs Utilities, Inc. was assigned water CCN number 12042 in Docket No. 50038. Please provide the following:

- Clarification as to the utility that is requesting the CCN amendment and the CCN number to which the requested area is being proposed to be added. Please make sure the CCN number and utility name match.,

- A copy of the “Certification of Account Status” from the Texas Comptroller,

- A list of stockholders & their respective percentages of ownership (if applicable),

- A copy of an organizational chart showing the relationship between East Houston and Krebs Utilities (if applicable),

- A list of all directors, including titles (if applicable), and

- A list of all affiliated organizations (if any) and explain the affiliate’s business relationship with the applicant.

The Application Summary has both the water and sewer boxes checked.  However, no sewer CCN number was provided.  Please clarify whether the requested CCN amendment is for both water and sewer service area or for water service area only.

- Annual Report Filings (Application Question No. 3)

When the CCN number and utility are confirmed, please verify that the annual reports for 2018 and 2019 have been submitted for that utility. At this time there are no annual reports on file for either Krebs Utilities, Inc., East Houston, or Stephen P. Krebs.

- Texas Commission on Environmental Quality (TCEQ) approval letters (Application Question No. 11)

The application states that plans for the construction of new facilities to serve the requested area are in progress. Please submit proof that plans for any needed water treatment plant, facilities, or distribution system have been submitted to the TCEQ for review and approval.

- Public Water System Information (Application Question No. 20)

The public water systems provided in response to this question are listed under the CCN number 11984 for Stephen P. Krebs dba Krebs Utilities, Inc. Please clarify if the requested area will be served by one of these public water systems or if the requested area will require the construction of a new public water system.

- If the requested area will be served by a new public water system, please provide a revised response for Application Question Nos. 12.A. through 12.D.

- Existing and Additional Connections (Application Question Nos. 21 and 22)

Provide the number of existing connections and the estimated number of additional connections for the proposed area. “N/A” is not a sufficient response for these questions.

7.  Licensed Operators (Application Question No. 25)

The application lists Hanna and Stephen Krebs as the licensed operators who will be responsible for the operations of the service provided to the requested area but no TCEQ license numbers are provided.  Please provide the TCEQ license numbers.

Mapping Content:

I recommend that East Houston submit the following items to resolve the mapping deficiencies:

- A general location map identifying only the requested area, in reference to the nearest county boundary, city, or town.

- A detailed map identifying only the requested area, in reference to verifiable man-made and natural landmarks, such as roads, rivers, and railroads.

- Digital mapping data for the requested area, as a single polygon record, in shapefile (SHP) format, georeferenced in either NAD83 Texas Statewide Mapping System (Meters) or NAD83 Texas State Plane Coordinate System (US Feet); OR metes and bounds survey sealed or embossed by either a licensed state surveyor or a registered professional land surveyor.

Note: Any confidential items should be submitted as confidential filings with the PUC.  The instructions for filing confidential documents can be found on our website at: (http://www.puc.texas.gov/industry/filings/FilingProceed.aspx).

Application of Gum Island Utility and East Houston Utilities, Inc. dba Krebs Utilities for a Sale, Transfer, or Merger of Facilities and Certificate Rights in Liberty County, Docket No. 50038, Notice of Approval at Ordering Paragraph No. 1 (Dec. 8, 2020).