TO:		Forrest Smith, Attorney

Legal Division

FROM:	Jolie Mathis, Utility Engineering Specialist

Infrastructure Division

DATE:		March 8, 2023

RE:	Docket No. 51646 – Application of Waters of Vista Ranch Water Supply Corporation and Aqua Water Supply Corporation for Sale, Transfer, or Merger of Facilities and Certificate Rights in Fayette County

Aqua Water Supply Corporation (Aqua WSC) and the Waters of Vista Ranch Water Supply Corporation (WOVR WSC) (collectively Applicants) filed an application for sale, transfer, or merger (STM) of facilities and certificate rights in Fayette County, Texas, under Texas Water Code (TWC) §§ 13.242 to 13.250 and § 13.301 and 16 Texas Administrative Code (TAC) §§ 24.225 to 24.237 and § 24.239.

Specifically, Aqua WSC, certificate of convenience and necessity (CCN) No. 10294, seeks approval to acquire facilities and to transfer all of the water service area from under water Certificate of Convenience and Necessity (CCN) No. 12927 and amend (CCN) No. 10294.

On January 31, 2023, the Administrative Law Judge requested Commission Staff file a supplemental recommendation on the following: (a) whether Aqua Water Supply Corporation's capital improvement plan satisfies the requirements of Texas Water Code (TWC) § 13.244(d)(3), consistent with the Commission' s discussion at its October 6, 2022 open meeting; and (b) whether Aqua WSC's response satisfies the requirements of 16 Texas Administrative Code (TAC) § 24.11(e)(5).

The capital improvement plan provided satisfies the requirements of TWC § 13.244(d)(3). Aqua WSC didn’t give specific timelines for the dates the phases would be implemented but since they only need to install transmission and distribution lines it is acceptable.  The installation of the transmission and distribution lines for the first 2 phases will be able to provide service for up to 20 years.

The requirements of 16 TAC § 24.11(e)(5) will be addressed by Mr. Fred Bednarski in the Rate Regulation Division.