Public Utility Commission of Texas

Memorandum

TO:	Merritt Lander, Attorney

Legal Division

FROM:	Spencer English, Financial Analyst

Rate Regulation Division

DATE:		January 19, 2021

RE:	Tariff Control No. 51647: Application of Community Water Company for a Pass Through Rate Change

On December 22, 2020, Community Water Company (Community Water), certificate of convenience and necessity No. 10534, filed an application under 16 Texas Administrative Code (TAC) § 24.25(b)(2)(F) to implement a pass-through rate change for an increase in the fees billed by the City of Tyler (Tyler).  The increase by Tyler raises the volumetric usage fee for Community Water from $2.31 to $2.46 per thousand gallons and the demand rate from $3,381.58 to $3,604.77 per month effective November 1, 2020.

Community Water requests a pass-through rate change from $1.09 to $1.38 per thousand gallons for the Montgomery Gardens subdivision, Public Water System No. 2120008.  The request includes line loss of $0.04 per 1,000 gallons, as calculated using the equation listed on the tariff and based upon line loss of 14.69%. Community Water provided 12 months of supporting documentation to substantiate line loss.

Based upon my review, I determined that the application and notice meet the requirements of 16 TAC § 24.25(b)(2)(F).  I recommend that the Commission accept the application for filing, approve the request with the effective date of January 20, 2021, and that Central Records provide Community Water with a copy of the attached tariff pages.