## Sheet1
Utility’s Project Number | Project Name | Location (City/County) | Description | Estimated (or Actual) Start Date | Finish Date (Construction Complete) | Date Energized (If Applicable) | Initial Estimated Project Cost ($) | Final Estimated Project Cost ($) | Final Actual Project Cost ($) | % Varinace | Percent Complete | Existing Voltage (kV) | Upgraded or New Voltage (kV) | Circuit Length (Miles) | Conductor Type & Size & Bundling | Structure Type(s) | Existing ROW Width (Feet) | Existing ROW Length (Miles) | New ROW Width (Feet) | New ROW Length (Miles) | Rule Section or PUC Control Number
T-0275/S-0885 | Scenic Loop 138kV Transmission Line and Substation | Bexar | Construct new 138kV transmission line to provide a transmission point of interconnection to a new substation. | 2022-03-01 | 2024-06-01 | n/a | $38.3M-$56.2M | n/a | n/a | n/a | 0% | 138 | 138 | 9.2-13.8 | Bundled 795 Kcmil Drake ACSS/TW | Double Cir Steel Monopoles | n/a | n/a | 100 | 4.6-6.9 | 51023