## Instructions
§25.52. -- Reliability and Continuity of Service.
http://www.puc.texas.gov/agency/rulesnlaws/subrules/electric/25.52/25.52.pdf
Application. This section applies to all electric utilities as defined by the Public Utility Regulatory Act (PURA) §31.002(6) and all transmission and distribution utilities as defined by PURA §31.002(19). The term "utility" as used in this section shall mean an electric utility and a transmission and distribution utility.
Public Utility Regulatory Act §31.002
http://www.puc.texas.gov/agency/rulesnlaws/statutes/Pura15.pdf
DEFINITIONS.
The term "Electric utility" does not include a municipally owned utility or an electric cooperative.
Information typed in highlighted cells will appear on following sheets.
Type Name of Utility in the Cell Below
Utility: |  | Xcel Energy
Type Total Number of Distribution Feeders in the Cell Below
Feeders: |  | 352
Due: |  | February 14, 2021
File: |  | Five Printed Copies and
One Electronic Copy of This Excel File
Project: |  | 51730
Address: |  | Attn: Filing Clerk
Public Utility Commission of Texas
P.O. Box 13326
Austin, Texas 78711-3326
If you have any questions, please contact:
David Smithson
Infrastructure & Reliability Division
Commission Staff
Voice: | 512 936 7156
Fax: | 512 936 7328
E-mail: | david.smithson@puc.texas.gov

## Cover
Service Quality Report
To The
Public Utility Commission of Texas
In Accordance With
Substantive Rule §25.81
2020 Reporting Year
Xcel Energy
Project 51730
.

## System-SAIFI
Xcel Energy
System SAIFI | Annual | Jan | Feb | March | April | May | June | July | Aug | Sept | Oct | Nov | Dec
Forced
2020 | 0.63125 | 0.04077 | 0.016667 | 0.036617 | 0.033331 | 0.070234 | 0.11493 | 0.1136 | 0.066317 | 0.02846 | 0.044256 | 0.043934 | 0.022128
Scheduled
2020 | 0.016643 | 0.0012765 | 0.0020459 | 0.0017209 | 0.00079221 | 0.0024692 | 0.00081598 | 0.0012969 | 0.0015262 | 0.00022522 | 0.00058247 | 0.0016304 | 0.0022609
Outside Causes
2020 | 0.27564 | 0.0057033 | 0.018421 | 0.0052327 | 0.042515 | 0.022223 | 0.03323 | 0.019181 | 0.054403 | 0.02512 | 0 | 0.049563 | 4.2733e-05
Major Events
2020 | 0.6106 | 0 | 0 | 0 | 0 | 0 | 0.023842 | 0 | 0.055739 | 0 | 0.53102 | 0 | 0

## System-SAIDI
Xcel Energy
System SAIDI | Annual | Jan | Feb | March | April | May | June | July | Aug | Sept | Oct | Nov | Dec
Forced
2020 | 71.6371 | 4.1296 | 1.7003 | 3.8714 | 3.9481 | 7.4944 | 12.3114 | 13.0481 | 8.6933 | 2.5534 | 3.801 | 7.6464 | 2.4399
Scheduled
2020 | 1.6033 | 0.12782 | 0.2847 | 0.33966 | 0.078332 | 0.12287 | 0.10701 | 0.049463 | 0.07671 | 0.047039 | 0.10145 | 0.14592 | 0.12228
Outside Causes
2020 | 16.4995 | 0.31954 | 0.77877 | 0.50974 | 1.3864 | 1.659 | 1.8343 | 1.6286 | 4.4842 | 1.4268 | 0 | 2.4703 | 0.0018802
Major Events
2020 | 464.1259 | 0 | 0 | 0 | 0 | 0 | 5.9023 | 0 | 10.8349 | 0 | 447.3886 | 0 | 0

## Feeder-SAIFI
Distribution Feeder Indices for Forced Interruptions
List all Distribution Feeders on Texas System |  |  |  |  | Total Number of Feeders
With 10 or more Customers |  |  |  |  | 352
Add or Delete Rows as Necessary
Xcel Energy
2020 SAIFI Ranking | 2019 SAIFI Ranking | Substation Identification | Feeder Identification | Number of Customers | 2020 SAIFI Value
1 | 85 | Conway | CONW5010 | 1490 | 4.6799
2 | 37 | Channing | CHAN1564 | 30 | 4.2667
3 | 17 | Moore Co | MOORM065 | 948 | 3.9578
4 | 237 | Sherman County | SHER1456 | 1135 | 3.9366
5 | 30 | Highland Park | HIGH5335 | 1048 | 3.7042
6 | 103 | Wildorado | WILD2014 | 372 | 3.6102
7 | 222 | Barwise | BARWIB130 | 63 | 3.0635
8 | 74 | Roxana | ROXA2334 | 95 | 3
9 | 12 | Coble | COBLLV835 | 245 | 2.8449
10 | 31 | Dalhart | DALH1664 | 85 | 2.7176
11 | 16 | Denver City East | DENES110 | 897 | 2.67
12 | 136 | Plainview East | PLVEP180 | 274 | 2.5328
13 | 129 | Highland Park | HIGH5325 | 249 | 2.5261
14 | 36 | Irick | IRICIB120 | 55 | 2.3818
15 | 165 | Dumas 19th Street | DU191498 | 70 | 2.3714
16 | 158 | Lake Meredith | LAKM2B55 | 46 | 2.3261
17 | 68 | Seminole Interchange | SEMX6E00 | 1340 | 2.2776
18 | 131 | Russell | RUSSS385 | 74 | 2.2568
19 | 239 | Bowers | BOWE2053 | 51 | 2.2549
20 | 144 | Herring | HERR1434 | 1183 | 2.2342
21 | 51 | Irick | IRICIB110 | 107 | 2.1308
22 | 125 | Lockney Rural | LOCR3417 | 931 | 2.058
23 | 306 | Estacado | ESTA5D65 | 2173 | 2.0414
24 | 170 | Kingsmill | KING5105 | 336 | 2.0179
25 | 47 | Dumas 19th Street | DU191371 | 1253 | 1.9497
26 | 63 | Buffalo | BUFF2215 | 463 | 1.9071
27 | 152 | Roxana | ROXA2076 | 398 | 1.8744
28 | 38 | Burnett | BURN1394 | 53 | 1.8679
29 | 20 | County Line | COLICL110 | 14 | 1.8571
30 | 59 | Spearman Int | SPEX1512 | 975 | 1.839
31 | 193 | Allmon | ALLMAT120 | 700 | 1.7757
32 | 114 | Murphy | MURP7535 | 1816 | 1.7621
33 | 218 | Hereford | HERE2D50 | 760 | 1.7382
34 | 279 | Carlisle | CARL6650 | 935 | 1.7369
35 | 199 | East Plant | EPLAA118 | 2791 | 1.7238
36 | 210 | Kite | KITE5B80 | 1101 | 1.654
37 | 113 | Lehman | LEHMLV510 | 73 | 1.589
38 | 121 | Garza | GARZ6500 | 716 | 1.5461
39 | 167 | Whitaker | WHIT5270 | 2754 | 1.5439
40 | 83 | Arrowhead | ARRO5D80 | 486 | 1.5267
41 | 48 | Channing | CHAN1568 | 59 | 1.5254
42 | 302 | East Plant | EPLAA122 | 2015 | 1.5132
43 | 56 | 34th Street | 34ST5B85 | 1055 | 1.4919
44 | 205 | Riverview | RIVER100 | 259 | 1.4826
45 | 78 | East Plant | EPLAA110 | 940 | 1.4819
46 | 65 | Bennett | BENNS365 | 69 | 1.4638
47 | 296 | South Floydada | SFLO3551 | 41 | 1.439
48 | 310 | Zavala | ZAVALV780 | 14 | 1.4286
49 | 76 | Pringle | PRIN1E15 | 485 | 1.4206
50 | 291 | Van Buren | VANB7044 | 1196 | 1.3579
51 | 141 | Westridge | WRIDP460 | 552 | 1.3496
52 | 182 | Bowers | BOWE5090 | 130 | 1.3385
53 | 290 | Monroe | MONR6610 | 454 | 1.3216
54 | 270 | Canadian | CANA335 | 295 | 1.3085
55 | 105 | Whiteface | WHITLV210 | 146 | 1.2808
56 | 34 | Kingsmill | KING5110 | 250 | 1.28
57 | 46 | Pacific | PACILV940 | 73 | 1.2603
58 | 172 | Slaton | SLAT6600 | 1146 | 1.2574
59 | 262 | Whitaker | WHIT5265 | 125 | 1.248
60 | 327 | Soncy | SONC7024 | 1247 | 1.2454
61 | 81 | Sherman County | SHER1452 | 41 | 1.2195
62 | 128 | Cherry | CHER5C10 | 1738 | 1.2066
63 | 42 | Burnett | BURN1398 | 94 | 1.1915
64 | 94 | Plainview South | PLVSP210 | 142 | 1.1901
65 | 294 | Soncy | SONC7020 | 417 | 1.1727
66 | 26 | Industrial | INDU1416 | 883 | 1.1676
67 | 33 | Etter Rural | ETTR5410 | 766 | 1.1645
68 | 29 | Lockney Rural | LOCRLA150 | 87 | 1.1609
69 | 140 | Canyon West | CANW7128 | 896 | 1.1607
70 | 215 | Buffalo | BUFF5165 | 208 | 1.1587
71 | 130 | Springcreek | SPRI1316 | 342 | 1.1579
72 | 171 | Denver City East | DENES100 | 1014 | 1.143
73 | 233 | Estacado | ESTA5D20 | 1890 | 1.1423
74 | 19 | Curry County Interchange | CURX3635 | 459 | 1.1416
75 | 313 | Parmer County | PARM2465 | 43 | 1.1395
76 | 96 | Hale Center | HACTHR145 | 501 | 1.1337
77 | 178 | Cherry | CHER5C15 | 1682 | 1.1189
78 | 267 | Kiser | KISRP965 | 1964 | 1.1049
79 | 79 | Hart | HARTHA120 | 543 | 1.1013
80 | 309 | Canyon West | CANW5160 | 905 | 1.0917
81 | 312 | Brisco | BRIS3434 | 482 | 1.0913
82 | 115 | Weatherly | WEAT1354 | 883 | 1.0906
83 | 304 | Morton | MORTM130 | 851 | 1.0881
84 | 286 | Plainview South | PLVSP230 | 573 | 1.0785
85 | 97 | Pullman | PULL2A40 | 207 | 1.0725
86 | 226 | West Borger | WBOR1A10 | 1196 | 1.0669
87 | 18 | Muleshoe West | MULWMR130 | 202 | 1.0495
88 | 116 | 34th Street | 34ST2B45 | 1947 | 1.0488
89 | 344 | Lockney Rural | LOCR3421 | 21 | 1.0476
90 | 221 | Bush | BUSH5210 | 1866 | 1.0472
91 | 120 | Littlefield West | LITWLI156 | 247 | 1.0445
92 | 80 | Lehman | LEHMLV500 | 206 | 1.0437
93 | 272 | Hale Center | HACTHR110 | 635 | 1.0315
94 | 261 | Friona Rural | FRIO2436 | 1717 | 1.028
95 | 292 | Muleshoe Valley | MULVMR150 | 472 | 1.0148
96 | 10 | Plant X | PLAXX310 | 617 | 1.0065
97 | 69 | Whiteface | WHITLV220 | 261 | 1
98 | 160 | Moss | MOSS6540 | 317 | 0.99685
99 | 21 | Herring | HERR1438 | 92 | 0.97826
100 | 185 | Plainview East | PLVEP160 | 321 | 0.94704
101 | 58 | Exell | EXEL1238 | 254 | 0.94094
102 | 238 | Dimmitt East | DIMEDI180 | 440 | 0.92273
103 | 4 | Lipscomb | LPSB2580 | 1049 | 0.898
104 | 206 | Garza | GARZ6520 | 384 | 0.89323
105 | 25 | Springlake | SPRISO140 | 195 | 0.87692
106 | 229 | Tenneco | TENNS440 | 210 | 0.84762
107 | 156 | McLean Rural | MCLE5300 | 805 | 0.84596
108 | 72 | Channing | CHAN1675 | 487 | 0.83573
109 | 61 | Roberts County | ROBE7065 | 95 | 0.81053
110 | 189 | Howard | HOWA2480 | 620 | 0.80806
111 | NA | Etter Rural | ETTR5420 | 10 | 0.8
112 | 148 | Allred | ALLRS140 | 347 | 0.79251
113 | 180 | Palo Duro | PALO1C35 | 959 | 0.78728
114 | 133 | West Borger | WBOR1A20 | 1273 | 0.7769
115 | 112 | Vega | VEGA5195 | 889 | 0.75141
116 | 24 | McCullough | MCCU5085 | 1262 | 0.73455
117 | 154 | Cedar Lake East | CEDES910 | 25 | 0.72
118 | 196 | Spring Draw | SPRD2C75 | 1132 | 0.70671
119 | 28 | Lockney Rural | LOCRLA140 | 69 | 0.69565
120 | 203 | South Georgia | SGEO2342 | 1017 | 0.68338
121 | 1 | Perryton | PERR1535 | 420 | 0.65714
122 | 147 | Riverview | RIVER095 | 467 | 0.6424
123 | 177 | Moore Co | MOORM055 | 61 | 0.63934
124 | 126 | South Floydada | SFLO3547 | 319 | 0.60815
125 | 339 | Adair | ADAIS790 | 17 | 0.58824
126 | 23 | Vega | VEGA5170 | 66 | 0.57576
127 | 71 | Kress Rural | KRERKR120 | 126 | 0.57143
128 | 139 | Vickers | VICK6680 | 1679 | 0.56522
129 | 277 | Hastings | HAST7086 | 968 | 0.55992
130 | 145 | La Plata | LAPL2D70 | 1531 | 0.54801
131 | 14 | Olton | OLTOSO180 | 568 | 0.54754
132 | 55 | Carson County | CARS7030 | 160 | 0.5375
133 | 336 | Plainview West | PLVWP120 | 219 | 0.53425
134 | 181 | Middleton | MIDDLV810 | 15 | 0.53333
135 | 137 | Osage | OSAG6060 | 136 | 0.52206
136 | 281 | Exell | EXEL1242 | 81 | 0.49383
137 | 150 | Levelland City | LEVCLV190 | 2245 | 0.49131
138 | 173 | Lawrence Park | LAWR5050 | 1196 | 0.48746
139 | 110 | Plainview South | PLVSP220 | 554 | 0.48736
140 | 7 | Weatherly | WEAT1350 | 1468 | 0.48569
141 | 161 | Pierce | PIER5B10 | 903 | 0.48173
142 | 176 | Kiser | KISRP970 | 1658 | 0.47286
143 | 2 | Etter Rural | ETTR5405 | 593 | 0.46374
144 | 162 | Estacado | ESTA5D15 | 685 | 0.46131
145 | 260 | Manhattan | MANH5135 | 695 | 0.44604
146 | 242 | Hastings | HAST7078 | 3477 | 0.44579
147 | 202 | Outpost | OUTP2A060 | 163 | 0.44172
148 | 175 | Prentice | PRENS875 | 32 | 0.4375
149 | 82 | Doss | DOSSS410 | 309 | 0.43689
150 | 168 | Carson County | CARS7034 | 55 | 0.43636
151 | 224 | Soncy | SONC5130 | 722 | 0.43213
152 | 155 | Osage | OUTP2A050 | 454 | 0.43172
153 | 335 | Hillside | HILS2B040 | 169 | 0.42604
154 | 190 | Lawrence Park | LAWR5030 | 1640 | 0.425
155 | 91 | Elwood | ELWOLV140 | 60 | 0.41667
156 | 268 | Canyon East | CANE5185 | 942 | 0.41507
157 | 146 | Canyon West | CANW7124 | 2333 | 0.41234
158 | 15 | Happy | HAPP7040 | 390 | 0.41026
159 | 213 | Dalhart | DALH116 | 261 | 0.39847
160 | 232 | Doss | DOSSS495 | 1035 | 0.39807
161 | 143 | Bowers | BOWE2057 | 561 | 0.3975
162 | 204 | Wildorado | WILD2018 | 222 | 0.3964
163 | 3 | Kingsmill | KING5100 | 99 | 0.39394
164 | 243 | Hereford | HERE2D45 | 1627 | 0.38906
165 | 200 | Farmers | FARM5395 | 1493 | 0.38446
166 | 166 | Levelland City | LEVCLV180 | 2267 | 0.38244
167 | 142 | Southeast | SOEA5C80 | 333 | 0.37838
168 | 164 | Dalhart | DALH1246 | 1787 | 0.37157
169 | 275 | Aiken Rural | AIKRLA110 | 117 | 0.36752
170 | 122 | Coburn Creek | CNCK1B25 | 146 | 0.36301
171 | 273 | Perryton | PERR1230 | 799 | 0.3617
172 | 197 | Sudan Rural | SUDRSR120 | 482 | 0.35685
173 | 184 | Spring Draw | SPRD2C80 | 1894 | 0.34952
174 | 255 | Morton | MORTM120 | 149 | 0.34899
175 | 50 | Whitaker | WHIT5260 | 1734 | 0.34775
176 | 57 | Van Buren | VANB7198 | 1598 | 0.34293
177 | 73 | Kingsmill | KING5115 | 857 | 0.34072
178 | 9 | Plainview North | PLVNP260 | 712 | 0.33567
179 | 208 | Manhattan | MANH7160 | 1236 | 0.33414
180 | 101 | Olton | OLTOSO170 | 664 | 0.32681
181 | 92 | Van Buren | VANB7046 | 3264 | 0.32659
182 | 216 | Whitharral | WHITLV710 | 86 | 0.32558
183 | 251 | Levelland East | LEVELV960 | 1087 | 0.32475
184 | 89 | Spearman | SPEA401 | 360 | 0.30833
185 | 84 | Fritch | FRIT1360 | 905 | 0.30387
186 | 35 | Westridge | WRIDP450 | 1503 | 0.30339
187 | 235 | Perryton | PERR1235 | 1628 | 0.29914
188 | 230 | Conway | CONW5005 | 1648 | 0.29794
189 | 248 | Howard | HOWA2485 | 407 | 0.2973
190 | 163 | Slaton | SLATSL140 | 569 | 0.29525
191 | 95 | Texas Farms | TXFA1125 | 194 | 0.29381
192 | 159 | Pierce | PIER5B00 | 1026 | 0.28752
193 | 263 | La Plata | LAPL2D65 | 2670 | 0.28689
194 | 211 | Lyons | LYON5C20 | 1419 | 0.28541
195 | 194 | Dawn | DAWN5A35 | 479 | 0.28392
196 | 236 | Lawrence Park | LAWR5275 | 1252 | 0.28275
197 | 258 | Industrial | INDU1412 | 1041 | 0.2805
198 | 246 | Osage | OSAG6040 | 2321 | 0.27531
199 | 214 | Lawrence Park | LAWR5025 | 1787 | 0.27364
200 | 254 | Osage | OSAG6065 | 1812 | 0.26766
201 | 174 | Barwise | BARWIB140 | 94 | 0.26596
202 | 188 | Sunset | SUNS1A030 | 543 | 0.26519
203 | 253 | Yellowhouse | YELLLV900 | 23 | 0.26087
204 | 70 | Arrowhead | ARRO5D85 | 2283 | 0.25887
205 | 247 | Littlefield City | LITCLI640 | 434 | 0.25346
206 | 256 | Littlefield South | LITSLI120 | 217 | 0.25346
207 | 231 | Pierce | PIER5B05 | 956 | 0.25
208 | 293 | South Georgia | SGEO2346 | 1102 | 0.24955
209 | 102 | Fritch | FRIT1364 | 1863 | 0.24906
210 | 316 | Perryton | PERR1530 | 1558 | 0.2484
211 | 212 | Tuco | TUCON404 | 786 | 0.243
212 | 245 | Dumas 19th Street | DU191470 | 2098 | 0.24214
213 | 265 | Moss | MOSS6320 | 1237 | 0.23929
214 | 44 | Tokio | TOKIS800 | 76 | 0.23684
215 | 183 | Lake Meredith | LAKM2B65 | 34 | 0.23529
216 | 297 | Hendrick | HEND6685 | 1050 | 0.23524
217 | 249 | Hastings | HAST7074 | 1450 | 0.23448
218 | 11 | Lawrence Park | LAWR5315 | 958 | 0.23069
219 | 228 | Doss | DOSS6670 | 1437 | 0.23034
220 | 271 | Moore Co | MOORM060 | 196 | 0.22959
221 | 301 | Kress Rural | KRERKR110 | 341 | 0.22287
222 | 244 | Manhattan | MANH7164 | 1647 | 0.21919
223 | 187 | Boardman | BOARS560 | 171 | 0.21637
224 | 157 | Flanagan | FLANS550 | 130 | 0.21538
225 | 108 | Roberts County | ROBE7090 | 494 | 0.21457
226 | 225 | Sherman County | SHER1448 | 14 | 0.21429
227 | 75 | Seminole Interchange | SEMX6E10 | 414 | 0.21256
228 | 151 | Wellman | WELLS755 | 245 | 0.20816
229 | 62 | Higg East | HGEA6A05 | 58 | 0.2069
230 | 223 | Hillside | HILS2B05 | 163 | 0.20245
231 | 186 | Farmers | FARM5390 | 1613 | 0.19715
232 | 104 | Van Buren | VANB7048 | 336 | 0.19643
233 | 49 | South Georgia | SGEO2338 | 3367 | 0.19602
234 | 207 | Springlake | SPRISO150 | 295 | 0.19322
235 | 250 | Kite | KITE5075 | 1258 | 0.19316
236 | 266 | Lipscomb | LPSB1E40 | 227 | 0.18943
237 | 317 | Slaton | SLATSL150 | 449 | 0.18931
238 | 27 | Springcreek | SPRI1320 | 90 | 0.18889
239 | 308 | Coulter | COUL5280 | 854 | 0.18735
240 | 252 | Lyons | LYON5C25 | 1832 | 0.18668
241 | 303 | Farwell | FARWFA610 | 323 | 0.18266
242 | 198 | Dalhart | DALH1298 | 1731 | 0.18198
243 | 67 | Southeast | SOEA5C85 | 2724 | 0.18172
244 | 321 | Canadian | CANA350 | 256 | 0.17578
245 | 64 | Hendrick | HEND6675 | 1248 | 0.16987
246 | 93 | 34th Street | 34ST5B90 | 903 | 0.16833
247 | 86 | Plainview West | PLVWP110 | 1440 | 0.16667
248 | 77 | Parmer County | PARM2475 | 831 | 0.16366
249 | 87 | Bush | BUSH5205 | 351 | 0.16239
250 | 295 | Estacado | ESTA5D10 | 2408 | 0.15864
251 | 278 | Coulter | COUL5290 | 1489 | 0.15715
252 | 99 | Lynn | LYNN6300 | 836 | 0.1555
253 | 282 | Garza | GARZPO120 | 335 | 0.15224
254 | 45 | Hastings | HAST7082 | 957 | 0.15047
255 | 149 | Riverview | RIVER090 | 20 | 0.15
256 | 54 | Spring Draw | SPRD2C70 | 1565 | 0.14824
257 | 319 | Garza | GARZPO110 | 507 | 0.14793
258 | 118 | Estacado | ESTA5D60 | 2332 | 0.14751
259 | 330 | Coulter | COUL5285 | 1219 | 0.14602
260 | 287 | Dumas 19th Street | DU191367 | 1895 | 0.14354
261 | 341 | Brisco | BRIS3457 | 14 | 0.14286
262 | 241 | Soncy | SONC7116 | 70 | 0.14286
263 | 100 | Muleshoe Valley | MULVMR155 | 1135 | 0.14097
264 | 60 | West Anton | WANT3502 | 634 | 0.14038
265 | 342 | Bush | BUSH5215 | 1362 | 0.13583
266 | 153 | Doss | DOSSS400 | 1085 | 0.13548
267 | 117 | Farmers | FARM5385 | 291 | 0.13058
268 | 138 | Wade | WADE1B025 | 31 | 0.12903
269 | 217 | Bennett | BENNS290 | 132 | 0.12879
270 | 191 | Boardman | BOARS430 | 24 | 0.125
271 | 257 | Littlefield South | LITSLI110 | 1556 | 0.12468
272 | 134 | Dalhart | DALH108 | 330 | 0.12424
273 | 298 | South Georgia | SGEO5B40 | 1956 | 0.12168
274 | NA | Western Street | WSST2D015 | 1155 | 0.11775
275 | 8 | Littlefield City | LITCLI630 | 86 | 0.11628
276 | 109 | Tuco | TUCON412 | 739 | 0.11367
277 | 329 | Riley | RILES510 | 115 | 0.11304
278 | 32 | McCullough | MCCU7005 | 1277 | 0.10807
279 | 192 | East Plant | EPLAA126 | 651 | 0.10599
280 | 346 | Sunset | SUNS1A035 | 58 | 0.10345
281 | 299 | Kite | KITE7106 | 631 | 0.10301
282 | 52 | Doss | DOSS6660 | 846 | 0.10047
283 | NA | Western Street | WSST2D020 | 1092 | 0.096154
284 | 285 | Muleshoe West | MULWMR140 | 670 | 0.09403
285 | 264 | Littlefield City | LITCLI610 | 309 | 0.093851
286 | 323 | Spearman | SPEA301 | 434 | 0.092166
287 | 107 | 34th Street | 34ST5B95 | 1784 | 0.089126
288 | 169 | Fain | FAIN1105 | 101 | 0.089109
289 | 6 | Bennett | BENNS345 | 1102 | 0.088929
290 | 98 | McCullough | MCCU7002 | 1235 | 0.088259
291 | 132 | Slaton | SLAT6690 | 849 | 0.084806
292 | 307 | Kingsmill | KING1B80 | 24 | 0.083333
293 | 332 | Littlefield City | LITCLI620 | 88 | 0.079545
294 | 314 | Puckett West | PUCW5C35 | 2303 | 0.078593
295 | 88 | Dalhart | DALH106 | 175 | 0.074286
296 | 219 | Lynn | LYNN6340 | 625 | 0.0736
297 | 259 | Dumas 19th Street | DU191175 | 1410 | 0.071631
298 | 90 | Plainview North | PLVNP270 | 154 | 0.071429
299 | 66 | Canyon East | CANE5190 | 2140 | 0.070093
300 | 280 | Outpost | OUTP2A055 | 1261 | 0.068993
301 | 227 | Southland | SOUTSO110 | 96 | 0.0625
302 | 201 | Happy | HAPP2326 | 278 | 0.057554
303 | 300 | Lariat | LARIMR110 | 53 | 0.056604
304 | 276 | Riley | RILES500 | 55 | 0.054545
305 | 127 | Sunset | SUNS5D40 | 1503 | 0.053227
306 | 289 | Spearman | SPEA302 | 575 | 0.052174
307 | 195 | Kress Rural | KRERKR140 | 140 | 0.05
308 | NA | Western Street | WSST2D025 | 889 | 0.048369
309 | 318 | Dimmitt South | DIMSDI120 | 345 | 0.046377
310 | 334 | Spearman | SPEA402 | 371 | 0.045822
311 | 288 | Coburn Creek | CNCK1B30 | 44 | 0.045455
312 | 325 | Levelland City | LEVCLV520 | 154 | 0.045455
313 | 111 | Texaco | TEXALV980 | 22 | 0.045455
314 | 135 | Lawrence Park | LAWR5020 | 1526 | 0.045216
315 | 13 | Adobe Creek | ADOB1115 | 89 | 0.044944
316 | 338 | Hillside | HILS2B035 | 2170 | 0.043318
317 | 123 | Dimmitt South | DIMSDI110 | 363 | 0.041322
318 | 269 | South Georgia | SGEO5B35 | 547 | 0.040219
319 | 209 | Lipscomb | LPSB1E50 | 489 | 0.038855
320 | 284 | Dimmitt East | DIMEDI150 | 891 | 0.034792
321 | 240 | Canadian | CANA325 | 395 | 0.032911
322 | 328 | Amherst | AMHEAM610 | 31 | 0.032258
323 | 43 | Dalhart | DALH1580 | 393 | 0.030534
324 | 119 | Farwell | FARWFA620 | 72 | 0.027778
325 | 22 | Lynn | LYNN6510 | 259 | 0.023166
326 | 347 | Sunset | SUNS5D35 | 47 | 0.021277
327 | 326 | Brownfield | BROW6580 | 303 | 0.019802
328 | 39 | Middleton | MIDDLV820 | 51 | 0.019608
329 | 106 | Kingsmill | KING5095 | 52 | 0.019231
330 | 311 | Jaybee | JAYBS765 | 55 | 0.018182
331 | 124 | Hart | HARTHA110 | 111 | 0.018018
332 | 274 | Canadian | CANA340 | 446 | 0.015695
333 | 41 | Plainview West | PLVWP130 | 819 | 0.013431
334 | 305 | Hillside | HILS2B10 | 884 | 0.010181
335 | 234 | Levelland East | LEVELV950 | 516 | 0.0096899
336 | 283 | Amherst | AMHEAM620 | 355 | 0.0084507
337 | 315 | South Georgia | SGEO5B30 | 596 | 0.0016779
338 | 320 | Estacado | ESTA5D70 | 725 | 0.0013793
339 | 340 | Bainer | BAINBA601 | 11 | 0
340 | 179 | Dalhart | DALH114 | 148 | 0
341 | 343 | Damron | DAMR5365 | 12 | 0
342 | 53 | Dawn | DAWN5A40 | 38 | 0
343 | 5 | Diekemper | DEIKDE110 | 70 | 0
344 | 337 | Hillside | HILS2B15 | 1641 | 0
345 | NA | Hunsley | HUNS2B105 | 892 | 0
346 | 220 | Mallet | MALLLV120 | 15 | 0
347 | 40 | Pacific | PACILV930 | 14 | 0
348 | 331 | Puckett West | PUCW5C30 | 744 | 0
349 | 345 | Puckett West | PUCW5C60 | 128 | 0
350 | 322 | Sudan Rural | SUDRSR110 | 24 | 0
351 | 324 | Van Buren | VANB7190 | 49 | 0
352 | 333 | Van Buren | VANB7194 | 94 | 0

## Feeder-SAIDI
Distribution Feeder Indices for Forced Interruptions
List all Distribution Feeders on Texas System |  |  |  |  | Total Number of Feeders
With 10 or more Customers |  |  |  |  | 352
Add or Delete Rows as Necessary
Xcel Energy
2020 SAIDI Ranking | 2019 SAIDI Ranking | Substation Identification | Feeder Identification | Number of Customers | 2020 SAIDI Value
1 | 107 | Lake Meredith | LAKM2B55 | 46 | 872.8646
2 | 25 | Burnett | BURN1398 | 94 | 715.7021
3 | 287 | Bowers | BOWE2053 | 51 | 587.8627
4 | 21 | Channing | CHAN1564 | 30 | 569.4607
5 | 76 | Highland Park | HIGH5325 | 249 | 528.7388
6 | 116 | Plainview East | PLVEP180 | 274 | 512.4294
7 | 233 | Moore Co | MOORM060 | 196 | 497.1162
8 | 117 | Conway | CONW5010 | 1490 | 491.9871
9 | 14 | Burnett | BURN1394 | 53 | 462.2264
10 | 46 | Wildorado | WILD2014 | 372 | 437.0568
11 | 31 | Sherman County | SHER1452 | 41 | 424.3259
12 | 64 | Channing | CHAN1675 | 487 | 422.2185
13 | 206 | Barwise | BARWIB130 | 63 | 412.5556
14 | 235 | Sherman County | SHER1456 | 1135 | 412.3111
15 | 268 | Whitaker | WHIT5265 | 125 | 411.5685
16 | 52 | Spearman Int | SPEX1512 | 975 | 408.0566
17 | 171 | Russell | RUSSS385 | 74 | 402.7297
18 | 16 | Roxana | ROXA2334 | 95 | 386.7066
19 | 34 | Coble | COBLLV835 | 245 | 383.5998
20 | 234 | Buffalo | BUFF5165 | 208 | 372.6587
21 | 109 | Riverview | RIVER100 | 259 | 369.6491
22 | 19 | Lehman | LEHMLV500 | 206 | 369.6214
23 | 308 | Zavala | ZAVALV780 | 14 | 346.8571
24 | 269 | South Floydada | SFLO3551 | 41 | 343.3415
25 | 29 | Channing | CHAN1568 | 59 | 317.5932
26 | 67 | Pringle | PRIN1E15 | 485 | 312.145
27 | 167 | Kingsmill | KING5105 | 336 | 298.5968
28 | 327 | Soncy | SONC7024 | 1247 | 291.5148
29 | 39 | Dalhart | DALH1664 | 85 | 291.2646
30 | 131 | Dumas 19th Street | DU191498 | 70 | 287.6857
31 | 38 | Highland Park | HIGH5335 | 1048 | 275.6104
32 | 9 | Herring | HERR1438 | 92 | 270.4829
33 | 47 | County Line | COLICL110 | 14 | 268.8571
34 | 288 | Carlisle | CARL6650 | 935 | 259.9273
35 | 95 | Kingsmill | KING5110 | 250 | 254.6194
36 | 18 | Irick | IRICIB110 | 107 | 250.5794
37 | 240 | East Plant | EPLAA118 | 2791 | 249.9949
38 | 248 | Tenneco | TENNS440 | 210 | 234.9895
39 | 57 | Pullman | PULL2A40 | 207 | 233.9237
40 | 85 | Murphy | MURP7535 | 1816 | 231.6409
41 | 195 | East Plant | EPLAA110 | 940 | 228.4904
42 | 169 | Seminole Interchange | SEMX6E00 | 1340 | 224.0593
43 | 51 | Roberts County | ROBE7065 | 95 | 216.5248
44 | 8 | Pacific | PACILV940 | 73 | 215.4151
45 | 53 | Moore Co | MOORM065 | 948 | 211.9524
46 | 139 | Weatherly | WEAT1354 | 883 | 211.2685
47 | 128 | Hale Center | HACTHR145 | 501 | 205.3713
48 | 323 | Parmer County | PARM2465 | 43 | 202.3488
49 | 24 | Lehman | LEHMLV510 | 73 | 202.3123
50 | 296 | Hale Center | HACTHR110 | 635 | 198.0176
51 | 55 | Buffalo | BUFF2215 | 463 | 196.81
52 | 69 | Whiteface | WHITLV210 | 146 | 196.2964
53 | 292 | East Plant | EPLAA122 | 2015 | 190.0495
54 | 102 | Herring | HERR1434 | 1183 | 187.033
55 | 104 | Springcreek | SPRI1316 | 342 | 178.2807
56 | 40 | Slaton | SLAT6600 | 1146 | 173.5257
57 | 37 | Vega | VEGA5195 | 889 | 172.3145
58 | 150 | Garza | GARZ6520 | 384 | 170.0161
59 | 43 | Exell | EXEL1238 | 254 | 168.334
60 | 152 | Bowers | BOWE5090 | 130 | 165.8289
61 | 49 | Carson County | CARS7030 | 160 | 161.8562
62 | 65 | Etter Rural | ETTR5410 | 766 | 156.2272
63 | 267 | Van Buren | VANB7044 | 1196 | 151.2852
64 | 339 | Adair | ADAIS790 | 17 | 151.2129
65 | 155 | Roxana | ROXA2076 | 398 | 150.8532
66 | 162 | Moore Co | MOORM055 | 61 | 149.2951
67 | 17 | Industrial | INDU1416 | 883 | 145.3932
68 | 35 | Muleshoe West | MULWMR130 | 202 | 145.2584
69 | 122 | Denver City East | DENES110 | 897 | 144.885
70 | 115 | Arrowhead | ARRO5D80 | 486 | 141.6423
71 | 112 | Moss | MOSS6540 | 317 | 141.4543
72 | 3 | Bennett | BENNS365 | 69 | 140.5857
73 | 185 | 34th Street | 34ST2B45 | 1947 | 138.9851
74 | 108 | Riverview | RIVER095 | 467 | 137.621
75 | 124 | Garza | GARZ6500 | 716 | 136.9026
76 | 218 | Allmon | ALLMAT120 | 700 | 134.6318
77 | 272 | Canadian | CANA335 | 295 | 132.4127
78 | 15 | Irick | IRICIB120 | 55 | 132.0364
79 | 111 | Cherry | CHER5C10 | 1738 | 131.8132
80 | 27 | Curry County Interchange | CURX3635 | 459 | 131.512
81 | 132 | Dumas 19th Street | DU191371 | 1253 | 130.0304
82 | 263 | Friona Rural | FRIO2436 | 1717 | 129.94
83 | 160 | Allred | ALLRS140 | 347 | 128.4841
84 | 325 | Canyon West | CANW5160 | 905 | 127.7212
85 | 118 | Whiteface | WHITLV220 | 261 | 125.5567
86 | 193 | Kite | KITE5B80 | 1101 | 125.3991
87 | 301 | Estacado | ESTA5D65 | 2173 | 124.4915
88 | 279 | Morton | MORTM130 | 851 | 124.0394
89 | 10 | Lipscomb | LPSB2580 | 1049 | 120.6008
90 | 6 | Etter Rural | ETTR5405 | 593 | 116.954
91 | 142 | Lockney Rural | LOCR3417 | 931 | 114.4039
92 | 93 | McLean Rural | MCLE5300 | 805 | 114.2508
93 | 140 | 34th Street | 34ST5B85 | 1055 | 113.0223
94 | 309 | Monroe | MONR6610 | 454 | 111.5834
95 | 147 | Cherry | CHER5C15 | 1682 | 111.2874
96 | 23 | Vega | VEGA5170 | 66 | 110.3636
97 | 170 | Estacado | ESTA5D20 | 1890 | 108.9804
98 | 22 | Lockney Rural | LOCRLA150 | 87 | 107.8089
99 | 306 | Brisco | BRIS3434 | 482 | 106.7718
100 | 241 | Whitaker | WHIT5270 | 2754 | 104.8504
101 | 7 | Springlake | SPRISO140 | 195 | 103.4667
102 | 214 | Howard | HOWA2480 | 620 | 100.6477
103 | 237 | Littlefield West | LITWLI156 | 247 | 98.3787
104 | 200 | West Borger | WBOR1A20 | 1273 | 97.27
105 | 148 | Kress Rural | KRERKR120 | 126 | 95.873
106 | 86 | Bowers | BOWE2057 | 561 | 93.8264
107 | 1 | Perryton | PERR1535 | 420 | 92.6301
108 | 159 | Spring Draw | SPRD2C75 | 1132 | 92.183
109 | 203 | Yellowhouse | YELLLV900 | 23 | 91.5652
110 | 188 | Dimmitt East | DIMEDI180 | 440 | 89.1711
111 | 217 | Hereford | HERE2D50 | 760 | 85.0238
112 | 137 | Coburn Creek | CNCK1B25 | 146 | 83.4595
113 | 202 | Cedar Lake East | CEDES910 | 25 | 82.08
114 | 127 | Carson County | CARS7034 | 55 | 78.2767
115 | 164 | Hart | HARTHA120 | 543 | 73.9437
116 | 311 | Garza | GARZPO120 | 335 | 73.2322
117 | 297 | Soncy | SONC7020 | 417 | 72.9736
118 | 228 | Dalhart | DALH116 | 261 | 72.6552
119 | 179 | Bush | BUSH5210 | 1866 | 72.6253
120 | 141 | Canyon West | CANW7128 | 896 | 72.0434
121 | 61 | Lockney Rural | LOCRLA140 | 69 | 71.942
122 | 143 | Plainview East | PLVEP160 | 321 | 71.1184
123 | 337 | Plainview West | PLVWP120 | 219 | 70.8219
124 | 54 | Elwood | ELWOLV140 | 60 | 70.4272
125 | 273 | Hastings | HAST7086 | 968 | 69.9757
126 | 63 | Vickers | VICK6680 | 1679 | 67.2428
127 | 210 | Lawrence Park | LAWR5030 | 1640 | 65.7849
128 | 197 | La Plata | LAPL2D70 | 1531 | 65.6858
129 | 249 | Soncy | SONC5130 | 722 | 64.4256
130 | 106 | McCullough | MCCU5085 | 1262 | 64.3383
131 | 149 | Denver City East | DENES100 | 1014 | 64.1958
132 | 175 | Hastings | HAST7078 | 3477 | 63.5497
133 | 242 | Exell | EXEL1242 | 81 | 63.3456
134 | 184 | Farmers | FARM5395 | 1493 | 62.7293
135 | 236 | Sudan Rural | SUDRSR120 | 482 | 62.5519
136 | 13 | Plant X | PLAXX310 | 617 | 62.3874
137 | 153 | Palo Duro | PALO1C35 | 959 | 61.7861
138 | 282 | Canyon East | CANE5185 | 942 | 61.6274
139 | 72 | Weatherly | WEAT1350 | 1468 | 61.4312
140 | 88 | South Floydada | SFLO3547 | 319 | 60.3253
141 | 20 | Plainview North | PLVNP260 | 712 | 59.8693
142 | 134 | Lawrence Park | LAWR5050 | 1196 | 58.9373
143 | 227 | Conway | CONW5005 | 1648 | 56.4229
144 | 121 | Pierce | PIER5B10 | 903 | 54.6478
145 | 151 | Prentice | PRENS875 | 32 | 54.5625
146 | 222 | Kiser | KISRP970 | 1658 | 54.2046
147 | 231 | Manhattan | MANH5135 | 695 | 53.4058
148 | 216 | Outpost | OUTP2A060 | 163 | 52.6319
149 | 221 | Wildorado | WILD2018 | 222 | 51.719
150 | 253 | Kiser | KISRP965 | 1964 | 51.397
151 | 145 | Southeast | SOEA5C80 | 333 | 50.1378
152 | 87 | Osage | OSAG6060 | 136 | 50.0687
153 | 59 | Happy | HAPP7040 | 390 | 49.5013
154 | 178 | Westridge | WRIDP460 | 552 | 48.365
155 | 213 | Manhattan | MANH7160 | 1236 | 47.8159
156 | 243 | Lyons | LYON5C25 | 1832 | 46.6583
157 | 113 | Osage | OUTP2A050 | 454 | 46.5841
158 | 239 | Fritch | FRIT1364 | 1863 | 46.3807
159 | 300 | Plainview South | PLVSP230 | 573 | 46.1483
160 | 154 | Sunset | SUNS1A030 | 543 | 45.8906
161 | 168 | Canyon West | CANW7124 | 2333 | 45.7508
162 | 224 | Lawrence Park | LAWR5025 | 1787 | 45.6949
163 | 274 | Aiken Rural | AIKRLA110 | 117 | 45.3932
164 | 157 | Plainview South | PLVSP210 | 142 | 45.162
165 | 344 | Lockney Rural | LOCR3421 | 21 | 44.381
166 | 189 | Hillside | HILS2B05 | 163 | 44.3374
167 | 136 | Whitaker | WHIT5260 | 1734 | 44.0325
168 | 276 | Perryton | PERR1230 | 799 | 43.9841
169 | NA | Etter Rural | ETTR5420 | 10 | 43.828
170 | 163 | Dawn | DAWN5A35 | 479 | 43.6295
171 | 186 | Van Buren | VANB7046 | 3264 | 42.2835
172 | 74 | Spearman | SPEA401 | 360 | 42.0522
173 | 181 | Spring Draw | SPRD2C80 | 1894 | 41.569
174 | 125 | Estacado | ESTA5D15 | 685 | 41.5415
175 | 146 | Slaton | SLATSL140 | 569 | 41.5255
176 | 219 | Lipscomb | LPSB1E40 | 227 | 41.1238
177 | 130 | Lawrence Park | LAWR5275 | 1252 | 41.0755
178 | 256 | South Georgia | SGEO2342 | 1017 | 41.06
179 | 90 | Van Buren | VANB7198 | 1598 | 40.6263
180 | 91 | Van Buren | VANB7048 | 336 | 40.0401
181 | 247 | Morton | MORTM120 | 149 | 39.4899
182 | 307 | Perryton | PERR1530 | 1558 | 39.2863
183 | 36 | Olton | OLTOSO180 | 568 | 38.3521
184 | 33 | Texas Farms | TXFA1125 | 194 | 38.0036
185 | 225 | Manhattan | MANH7164 | 1647 | 37.69
186 | 192 | Middleton | MIDDLV810 | 15 | 37.6
187 | 12 | Kingsmill | KING5100 | 99 | 37.4616
188 | 199 | Perryton | PERR1235 | 1628 | 36.9807
189 | 251 | Lyons | LYON5C20 | 1419 | 36.7119
190 | 220 | Levelland City | LEVCLV180 | 2267 | 36.1204
191 | 56 | Olton | OLTOSO170 | 664 | 35.8986
192 | 286 | Kite | KITE5075 | 1258 | 35.8768
193 | 156 | Dalhart | DALH1246 | 1787 | 35.7782
194 | 30 | Whitharral | WHITLV710 | 86 | 35.6628
195 | 259 | Industrial | INDU1412 | 1041 | 35.3627
196 | 281 | Muleshoe Valley | MULVMR150 | 472 | 34.5572
197 | 5 | Springcreek | SPRI1320 | 90 | 33.7464
198 | 103 | Fritch | FRIT1360 | 905 | 33.5553
199 | 133 | Riverview | RIVER090 | 20 | 33.5
200 | 294 | Puckett West | PUCW5C35 | 2303 | 33.4217
201 | 271 | Soncy | SONC7116 | 70 | 33.2857
202 | 229 | Sherman County | SHER1448 | 14 | 32.7143
203 | 246 | Osage | OSAG6065 | 1812 | 32.4176
204 | 244 | Hereford | HERE2D45 | 1627 | 32.145
205 | 126 | Southeast | SOEA5C85 | 2724 | 31.5696
206 | 73 | Seminole Interchange | SEMX6E10 | 414 | 31.5266
207 | 211 | Osage | OSAG6040 | 2321 | 31.3946
208 | 183 | Plainview South | PLVSP220 | 554 | 29.5064
209 | 304 | Coulter | COUL5280 | 854 | 28.8548
210 | 89 | Arrowhead | ARRO5D85 | 2283 | 27.8856
211 | 190 | Barwise | BARWIB140 | 94 | 27.8191
212 | 32 | Lawrence Park | LAWR5315 | 958 | 27.7809
213 | 254 | La Plata | LAPL2D65 | 2670 | 27.6459
214 | 258 | Pierce | PIER5B05 | 956 | 27.4074
215 | 277 | Moss | MOSS6320 | 1237 | 27.2595
216 | 245 | Levelland City | LEVCLV190 | 2245 | 27.2289
217 | 176 | Dalhart | DALH1298 | 1731 | 27.1364
218 | 26 | Tokio | TOKIS800 | 76 | 26.9474
219 | 207 | Tuco | TUCON404 | 786 | 26.855
220 | 238 | Hastings | HAST7074 | 1450 | 26.8002
221 | 120 | Dalhart | DALH108 | 330 | 26.5061
222 | 312 | Kress Rural | KRERKR110 | 341 | 26.0139
223 | 172 | Pierce | PIER5B00 | 1026 | 25.9397
224 | 280 | Howard | HOWA2485 | 407 | 25.7199
225 | 174 | Lake Meredith | LAKM2B65 | 34 | 25
226 | 275 | Littlefield South | LITSLI120 | 217 | 24.6221
227 | 232 | Doss | DOSSS495 | 1035 | 24.3854
228 | 264 | Doss | DOSS6670 | 1437 | 24.2037
229 | 79 | Hendrick | HEND6675 | 1248 | 23.2677
230 | 166 | East Plant | EPLAA126 | 651 | 22.4108
231 | 342 | Bush | BUSH5215 | 1362 | 22.0264
232 | 70 | Kingsmill | KING5115 | 857 | 21.4056
233 | 81 | Westridge | WRIDP450 | 1503 | 21.3012
234 | 161 | Doss | DOSSS410 | 309 | 21.2385
235 | 209 | Boardman | BOARS430 | 24 | 21.2083
236 | 71 | South Georgia | SGEO2338 | 3367 | 21.172
237 | 187 | Springlake | SPRISO150 | 295 | 21.0479
238 | 265 | Hendrick | HEND6685 | 1050 | 20.8081
239 | 266 | Littlefield City | LITCLI640 | 434 | 20.2673
240 | 196 | West Borger | WBOR1A10 | 1196 | 19.8318
241 | 302 | South Georgia | SGEO2346 | 1102 | 19.7553
242 | 278 | Levelland East | LEVELV960 | 1087 | 19.6578
243 | 82 | Bush | BUSH5205 | 351 | 19.4315
244 | 208 | Farmers | FARM5390 | 1613 | 18.9851
245 | 335 | Hillside | HILS2B040 | 169 | 18.8053
246 | 182 | Flanagan | FLANS550 | 130 | 18.7923
247 | 75 | Parmer County | PARM2475 | 831 | 18.7658
248 | 336 | Canadian | CANA350 | 256 | 18.7539
249 | 205 | Estacado | ESTA5D60 | 2332 | 18.4581
250 | 77 | West Anton | WANT3502 | 634 | 18.1688
251 | 110 | Wellman | WELLS755 | 245 | 18.0816
252 | 204 | Boardman | BOARS560 | 171 | 17.9942
253 | 78 | Fain | FAIN1105 | 101 | 17.9601
254 | 324 | Garza | GARZPO110 | 507 | 17.4892
255 | 66 | Lynn | LYNN6300 | 836 | 17.1311
256 | 270 | Dumas 19th Street | DU191470 | 2098 | 17.1069
257 | 94 | Roberts County | ROBE7090 | 494 | 16.5628
258 | 295 | South Georgia | SGEO5B40 | 1956 | 16.3708
259 | 83 | Bennett | BENNS345 | 1102 | 15.6933
260 | 319 | Coulter | COUL5285 | 1219 | 15.1466
261 | 84 | Spring Draw | SPRD2C70 | 1565 | 15.0897
262 | 114 | 34th Street | 34ST5B90 | 903 | 15.0639
263 | NA | Western Street | WSST2D015 | 1155 | 14.8424
264 | 260 | Littlefield South | LITSLI110 | 1556 | 14.5019
265 | 346 | Sunset | SUNS1A035 | 58 | 14.2241
266 | 215 | Bennett | BENNS290 | 132 | 14.197
267 | 41 | Higg East | HGEA6A05 | 58 | 14.069
268 | 285 | Estacado | ESTA5D10 | 2408 | 13.9576
269 | 158 | Farmers | FARM5385 | 291 | 13.7938
270 | 138 | Dalhart | DALH106 | 175 | 13.6686
271 | 262 | Coulter | COUL5290 | 1489 | 13.5871
272 | 177 | 34th Street | 34ST5B95 | 1784 | 13.4451
273 | 318 | Spearman | SPEA301 | 434 | 13.182
274 | 45 | Hastings | HAST7082 | 957 | 12.94
275 | 226 | Littlefield City | LITCLI610 | 309 | 12.5631
276 | 96 | Wade | WADE1B025 | 31 | 12.3329
277 | 80 | Plainview West | PLVWP110 | 1440 | 11.5771
278 | 293 | Dumas 19th Street | DU191367 | 1895 | 11.4335
279 | 321 | Farwell | FARWFA610 | 323 | 11.0557
280 | 328 | Riley | RILES510 | 115 | 10.4261
281 | 194 | Doss | DOSSS400 | 1085 | 10.3991
282 | 135 | McCullough | MCCU7005 | 1277 | 10.1935
283 | 305 | Slaton | SLATSL150 | 449 | 10.1079
284 | 341 | Brisco | BRIS3457 | 14 | 10
285 | 97 | Sunset | SUNS5D40 | 1503 | 9.6618
286 | 290 | Muleshoe West | MULWMR140 | 670 | 9.6224
287 | 123 | Tuco | TUCON412 | 739 | 9.4793
288 | 50 | Lynn | LYNN6340 | 625 | 8.832
289 | NA | Western Street | WSST2D025 | 889 | 8.7977
290 | 144 | McCullough | MCCU7002 | 1235 | 8.7935
291 | 212 | Southland | SOUTSO110 | 96 | 8.3958
292 | 92 | Littlefield City | LITCLI630 | 86 | 8.3721
293 | 257 | Dumas 19th Street | DU191175 | 1410 | 8.0984
294 | 173 | Muleshoe Valley | MULVMR155 | 1135 | 7.8678
295 | NA | Western Street | WSST2D020 | 1092 | 7.8205
296 | 99 | Slaton | SLAT6690 | 849 | 7.6302
297 | 201 | Outpost | OUTP2A055 | 1261 | 7.2506
298 | 98 | Canyon East | CANE5190 | 2140 | 7.1953
299 | 317 | Hillside | HILS2B10 | 884 | 6.9536
300 | 48 | Plainview North | PLVNP270 | 154 | 6.8117
301 | 129 | Lawrence Park | LAWR5020 | 1526 | 6.7706
302 | 68 | Doss | DOSS6660 | 846 | 6.7329
303 | 284 | Kite | KITE7106 | 631 | 6.5595
304 | 298 | Spearman | SPEA302 | 575 | 5.5667
305 | 28 | Lynn | LYNN6510 | 259 | 5.4991
306 | 314 | Lariat | LARIMR110 | 53 | 5.4717
307 | 315 | Kingsmill | KING1B80 | 24 | 5.3333
308 | 165 | Happy | HAPP2326 | 278 | 4.8561
309 | 223 | Canadian | CANA325 | 395 | 4.7747
310 | 289 | Dimmitt East | DIMEDI150 | 891 | 4.6162
311 | 4 | Adobe Creek | ADOB1115 | 89 | 4.4944
312 | 332 | Spearman | SPEA402 | 371 | 4.4286
313 | 58 | Dalhart | DALH1580 | 393 | 4.2392
314 | 191 | Lipscomb | LPSB1E50 | 489 | 3.9877
315 | 303 | Coburn Creek | CNCK1B30 | 44 | 3.8409
316 | 334 | Littlefield City | LITCLI620 | 88 | 3.8182
317 | 329 | Levelland City | LEVCLV520 | 154 | 3.7273
318 | 347 | Sunset | SUNS5D35 | 47 | 3.7234
319 | 299 | Canadian | CANA340 | 446 | 3.4843
320 | 330 | Amherst | AMHEAM610 | 31 | 3.3871
321 | 230 | Kress Rural | KRERKR140 | 140 | 3.3071
322 | 322 | Brownfield | BROW6580 | 303 | 3.0495
323 | 291 | Riley | RILES500 | 55 | 2.9636
324 | 252 | Dimmitt South | DIMSDI120 | 345 | 2.9333
325 | 338 | Hillside | HILS2B035 | 2170 | 2.741
326 | 316 | Jaybee | JAYBS765 | 55 | 2.6545
327 | 62 | Texaco | TEXALV980 | 22 | 2.5455
328 | 283 | South Georgia | SGEO5B35 | 547 | 2.3181
329 | 44 | Dimmitt South | DIMSDI110 | 363 | 2.2397
330 | 101 | Kingsmill | KING5095 | 52 | 2.0962
331 | 198 | Farwell | FARWFA620 | 72 | 2
332 | 42 | Middleton | MIDDLV820 | 51 | 1.5882
333 | 100 | Hart | HARTHA110 | 111 | 1.4144
334 | 180 | Plainview West | PLVWP130 | 819 | 0.96825
335 | 255 | Levelland East | LEVELV950 | 516 | 0.78682
336 | 261 | Amherst | AMHEAM620 | 355 | 0.52625
337 | 250 | South Georgia | SGEO5B30 | 596 | 0.1745
338 | 320 | Estacado | ESTA5D70 | 725 | 0.12138
339 | 340 | Bainer | BAINBA601 | 11 | 0
340 | 119 | Dalhart | DALH114 | 148 | 0
341 | 343 | Damron | DAMR5365 | 12 | 0
342 | 60 | Dawn | DAWN5A40 | 38 | 0
343 | 2 | Diekemper | DEIKDE110 | 70 | 0
344 | 331 | Hillside | HILS2B15 | 1641 | 0
345 | NA | Hunsley | HUNS2B105 | 892 | 0
346 | 105 | Mallet | MALLLV120 | 15 | 0
347 | 11 | Pacific | PACILV930 | 14 | 0
348 | 313 | Puckett West | PUCW5C30 | 744 | 0
349 | 345 | Puckett West | PUCW5C60 | 128 | 0
350 | 326 | Sudan Rural | SUDRSR110 | 24 | 0
351 | 333 | Van Buren | VANB7190 | 49 | 0
352 | 310 | Van Buren | VANB7194 | 94 | 0

## Causes
Xcel Energy
INTERRUPTION CAUSES
Provide the percentage of interruptions attributable to each cause.
2020 Reporting Year
| Causes of Forced Interruptions |  | Percentage
|  | Weather (Including Lightning) | 11.76%
|  | Vegetation | 1.524%
|  | Animals and Birds | 6.251%
|  | People (Including cars and farm equip) | 9.589%
|  | Utility-owned Equipment | 56.12%
|  | Other | 1.459%
|  | Unknown | 13.3%