TO:		Merritt Lander, Attorney

Legal Division

FROM:	Jolie Mathis, Utility Engineering Specialist

Infrastructure Division

DATE:		April 22, 2021

RE:	Docket No. 51753 – Application of Quadvest, L.P. to Amend Its Certificate of Convenience and Necessity in Waller County

On January 22, 2021, Quadvest, L.P. (Quadvest) filed with the Public Utility Commission of Texas (Commission) an application to amend its water certificate of convenience and necessity (CCN) No. 11612 and sewer CCN No. 20952 in Fort Bend County, Texas under Texas Water Code (TWC) §§ 13.242 to 13.250 and 16 Texas Administrative Code (TAC) §§ 24.225 to 24.237.

The requested area includes approximately 21.5 acresof uncertificated area. The result of the application will be the addition of approximately 21.5 acres to water CCN No. 11612 and sewer CCN No. 20952.

The original application indicates that the total acreage being requested is approximately 67 acres.  Based on the mapping review of Quadvest’s revised digital mapping data filed on March 11, 2021 by Tracy Montes, Infrastructure Division, it was determined the requested area is approximately 21.5 acres.

Based on Ms. Montes’s mapping review, the maps filed on February 1, 2021 and the digital mapping data filed on March 11, 2021, the mapping documentation is sufficient. In addition, based on my technical and managerial review of the additional information filed by Quadvest on March 11, 2021, I recommend that the application be deemed administratively complete.  I further recommend that Quadvest be ordered to do the following:

- Provide notice of the application by first-class mail to the following:

  - Cities, districts, and neighboring retail public utilities providing the same utility service whose corporate boundaries or certificated service area are located within two miles from the outer boundary of the requested area:

- City of Fulshear

- Cinco Southwest MUD 1

- Cinco Southwest MUD 2

- Cinco Southwest MUD 3

- Cinco Southwest MUD 4

- Fort Bend County Drainage District

- Fort Bend County Improvement District 24

- Fort Bend County MUD 132

- Fort Bend County MUD 142

- Fort Bend County MUD 170

- Fort Bend County MUD 171

- Fort Bend County MUD 172

- Fort Bend County MUD 173

- Fort Bend County MUD 229 – [For address, see www.districtdirectory.org]

- North Fort Bend Water Authority

- San Jacinto River Authority

  - The county judge of each county that is wholly or partially included in the requested area:

- Fort Bend County

  - Each groundwater conservation district that is wholly or partially included in the requested area:

- Fort Bend County Drainage District

  - Each landowner of a tract of land that is at least 25 acres and is wholly or partly located in the requested area.  Notice must be mailed to the owner of the tract of land according to the most current tax appraisal rolls of the applicable central appraisal district at the time the application was filed.

  - Any affected customers, and other affected parties in the requested area.

Addresses can be obtained by the Quadvest from the Water Utility Database at http://www.puc.texas.gov/watersearch.  District information and addresses can be obtained from the Texas Commission on Environmental Quality’s (TCEQ) web site located at http://www14.tceq.texas.gov/iwud/.

- Publish notice once each week for two consecutive weeks in a newspaper having general circulation in the county where the requested area is located.  Proof in the form of a publisher’s affidavit must be filed within 30 days of the publication date.  The affidavit must state with specificity each county in which the newspaper is of general circulation.  Within 30 days of the date the notice was mailed, Quadvest must file an affidavit specifying the notice that was provided to every person and entity to whom notice was provided and the date the notice was mailed.

- Provide notice using the attached notice forms.

- Provide a copy of the map(s) deemed sufficient during administrative review delineating the requested area with each individual notice to neighboring utilities, other affected parties, landowners and customers.

- File in the docket a copy of notice and the map(s) deemed sufficient during administrative review along with the signed affidavit specifying every person and entity to whom notice was provided, the date that the notice was provided, and the publisher’s affidavit and tear sheets for proof of newspaper publication.

Staff may determine that additional information is needed to make a final recommendation in this docket.  If additional information is needed, Staff may send requests for information (RFI) to Quadvest. Quadvest will have 20 days from the receipt of the RFI to respond.