TO:		Merritt Lander, Attorney

Legal Division

FROM:	Jolie Mathis, Utility Engineering Specialist

Infrastructure Division

DATE:		February 22, 2021

RE:	Docket No. 51753 – Application of Quadvest, L.P. to Amend its Certificate of Convenience and Necessity in Waller County

On January 22, 2021, Quadvest, L.P. (Quadvest) filed with the Public Utility Commission of Texas (Commission) an application to amend its water certificate of convenience and necessity (CCN) No. 11612 and sewer CCN No. 20952 in Waller County, Texas under Texas Water Code (TWC) §§ 13.242 to 13.250 and 16 Texas Administrative Code (TAC) §§ 24.225 to 24.237.

Based on the mapping review by Tracy Montes, of the Commission’s Infrastructure Division, and my technical and managerial review of the information and supplements filed by Quadvest, I recommend that the application be deemed administratively incomplete and not accepted for filing.

Application Content:

The following deficiencies must be remedied:

- Application Summary

Please state the correct the county affected by this application: Based on information provided in the application, it appears that the requested area is in Fort Bend County, not Waller County.

- Texas Commission on Environmental Quality (TCEQ) Plan Approval

The application states that new facilities will need to be constructed to serve the requested area and that “TCEQ amendments will be submitted to the agency within 30-45 days.” As of the date of this recommendation, proof of submission of constructions plans to TCEQ has not been provided.  Quadvest must provide proof that construction plans for all new facilities have been submitted to TCEQ.

Mapping Content:

Quadvest  must resolve the following mapping deficiencies:

Shapefiles identifying the requested area were not submitted with Quadvest’s application or its supplemental filing on February 1, 2021.

Quadvest must e-file the following items to resolve the mapping deficiencies:

- Digital mapping data for the requested area, as a single polygon record, in shapefile (SHP) format, georeferenced in either NAD83 Texas Statewide Mapping System (Meters) or NAD83 Texas State Plane Coordinate System (US Feet).