TO:		Merritt Lander, Attorney

Legal Division

FROM:	Maxine Gilford, Financial Analyst

Rate Regulation Division

DATE:		March 29, 2021

RE:	Tariff Control No. 51788 - Application of Undine Texas, LLC for a Pass-Through Rate Change

On February 3, 2021, Undine Texas, LLC (Undine) filed an application to implement pass-through rate changes under 16 Texas Administrative Code § 24.25(b)(2).  Undine is providing service in eight subdivisions under certificate of convenience and necessity (CCN) number 13260, and the application included a copy of the tariff pages for CCN number 13260 that contain the rates that will change if the application is approved.  A copy of the notice provided to customers in all eight subdivisions was also filed with the application.  Staff has reviewed the supplemental information filed on March 19 and 26, 2021, and the application and notices.

Depending on the subdivision, the requested increases are, in part, the result of changes in line loss, or a combination of a change in line loss and an increase to the well pumpage fee charged by the North Harris County Regional Water Authority (NHCRWA), the Groundwater Reduction Plan (GRP) fee charged by the San Jacinto River Authority (SJRA), or the GRP fee charged by the City of Houston.

Undine claims actual line losses ranging from 21.55% to 52.66%.  Tariff Control No. 49570 was the last pass-through rate change application associated with Undine.  In that proceeding, Staff recommended that an average line loss or actual line loss be used to calculate the pass-through rate.  The pass-through rate calculations for the current application are consistent with this recommendation.

Staff has calculated the average line loss for all eight subdivisions as 31.37%.  The table below shows Staff’s recommended pass-through rates.  Staff recommends that the subdivisions that have lower actual line loss than the 31.37% average line loss use actual line loss for the calculation of the pass-through rate and that the subdivisions that have higher line loss than the 31.37% average line loss use the average line loss for the calculation of the pass-through rate.  Applying this recommendation, the adjusted gallonage rates for Greengate Acres, Springmont, Porter Terrace, Spring Forest, Huffman Heights, and Pioneer Trails are calculated based on their actual line loss.  The recommended pass-through rates for Urban Acres and Meadowlake Estates are calculated based on the 31.37% average line loss.

Staff recommends that Undine be allowed to implement the following recommended pass-through rates ($/1,000 gallons):

| Subdivision | Current Pass-Through Rates (per 1,000 gallons) | Line Loss Used to Calculate Recommended Pass-Through Rate | Requested Pass-Through Rates | Recommended Pass-Through Rates (per 1,000 gallons) |
| --- | --- | --- | --- | --- |
| Greengate Acres | $5.86 | .3094 (actual) | $6.66 | $6.66 |
| Springmont | $6.20 | .2308 (actual) | $5.98 | $5.98 |
| Porter Terrace | $4.25 | .2155 (actual) | $3.48 | $3.48 |
| Spring Forest | $3.82 | .2864 (actual) | $3.83 | $3.83 |
| Urban Acres | $1.47 | .3137 (average) | $2.07 | $1.43 |
| Huffman Heights | $1.23 | .3016 (actual) | $1.40 | $1.40 |
| Meadowlake Estates | $4.06 | .3137 (average) | $3.94 | $3.80 |
| Pioneer Trails | $8.38 | .3013 (actual) | $8.59 | $8.59 |

16 TAC § 24.25(b)(2)(F)(i)(I).

16 TAC § 24.25(b)(2)(F)(i)(VIII).

16 TAC § 24.25(b)(2)(F)(i)(III).

Application of Undine Texas, LLC for a Pass Through Rate Change, Tariff Control No. 49570, Notice of Approval, Finding of Fact No. 15 (Feb. 3, 2020).