TO:		M. Justin Ackley, Attorney

Legal Division

FROM:	Patricia Garcia, Senior Engineering Specialist

Infrastructure Division

DATE:		March 8, 2021

RE:	Docket No. 51801 – Application of the City of Schertz to Amend its a Sewer Certificate of Convenience and Necessity in Comal County

On February 8, 2021, the City of Schertz (Schertz) filed with the Public Utility Commission of Texas (Commission) an application to amend its sewer CCN number 20271 in Comal County, Texas under Texas Water Code (TWC) §§ 13.242 to 13.250 and 16 Texas Administrative Code (TAC) §§ 24.225 to 24.237.  The requested area includes approximately 150 acres, comprised of 150 acres of uncertificated area.

The result of the application/petition will be the addition of approximately 150 acres to CCN number 20271.

Based on the mapping review by Gary Horton, Infrastructure Division, the financial and managerial review by Fred Bednarski, III, Rate Regulation Division, and my technical and managerial review of the original application and the additional information filed by Schertz February 11, 2021,  I recommend that the application be deemed administratively incomplete and not accepted for filing.

Application Content:

The following deficiencies must be remedied, please provide:

- A letter from the developer/landowner requesting service from the City of Schertz for the requested area or the annexation documents showing the area has been annexed into the city limits.

- A map showing the requested area with the city limit border.

- A copy of the TCEQ discharge permit that will be providing service to the area. The TCEQ discharge permit number provided in the application does not pull up anything in the TCEQ Central Registry database.

- The date of last TCEQ Sewer System inspection by the TCEQ.

- The number of additional connections for the requested area (how many connections are expected at build out?).

- A signed and dated copy of the most current sewer treatment capacity purchase agreement or contract.

- The operator information.

- The exact address for Schertz Public Works for the published notice.

Note: Any confidential items should be submitted as confidential filings with the PUC.  The instructions for filing confidential documents can be found on our website at: (http://www.puc.texas.gov/industry/filings/FilingProceed.aspx).