TO:		Kourtnee Jinks, Attorney

Legal Division

FROM:	Pai Liu, Policy Advisor

Infrastructure Division

DATE:		July 19, 2021

RE:	Docket No. 51811 – Petition of the City of Georgetown and Jarrell-Schwertner Water Supply Corporation for Approval of Service Area Contract Under Texas Water Code § 13.248 and to Amend Certificates of Convenience and Necessity in Williamson County

On February 11, 2021, the City of Georgetown (Georgetown) and Jarrell-Schwertner Water Supply Corporation (JSWSC) (collectively, Petitioners) filed a petition for approval of a service area contract under Texas Water Code (TWC) § 13.248 and to amend Georgetown’s water certificate of convenience and necessity (CCN) No. 12369  and JSWSC’s water CCN No. 10002  in Williamson  County, Texas. The Petitioners’ TWC § 13.248 service area contract is being reviewed in accordance with 16 Texas Administrative Code (TAC) § 24.253.

The Petitioners filed an agreement requesting that JSWSC be permitted to continue to provide retail water utility service to 14 property owners that are located within Georgetown’s water CCN No. 12369.

Specifically, Georgetown and JSWSC entered into a contractual agreement which permits JSWSC to provide water services within the agreed upon water service area. The Petitioners will not transfer assets or facilities under the terms of the agreement.

Based on the mapping review by Tracy Montes, Infrastructure Division and my technical review of the additional information filed by the Petitioners on June 3, 2021, I recommend that the petition be deemed administratively incomplete and not accepted for filing.

Petition Content:

The following deficiencies must be remedied:

The maps and digital mapping data filed on June 3, 2021 for the requested area includes approximately 4,244 acres, whereas the agreement filed on February 25, 2021 and Georgetown’s meeting minutes filed on March 2, 2021, both state the requested area includes approximately 4,288 acres.

JSWSC must submit the following item to resolve the mapping deficiency:

JSWSC must clarify the approximate total acreage for the requested area to be transferred from Georgetown’s CCN No. 12369 to JSWSC’s CCN No. 10002.

Staff recommends the Petitioners obtain additional mapping guidance from the PUC’s mapping staff, Ms. Tracy Montes by email at tracy.montes@puc.texas.gov.