TO:		Daniel Moore, Attorney

Legal Division

FROM:	Patricia Garcia, Senior Engineering Specialist

Infrastructure Division

DATE:		May 7, 2021

RE:	Docket No. 51843 – Application of CSWR-Texas Utility Operating Company, LLC for Temporary Rates for a Nonfunctioning Utility

Background:

On February 26, 2021, CSWR-Texas Utility Operating Company, LLC (CSWR-Texas), temporary manager of Farrar Water Supply Corporation (Farrar), filed with the Public Utility Commission of Texas (Commission) an application for a temporary rate in Limestone County, Texas, under Texas Water Code (TWC) § 13.046 and 16 Texas Administrative Code (TAC) § 24.363.

Analysis

Under 16 TAC § 24.363(a), an applicant may charge temporary rates “to recover the reasonable costs incurred for interconnection or other costs incurred in making services available and any other reasonable costs incurred to bring the nonfunctioning system into compliance with commission rules.”

CSWR-Texas requested a total yearly expense of $14,734 for the temporary rates, including $570 in billing, which is being reviewed by Frederick Quijano in the Commission’s the Rate Regulation Division.

Items that were reviewed in support of this temporary rate include a contract with the operating company for a monthly fee applicable to this system and another public water system (provided confidentially) and invoices provided by the temporary manager for repairs, electricity bills, and chlorine.  Based on the invoices and contract provided by CSWR-Texas, I calculated that CSWR-Texas will need approximately $3,346 per month or $40,150 per year to properly operate the system.  Therefore, I recommend that CSWR-Texas’s full request of $14,734 per year be approved despite the small adjustment to the $570 for billing identified by Mr. Quijano.

The cover letter provided by CSWR-Texas includes a statement about payments made by a customer, Donna Jones, for system repairs from her own personal funds.  In the documentation provided on April 21, 2021 and April 22, 2021 CSWR-Texas submitted invoices providing proof that Ms. Jones paid $3,091.29.  CSWR-Texas stated this amount should be repaid to Ms. Jones through a 6-month surcharge; however, this surcharge was not provided in the notice to the customers.  I recommend that the Rate Regulation Division calculate what this surcharge would be per connection for 6 months.  I further recommend that CSWR-Texas provide an additional customer notice indicating the amount of the surcharge to be collected from the customers prior to including the surcharge in the customer bills.

CSWR-Texas requests several miscellaneous fees as follows:

- New Tap Fee: actual cost of materials and labor to install a standard residential 5/8" or 3/4" Meter.

- Turn-On/Turn-Off Requested by the Customer: $27.50, 8 am to 5 pm Monday through Friday, when scheduled at least 24 hours in advance; $164.00, before 8 am and after 5 pm and on Saturday & Sunday, or when scheduled with less than 24 hours' notice.

- Reconnection Fee Associated with Non-Payment: $25.00.

- On-site Collection Charge: $25.00.

- Meter Test Fee: $120.00.

- Late Charge: 10% of the bill.

- Returned Check Charge: $25.00.

I recommend the miscellaneous fees be approved as listed below:

- Tap Fee	Actual Cost

- Reconnection Fee at the Customer's request	$27.50

DISCONNECT FEES NOT ALLOWED PER 16 TAC § 24.165(p)

- Reconnection Fee Associated with Non-Payment	$25.00

- On-site Collection Charge	$0.00

FIELD COLLECTION FEES NOT ALLOWED PER 16 TAC § 24.165(p)

- Meter Test Fee (Actual cost of testing the meter up to)	$25.00

PER 16 TAC § 24.169(d)(3), THIS FEE MAY BE CHARGED IF A CUSTOMER REQUESTS A SECOND METER TEST WITHIN A TWO-YEAR PERIOD AND THE TEST INDICATES THAT THE METER IS RECORDING ACCURATELY.

- Late Charge	10%

- Returned Check Charge	$25.00

Attached is a tariff for Farrar WSC with CSWR-Texas as Temporary Manager that reflects the temporary rate requested by CSWR-Texas, as recalculated by the Rate Regulation Division using the updated connection count provided on April 22, 2021, and the approved miscellaneous fees. The tariff is based on the pro forma tariff approved by the Commission for many utilities.

Recommendation:

I recommend the following:

- The requested expenses of $14,734 to be recovered through a temporary rate are reasonable;

- Approval of the attached tariff; and

- That CSWR-Texas provide the following documentation by the last day of the month following the month in question, for each month until the term as temporary manager for CSWR-Texas is completed:

- Summary of monthly revenues and expenses with a detailed list of actual costs for operating the system, such as repairs, chlorine, billing, operator costs, electricity, laboratory fees, sampling costs, etc.;

- Copies of invoices and receipts to support the actual cost of service; and

- The actual number of connections at the beginning and at the end of the month.