Public Utility Commission of Texas

Memorandum

To:		Daniel Moore, Attorney

Legal Division

From:		David Hoard, Tariff & Rate Analysis

Rate Regulation Division

Date:		May 7, 2021

Re:	Docket No. 51843 – Application of CSWR-Texas Utility Operating Company, LLC for Temporary Rates for a Nonfunctioning Utility

_________________________________________________________________________________

Procedural Background

On February 26, 2021, CSWR-Texas Utility Operating Company, LLC (CSWR-Texas), temporary manager of Farrar Water Supply Corporation (Farrar), filed with the Public Utility Commission of Texas (Commission) an application for a temporary rate for Farrar WSC in Limestone County, Texas, under Texas Water Code § 13.046 and 16 Texas Administrative Code (TAC) § 24.363. In the application, CSWR-Texas requested a base monthly rate of $48.69 per customer as well as a usage charge of $2.58 per 1,000 gallons that were calculated using 19 connections.

On April 8, 2021, the Staff of the Public Utility Commission of Texas (Staff) filed comments regarding administrative completeness and sufficiency of notice (Staff Completeness Filing), requiring CSWR-Texas to provide additional information.  On April 21, 2020, CSWR-Texas filed a response to the Staff Completeness Filing (CSWR-Texas’ Response). On May 3, 2021, CSWR-Texas filed a supplemental response to Staff Completeness Filing (CSWR-Texas’ Supplemental Response).

Discussion

My review includes an analysis of the proper functional allocation of costs between fixed and variable rates, as well as an analysis of the proposed billing determinants used to calculate rates.  Given the state of the system, and the likeliness of ongoing reassessments of costs to operate the system, I recommend approval of the rates requested by CSWR-Texas with a modification to the rate per 1,000 gallons to reflect the increase in connections from 19 to 22.

CSWR-Texas requested a yearly revenue requirement of $14,734. Based on Staff’s recommended approval of this revenue requirement, my functional split between fixed and variable costs (roughly 80% fixed and 20% variable), and the updated number of connections and billing determinants provided in CSWR-Texas’s Supplemental Response to Staff Completeness Filing, I recommend approval of the following rates:

| Customer Meter Size | Monthly Base Charge per Customer |
| --- | --- |
| 5/8" x 3/4" | $48.69 |
| Gallonage Charge | Monthly Charge per 1,000 gallons |
| All Usage | $1.80 |

In its application, CSWR-Texas also stated that Donna Jones, a customer of Farrar, is currently expending her own funds on behalf of the system.  CSWR-Texas stated that Ms. Jones had, at the time of the filing of the application, expended $3,091.29. CSWR-Texas proposes repaying Ms. Jones and recovering the cost of the repayment through a six-month surcharge in addition to the temporary rate. In its application, CSWR-Texas stated that there are currently 19 metered connections. CSWR-Texas’ Supplemental Response updated the connection count to 22. Given this updated figure, a surcharge of $23.42 would be required to recover this amount over a six-month period. However, the monthly surcharge amount was not included in the notice to customers so CSWR-Texas would need to notice this amount before the charge may be applied.

Recommendation

I have reviewed CSWR-Texas’s application as well as its responses to Staff’s request for information, and I recommend the following:

- The Commission approve CSWR-Texas’s requested temporary rates as modified by Staff to reflect a connection count of 22.

- The Commission approve a six-month surcharge of $23.42 per connection to recover $3,091.29.

- The Commission require CSWR-Texas to file a copy of its approved tariff consistent with the Commission’s final order in this docket.

- The Commission require CSWR-Texas to file proof of notice of the surcharge before the charge is applied.

- The approved tariff be stamped “Approved” by the Commission’s Central Records Division and retained for future reference.