TO:		Justin Adkins, Attorney

Legal Division

FROM:	Jolie Mathis, Utility Engineering Specialist

Infrastructure Division

DATE:		Jolie Mathis

RE:	Docket No. 51863 – Petition of the City of Pflugerville and Manville Water Supply Corporation for Approval of Service Area Contract Under Texas Water Code § 13.248 and to Amend Certificates of Convenience and Necessity in Travis County

On March 2, 2021, the City of Pflugerville (Pflugerville) and Manville Water Supply Corporation (Manville) (collectively, Petitioners) filed a petition for approval of a service area contract under Texas Water Code (TWC) § 13.248 and to amend Pflugerville’s water certificate of convenience and necessity (CCN) No. 11303 and Manville’s water CCN No. 11144 in Travis County, Texas. The Petitioners’ TWC § 13.248 service area contract is being reviewed in accordance with 16 Texas Administrative Code (TAC) § 24.253.

Specifically, Pflugerville and Manville entered into a contractual agreement which permits Pflugerville to provide water services within the agreed upon water service area. Petitioners will not transfer assets or facilities under the terms of the agreement.

Based on the mapping review by Tracy Montes, Infrastructure Division and my technical review of the information filed by the Petitioners, I recommend that the petition be deemed administratively incomplete and not accepted for filing.

Mapping Content:

The digital mapping data, including general location and detailed maps submitted with the Petition on March 2, 2021, are deficient. The requested area identified in the digital mapping data, general location, and detailed maps does not appear to accurately follow along the three tracts designated as the BLD Property. In addition to e-filing the items requested below, I recommend that Petitioners e-file the survey plat (Exhibit A-4) as an original PDF.

I recommend that Petitioners submit the following items to resolve the mapping deficiencies:

- A general location map identifying only the requested area, in reference to the nearest county boundary, city, or town.

- A detailed map identifying only the requested area, in reference to verifiable man-made and natural landmarks, such as roads, rivers, and railroads.

- Digital mapping data for the requested area, as a single polygon record, in shapefile (SHP) format, georeferenced in either NAD83 Texas Statewide Mapping System (Meters) or NAD83 Texas State Plane Coordinate System (US Feet).

Staff recommends that Petitioners obtain additional mapping guidance from the PUC’s

mapping staff, Ms. Tracy Montes, by email at tracy.montes@puc.texas.gov.