TO:		Kevin Bartz, Attorney

Legal Division

FROM:	Patricia Garcia, Senior Engineering Specialist

Infrastructure Division

DATE:		January 4, 2021

RE:	Docket No. 51864 – Application of the City of Midlothian to Amend its Water Certificate of Convenience and Necessity in Ellis County

- Application

On March 2, 2021, the City of Midlothian (Midlothian) filed with the Public Utility Commission of Texas (Commission) an application to amend its water certificate of convenience and necessity (CCN) No. 11706 and to decertify a portion of Mountain Peak Special Utility District’s water CCN No. 10908 in Ellis County, Texas under Texas Water Code (TWC) §§ 13.242 to 13.250 and 16 Texas Administrative Code (TAC) §§ 24.225 to 24.237.

The notice portion of the application indicated the requested area included 201 customer connections.  This was also indicated in the published notice and the notice provided to neighboring systems, landowners, customers, and cities, however the responses in the application correctly indicates that there are no current customers in the requested area.  The requested area includes no customer connections and approximately 53 acres, comprised of 41 acres of uncertificated area and 12 acres of decertified area from CCN No. 10908.

The application proposes the addition of approximately 53 acres that lie within Midlothian’s city limits, to CCN No. 11706 and the subtraction of approximately 12 acres from CCN No. 10908.

- Notice

The deadline to intervene was November 14, 2021; there were no motions to intervene, protests, or opt-out requests received.

- Factors Considered

Under TWC §§ 13.241 and 13.246, and 16 TAC §§ 24.11(e) and 24.227, the Commission must consider certain factors when granting or amending a water or sewer CCN. Therefore, the following factors were considered:

3.1.	Consideration of the adequacy of service currently provided to the requested area and system compliance (TWC § 13.246(c)(1); 16 TAC § 24.227(a) and (e)(1)).

There are no customers in the requested area.

3.2.	Consideration of the need for additional service in the requested area (TWC § 13.246(c)(2); 16 TAC § 24.227(e)(2)).

There is a need for service as there are requests for service from a developer and a school district in the requested area.

3.3.	Consideration of the effect of granting an amendment on the recipient of the certificate or amendment, on the landowners in the area, and on any other retail public utility of the same kind already servicing the proximate area (TWC §§ 13.241(b) and 13.246(c)(3), 16 TAC § 24.227(e)(3)).

Midlothian will be the certificated entity for the requested area and will be required to provide adequate and continuous service to the requested area.

The landowners in the area will have a water provider available when they need to request water service.

There will be no effect on any retail public utility servicing the proximate area.  Midlothian stated that they have an agreement with the neighboring utilities to service areas that best utilize the resources available to meet the needs of service of the requested area.  Additionally, all retail public utilities in the proximate area were provided notice of the CCN amendment requested in this application and did not request to intervene.

3.4.	Consideration of the managerial and technical ability of the applicant to provide adequate service (TWC § 13.246(c)(4); 16 TAC § 24.227(a) and (e)(4)).

Midlothian has a Texas Commission on Environmental Quality (TCEQ) approved public water system(s) (PWS) registered under PWS ID number 0700005.  Midlothian does not have any violations listed in the TCEQ database.  The Commission’s complaint records, which go back to 2014, show one complaint against Midlothian.

3.5.	The applicants’ demonstration that regionalization or consolidation with another retail public utility is not economically feasible when construction of a physically separate water or sewer system is required to provide service to the requested area. (TWC § 13.241(d); 16 TAC § 24.227(b)).

Midlothian stated that they have an agreement with the neighboring utilities to service areas that best utilize the resources available to meet the needs of service of the requested area.  TCEQ has approved plans for Midlothian to extend service to the requested area by installing distribution lines and building facilities to serve future customers.  The additional facilities will provide sufficient capacity to serve the requested area at full build out.  Therefore, concerns of regionalization or consolidation do not apply.

3.6.	Consideration of the feasibility of obtaining service from an adjacent retail public utility (TWC § 13.246(c)(5); 16 TAC § 24.227(e)(5)).

Midlothian received a request for service for the requested area from a developer and a school district.  Midlothian has an agreement with the neighboring utilities to service areas that best utilize the resources available to meet the needs of service of the requested area.  Because of this agreement, it was determined Midlothian would be the best retail utility to provide service to the requested area.  Midlothian has approved TCEQ plans to extend service to the requested area by building facilities to serve future customers and will have sufficient capacity to serve the area.  Therefore, it is not feasible to obtain service from an adjacent retail public utility.

3.7.	Consideration of the financial ability of the applicant to pay for facilities necessary to provide continuous and adequate service (TWC § 13.246(c)(6); 16 TAC §§ 24.227(a) and (e)(6), 24.11(e)).

The Rate Regulation Division will be addressing this criterion in a separate memo.

3.8.	Requirement of the applicant to provide a bond or other financial assurance in a form and amount specified by the Commission to ensure that continuous and adequate utility service is provided (TWC §§ 13.246(d); 16 TAC § 24.227(f)).

The Rate Regulation Division will be addressing this criterion in a separate memo.

3.9.	Consideration of the environmental integrity and the effect on the land to be included in the certificated area (TWC § 13.246(c)(7) and (9); and 16 TAC § 24.227(e)(7) and (9)).

The environmental integrity of the land will be minimally affected, as the additional facilities are constructed to provide service to the requested area.

3.10.	Consideration of the probable improvement in service or lowering of cost to consumers (TWC § 13.246(c)(8); 16 TAC § 24.227(e)(8)).

Future residents of the planned development and students attending the school to be built in the requested area will have water service available.

- Recommendation

Based on the mapping review by Gary Horton, Infrastructure Division and my technical and managerial review, I recommend that Midlothian meets all of the statutory requirements of Texas Water Code Chapter 13 and the Commission's Chapter 24 rules and regulations and is capable of providing continuous and adequate service.  I further recommend that approving this application to amend a water CCN No. 11706 and decertifying a portion of Mountain Peak Special Utility District’s water CCN No. 10908 is necessary for the service, accommodation, convenience, and safety of the public.

Midlothian and Mountain Peak Special Utility District consented to the attached map and respective certificates on December 15, 2021.