TO:		Kourtnee Jinks, Attorney

Legal Division

FROM:	Patricia Garcia, Senior Engineering Specialist

Infrastructure Division

DATE:	August 26, 2021

RE:	Docket No. 51877 – Application of L and T Waterworks LLC and Monarch Utilities I, L.P. for Sale, Transfer, or Merger of Facilities and Certificate Rights in Freestone and Henderson Counties

On March 8, 2021, Monarch Utilities I, L.P. (Monarch), L and T Waterworks LLC (L and T), and South Freestone County Water Supply Corporation (South Freestone County WSC) (collectively Applicants) filed an application for sale, transfer, or merger (STM) of facilities and certificate rights in Freestone and Henderson Counties, Texas, under Texas Water Code (TWC) § 13.301 and 16 Texas Administrative Code (TAC) § 24.239.

The transactions are described below and on the notice documents as STM 1 - L and T to Monarch and dual with Turlington WSC, and STM 2 - South Freestone County WSC.  In STM 1, Monarch, certificate of convenience and necessity (CCN) No. 12983, seeks approval to acquire facilities and to transfer all of the water service area from L and T under water CCN Nos. 12919 and 12993, to amend these certificated areas by adding 46 acres of uncertificated area, and obtaining dual certification with Turlington WSC under water CCN No. 10793. In STM 2, Monarch (CCN No. 12983) seeks approval to transfer a portion of the water service area from South Freestone County WSC (CCN No. 10791). The customers currently inside South Freestone County WSC’s certificated service area are being served by the facilities being transferred that are currently managed by L and T.  The entire requested area includes 133 total current customers and approximately 1,657 total acres.

The supplement to the application filed by Monarch Utilities I LP on June 16, 2021 indicated the revised acreage for each portion of the requested area.  Based on the mapping review by Tracy Montes, Infrastructure Division, it was determined the total requested area is approximately 1,657 acres.

Based on the mapping review by Ms. Montes maps and digital data submitted on June 16, 2021 are sufficient.  Based on the financial and managerial review by Fred Bednarski III, Rate Regulation Division, and my technical and managerial review of all the information filed by Monarch through August 17, 2021, I recommend that the application be deemed administratively complete. I further recommend that the Applicants be ordered to do the following:

- Provide notice of the application by first-class mail to the following:

  - Cities, districts, and neighboring retail public utilities providing the same utility service whose corporate boundaries or certificated service area are located within two miles from the outer boundary of the requested area:

- Bethel-Ash Water Supply Corporation (WSC) (CCN No. 10821)

- City of Athens

- City of Eustace (CCN No. 10838)

- City of Fairfield (CCN No. 11183)

- Payne Springs WSC (CCN No. 10848)

- South Freestone WSC (CCN No. 10791)

- Thompson Water & Construction (CCN No. 12031)

- Turlington WSC (CCN No. 10793)

- Ward Prairie WSC (CCN No. 10792)

- Trinity River Authority of Texas

  - The county judge of each county that is wholly or partially included in the requested area:

- Freestone County Judge

- Henderson County Judge

  - Each groundwater conservation district that is wholly or partially included in the requested area:

- Mid-east Texas Groundwater Conservation District

- Neches and Trinity Valleys Groundwater Conservation District

  - Each owner of a tract of land that is at least 25 acres and is wholly or partly located in the requested area that includes uncertificated area. Notice must be mailed to the owner of the tract of land according to the most current tax appraisal rolls of the applicable central appraisal district at the time the application was filed.

  - Any affected customers, and other affected parties in the requested area.

Addresses can be obtained from the Water Utility Database at http://www.puc.texas.gov/watersearch. District information and addresses can be obtained from the Texas Commission on Environmental Quality’s (TCEQ) web site located at http://www14.tceq.texas.gov/iwud/.

- Publish notice in a newspaper having general circulation in each county where the requested area is located, once each week for two consecutive weeks. Proof in the form of a publisher’s affidavit must be filed within 30 days of the publication date. The affidavit must state with specificity each county in which the newspaper is of general circulation. Within 30 days of the date the notice was mailed, Monarch must file an affidavit specifying the notice that was provided to every person and entity to whom notice was provided and the date the notice was mailed.

- Provide notice using the attached notice form(s).

- Provide a copy of the map(s) deemed sufficient during administrative review delineating the requested area with each individual notice to neighboring utilities, other affected parties, landowners, and customers.

- File in the docket copy of notice and the map(s) deemed sufficient during administrative review along with the signed affidavit specifying every person and entity to whom notice was provided, the date that the notice was provided, and the publisher’s affidavit and tear sheets for proof of newspaper publication.